## R2 - March April 2020
Change ID | Market Notice Description | Systems and Processes Impacted
ITCM-194009 ITCM-203460 ITCM-203467 | This work changes the timing logic for the Verbal RUC Committed or Decommitted Resources report (EMIL ID: NP5-756-CD; Report Type ID: 13088). The report is currently designed to wait until the top of the next hour before looking for an event to report. With the system change, the report will instead be triggered at the time of the event itself. | (ITCM-194009) Current Day Reports (ITCM-203460) Enterprise Integration Nodal Services - Grid Adapters (ITCM-203467) Market Management Systems
ITCM-210243 ITCM-210711 SCR802 | (ITCM-210243) Enhance Communications of System Inertia (ITCM-210711) Enhance Communications of System Inertia (EMS Interface) SCR 802, Enhance Communications of System Inertia modifies the existing “Real-Time System Conditions” display accessible on the ERCOT website to display the Real-Time system inertia value. Real Time Systems Conditions display on ercot.com can be accessed at the following link. http://www.ercot.com/content/cdr/html/real_time_system_conditions.html | (ITCM-210243) Public Dashboards (ITCM-210711) Energy Management System
ITCM-210499 NPRR928 | Unboxing of NPRR language | Retail - Siebel
ITCM-207671 NPRR929/ NPRR988 | NPRR929/NPRR988 modifies the conditions upon which Point-to-Point (PTP) Obligations with Links to an Option are eligible to be awarded in the DAM | Market Management System
ITCM-213637 | The MIS links for the following Regional Planning Group Projects will be moved from the Current Regional Planning Group Projects portlet on the MIS Grid, Regional Planning page to the Archived Regional Planning Group Projects area on the Grid, Regional Planning page . The list below indicates which yearly archive folder each link will be moved to: 2014 Regional Planning Group Projects: AEPSC Brady Area Improvements Project (EMIL ID: PG3-162-M; Report Type ID: 13276) 2015 Regional Planning Group Projects: Duke-American Transmission Company Phoenix Project (EMIL ID: PG3-200-M; Report Type ID: 13314) GPL Greenville 138 kV Tie Project (EMIL ID: PG3-280-M; Report Type ID: 13469) AEPSC Live Oak County Transmission Project (EMIL ID: PG3-284-M; Report Type ID: 13474) Oncor Big Brown-Navarro 345 kV DCKT Upgrade Project (EMIL ID: PG3-289-M; Report Type ID: 13490) Sharyland Utilities Panhandle Loop Project (EMIL ID: PG3-298-M; Report Type ID: 13505) | Web Communications - MIS Portal
ITCM-213637 (Con't) | 2016 Regional Planning Group Projects: AEPSC and Oncor Barilla Junction Area Improvement Project (EMIL ID: PG3-303-M; Report Type ID: 13525) AEPSC Hidalgo-Starr Transmission Project (EMIL ID: PG3-295-M; Report Type ID: 13496) AEPSC LRGV Area Transmission Improvements Project (EMIL ID: PG3-286-M; Report Type ID: 13481) BEC and AEPSC Katz to Tardis Project (EMIL ID: PG3-307-M; Report Type ID: 13530) BEC N Johnson County Area Improvement Project (EMIL ID: PG3-316-M ; Report Type ID: 13545) BEC Salt Creek Area Project (EMIL ID: PG3-304-M; Report Type ID: 13527) LCRA Camp Wood-Leakey TL Overhaul Project (EMIL ID: PG3-305-M; Report Type ID: 13526) Lone Star-North Central 345 kV Transmission Project (EMIL ID: PG3-296-M; Report Type ID: 13497) Oncor Andrews County South-North Andrews-Holt 138 kV Project (EMIL ID: PG3-309-M; Report Type ID: 13533) Oncor Norwood-Amelia_East Levee Upgrade Project (EMIL ID: PG3-314-M; Report Type ID: 13542) Oncor Southwest DFW 345 kV Upgrade Project (EMIL ID: PG3-312-M; Report Type ID: 13535) Oncor Trinidad-Big Brown Tap 138 kV Upgrade Project (EMIL ID: PG3-302-M; Report Type ID: 13524) Sharyland Vealmoor Second Auto Project (EMIL ID: PG3-311-M; Report Type ID: 13534) TNMP Line 69H Rebuild and Conversion Project (EMIL ID: PG3-313-M; Report Type ID: 13536) Oncor Littman-Fullerton 138 kV Line Project (EMIL ID: PG3-318-M; Report Type ID: 14547) Oncor NW Carrollton-Norwood 138 kV Upgrade Project (EMIL ID: PG3-319-M; Report Type ID: 14548) LCRA TSC Mountain Home Substation and Transmission Line Addition Project (EMIL ID: PG3-321-M; Report Type ID: 14757) | Web Communications - MIS Portal
ITCM-213637 (Con't) | 2017 Regional Planning Group Projects: AEPSC and Oncor Far West Texas Project (EMIL ID: PG3-315-M; Report Type ID: 13543) AEPSC Maverick County Transmission Project (EMIL ID: PG3-306-M; Report Type ID: 13528) Oncor Riverton-Sand Lake 138kV Line Project (EMIL ID: PG3-308-M; Report Type ID: 13531) AEPSC Uvalde-Campwood Transmission Project (EMIL ID: PG3-322-M; Report Type ID: 14776) LCRA TSC Winchester Project (EMIL ID: PG3-324-M; Report Type ID: 14786) CenterPoint Energy-Freeport Master Plan Project (EMIL ID: PG3-326-M; Report Type ID: 14816 ) EC and RCEC Northeast Denton County and Celina-Prosper Transmission Improvement Project (EMIL ID: PG3-327-M; Report Type ID: 14817) Oncor Watermill-Camp Wisdom 138 kV Line Upgrade Project (EMIL ID: PG3-328-M; Report Type ID: 14826) Oncor Payne-Anna 138 kV Line Upgrade Project (EMIL ID: PG3-329-M; Report Type ID: 14827) BEC South Denton County Project (EMIL ID: PG3-331-M; Report Type ID: 14846) BEC Kalgary Area Improvement Project (EMIL ID: PG3-330-M; Report Type ID: 14838) LCRA TSC Fayette Area Transmission Line Upgrades Project (EMIL ID: PG3-596-M ; Report Type ID: 15122 ) AEPSC Carrizo-Crystal Transmission Project (EMIL ID: PG3-598-M; Report Type ID: 15125) TNMP IH20 SVC Project (EMIL ID: PG3-653-M; Report Type ID: 15187) 2018 Regional Planning Group Projects: CenterPoint Energy Southwyck - Algoa Corner Rebuild Project (EMIL ID: PG3-837-M; Report Type ID: 15483) SU-South Plains Transmission Project (EMIL ID: PG3-320-M; Report Type ID: 14549) | Web Communications - MIS Portal
ITCM-217168 NPRR978 | As part of the partial implementation of NPRR978, the following MIS links are being removed from the MIS Grid, Forecasts page (Medium-Term System Adequacy portlet): 1) 36 Month Resource Capacity Report (EMIL ID: NP3-775-M, Report Type ID: 11481) 2) Projected Transmission Constraints for Medium Term PASA (EMIL ID: NP3-776-M, Report Type ID: 13041) | Web Communications - MIS Portal
ITCM-217399 | Update the MIS link name for the ERCOT Wind Integration Report (EMIL ID: NP4-735-ER, Report Type ID: 13105) for naming consistency: From: ERCOT Wind Integration Report To: Wind Integration Report MIS posting location: Grid > Generation > Public Generation Information | Web Communications - MIS Portal
ITCM-218692 | New Secure planning link on the MIS Grid > Regional Planning page in the Current Regional Planning Group Projects portlet: Link name: AEPSC Smith to Mathis 69 kV Line Rebuild Project (EMIL ID: PG3-1769-M, Report Type ID: 19315) | Web Communications - MIS Portal