## PGRR Comments
Author | Section | TDSP Comments | ERCOT Comments
Oncor | 5.1(1)(e) | change and to "or" | agree
Oncor | 5.2.1 | Does process apply to SODG | Yes - discussed at the DGR Workshop III
Oncor | 5.2.1(a) | Does "any generator" include unregistered DG > 1 MW | Need to discuss
Oncor | 5.2.1(a) | Oncor would like export not nameplate | ERCOT will be following existing protocols for 1 MW nameplate
Oncor | 5.2.1(1)(b) | Why no size threshold for SOG? | Need to discuss
Oncor | 5.2.1(1)(c) | If DGR increases by < 10 MW, but jumps from small to a large gen, no review? | Will be adding clarification in the language.
Oncor | 5.2.1(3) | Oncor would like export not nameplate | ERCOT will be following existing protocols for 1 MW nameplate
Oncor | 5.2.1(4) | Oncor would like section to apply to non-affilliates | ERCOT does not have justification for such a requirement. This was already discussed at DGR Workshop IV
Oncor | original section 5.1.2 | Where did section go | Deleted as redundant
Oncor | 5.2.2(2) | Related to 5.2.1 comment above. Does is relate to all >1MW | Need to discuss
Oncor | 5.2.2(10) | Suggest using Phases instead of stages | agree
Oncor | 5.2.4 | suggest defining "Main Power Transformer" | addressed by NPRR973
Oncor | 5.2.4(3) | interconnecting or lead TSP | May be able to change reference to say 'lead TSP'
Oncor | 5.2.4(5), 5.2.5(5) | Suggest change TSP notified by RIOO to TDSP | Need to resolve/clarify with RIOO team
Oncor | 5.2.5(3) | What does "discontinue any process" mean? | Need to discuss. Might add clarifying language - 'interconnection process'
Oncor | 5.2.7 | The RIOO will notify ERCOT and TDSPs… Will DSPs be notified? | Need to resolve/clarify with RIOO team
Oncor | 5.2.8.2 | IS paragraph still needed? | Need to discuss
Oncor | 5.2.8.3 | Change to Resource so it wont apply to SODG? | Disagree--needs to apply to all
Oncor | 5.2.8.3(1) | Oncor feels IA is confidential.--Will provide notification of completion. | Need to discuss
Oncor | 5.3.1(1) | Clarify that this applies to Large generators | Doesn’t seem necessary
Oncor | 5.3.1(2) | Include all GR, ESR and SOG | agree. May change to 'generator' as opposed to a list
Oncor | 5.3.1(7) | what does "and does not, as proposed, violate the DSP’s tariff or any other applicable authority administered by the DSP." mean? | Need to discuss. Might be able to revise.
Oncor | 5.3.2(1) | change to "stability" from dynamic | agree
Oncor | 5.3.2.2(1) | Language to be revised--Does ERCOT select lead TSP? | Need to discuss. May be room for clarification.
Oncor | 5.3.2.2(2) | Language needs work, and may not be needed. | Need to discuss. May be room for clarification.
Oncor | 5.3.2.3(4) | add "and any other distribution connected resource" | Need to discuss. Doesn't seem necessary, but if so, would also add transmission connected resource.
Oncor | 5.3.2.4.3(6)© | add ESR | may already be added by BESTF
Oncor | 5.4.1(1) | Questions about the process | Edits will be made to clarify