## Slide 1
DGR Interim Solution
Testing 3/24/2020
Mario Alberto de la Garza
3/24/2020

## Slide 2: DGR Interim Solution Testing
Background
Current Modeling Example #1
Current Modeling Example #2
Current Status
Interim Solution DGR
Interim Solution DESR

## Slide 3: Background
Stuff
DGR
Transmission Network
Distribution Network
Currently

## Slide 4: Background, Con’t
Pros Current Approach:
  Can participate in ERCOT Market
Cons Current Approach:
  TSPs modeling distribution network adds complexity for the State Estimator
  Data quality of distribution networks is questionable (more complexity to the State Estimator)
  TSPs may not be able to provide telemetry on the distribution network (bad visibility)
  Hard for downstream systems to distinguish between GRs and DGRs

## Slide 5: Current Modeling Example #1
DESR* Operational One-line
*Only existing Distributed Generation type.
Transmission Network
Feeders
Line
Inverter
TSP Station
DESR Station
Inverter

## Slide 6: Current Modeling Example #1, Con’t
DESR* Simplified
Modeling
*Only existing Distributed Generation type.
Transmission Network
CIM Load
Line
TSP Station
DESR Station
Hydro Unit
CIM Load
ESR
CLR

## Slide 7: Current Modeling Example #2
DESR* Operational One-line
*Only existing Distributed Generation type.
Line
Inverter
DESR Station
Inverter
Transmission Network
Feeders
TSP Station

## Slide 8: Example #2, Con’t
DESR**
Simplified Modeling
Transmission Network
Line
TSP Station
Hydro Unit
CIM Load
ESR
CLR
CIM Load
CIM Load
*Only existing Distributed Generation type
**Only applicable if the DGR could potentially serve through the 2nd transformer (based off studies, etc)

## Slide 9: Current Status
ERCOT finalized testing for interim solution for DGRs and DESRs
IA has been completed
Estimated Implementation: TBD
Phase 5
Document System Impacts and Changes
Phase 4A
EMS ITEST Testing
Phase 4B
MMS ITEST Testing
Phase 3B
Loading CIM to MMS ITEST
Phase 3A
Loading CIM to EMS ITEST
Phase 2
Model Building
Phase 1
Define
Interim Modeling Approach

## Slide 10: Interim Solution DGR
DGR
Unit EPS Meter
DGR_BKR
ResourceNode
Transmission Network
DGR
CIM Load where DGR is located at
DGR Equipment
DGR Equipment

## Slide 11: Interim Solution DESR
Unit EPS Meter
DGR_BKR
ResourceNode
Transmission Network
DGR
CIM Load where DGR is located at
DGR Equipment
DGR Equipment
CLR
ESR
CLR EPS Meter
DESR

## Slide 12: Q & A
QUESTIONS?