## Slide 1
Item 2: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
April 1, 2020

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR953, Addition of Relay Loadability Rating Definition [ERCOT]*
NPRR997, Gas Pipeline Coordination for Natural Gas Generation Resources – URGENT [ERCOT]*
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR998, ERS Deployment and Recall Messages [ERCOT]
  IA: Between $15k and $25k Priority 2019; Rank 2990
(* denotes no impact)

## Slide 3: Appendix

## Slide 4: NPRR953, Addition of Relay Loadability Rating Definition [ERCOT]
Proposed Effective Date: May 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adds the Relay Loadability Rating definition in order to address the North American Electric Reliability Corporation (NERC) definition changes for Operational Planning Analysis and Real Time Assessments which adds a requirement to include protection system limitations. These changes also support ERCOT housing and monitoring the Relay Loadability Rating in Energy Management System (EMS) applications.
PRS Decision: On 2/13/20, PRS voted to recommend approval of NPRR953 as amended by the 12/4/19 ERCOT comments. There was one abstention from the Independent Retail Electric Provider (IREP) (Reliant Energy Retail Services) Market Segment. On 3/27/20, PRS voted via email to endorse and forward to TAC the 2/13/20 PRS Report and Revised Impact Analysis for NPRR953. There was one abstention from the Consumer (Occidental) Market Segment.

## Slide 5: NPRR997, Gas Pipeline Coordination for Natural Gas Generation Resources – URGENT [ERCOT]
Proposed Effective Date: May 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR requires a Resource Entity that controls a Generation Resource that relies on natural gas as its primary fuel source to submit a declaration contained in the summer weather preparedness form to ERCOT stating that the Resource Entity or the Resource Entity’s Qualified Scheduling Entity (QSE) has made a written effort to communicate with the operator of each natural gas pipeline that is directly connected to the Resource Entity’s Generation Resource to coordinate any planned pipeline outages to maximize the Generation Resource’s availability during the summer Peak Load Season of that year
PRS Decision: On 03/27/20, PRS unanimously voted via email to recommend approval of NPRR997 as amended by the 3/23/20 ERCOT comments, and to forward NPRR997 and the Impact Analysis to TAC.

## Slide 6: NPRR998, ERS Deployment and Recall Messages – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2990
ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS) and Integration; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR establishes a requirement for ERCOT to post a message to the Market Information System (MIS) Public Area every time Emergency Response Service (ERS) is deployed or recalled.
PRS Decision: On 3/27/20, PRS voted via email to grant NPRR998 Urgent status, to recommend approval of NPRR998 as submitted, and to forward NPRR998 and the Impact Analysis to TAC with a recommended priority of 2020 and rank of 2990. There was one objection from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment.

## Slide 7: 2020 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/28 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR873 SCR797 NPRR877 Ph2 NPRR968 NPRR943 EMIL Web Interface NPRR863 Ph1 NPRR960 NOGRR187 OBDRR011 | SCR802 NPRR928 NPRR929 NPRR978(a) NPRR988 | NPRR856 NPRR884 NPRR935(a) OBDRR006 SCR803 NPRR887 NPRR907 NPRR985 | NPRR902 NPRR905 NPRR951 MIS testing SCR804 SCR781(a) RRGRR016 RRGRR019 | NPRR936 MIS Go-Live MMS/OS Refresh | SCR799 NPRR857 NPRR863 Ph2 NPRR885 NPRR917 NPRR941 NPRR971 NPRR986 PGRR070(b) SCR781(b)
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
3/1
NPRR863 Ph1 – FFR
NPRR863 Ph2 – ECRS
NPRR935(a) – All changes except Section 4.2.3
NPRR935(b) – Section 4.2.3 changes
NPRR978(a) – Initial report decommissions
PGRR070(b) – Remaining PGRR language
SCR781(a) – View / Edit capability
SCR781(b) – Add capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
E
E
E
NS
E
ü
ü
ü
E
E
P
P
P
E
E
E
November
Off-Cycle
1/1
Future Year Go-Live Targets
2021
2022
NS
NS
I
P
NS
NS
I
I
E
E
September
Off-Cycle
I
I
I
P
1/19
E
ü
ü
TBD Items | 2017 | 2018 | 2019
 | NPRR702, NPRR829 | NPRR825(b), NPRR867, NPRR841 | NPRR904, OBDRR009, NPRR879, NPRR918, NRR935(b), NPRR939, PGRR066, SCR800
ü
CMM Release 2a
1/30
August
October
Q3 RIOO
RARF Go-Live for View/Update
ü
ü
ü
ü