Date:	April 1, 2020

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR953, Addition of Relay Loadability Rating Definition [ERCOT] - NPRR997, Gas Pipeline Coordination for Natural Gas Generation Resources – URGENT [ERCOT] - NPRR998, ERS Deployment and Recall Messages – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR953, Addition of Relay Loadability Rating Definition [ERCOT] Proposed Effective Date: May 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds the Relay Loadability Rating definition in order to address the North American Electric Reliability Corporation (NERC) definition changes for Operational Planning Analysis and Real Time Assessments which adds a requirement to include protection system limitations. These changes also support ERCOT housing and monitoring the Relay Loadability Rating in Energy Management System (EMS) applications. PRS Decision: On 2/13/20, PRS voted to recommend approval of NPRR953 as amended by the 12/4/19 ERCOT comments. There was one abstention from the Independent Retail Electric Provider (IREP) (Reliant Energy Retail Services) Market Segment. On 3/27/20, PRS voted via email to endorse and forward to TAC the 2/13/20 PRS Report and Revised Impact Analysis for NPRR953. There was one abstention from the Consumer (Occidental) Market Segment. - NPRR997, Gas Pipeline Coordination for Natural Gas Generation Resources – URGENT [ERCOT] Proposed Effective Date: May 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR requires a Resource Entity that controls a Generation Resource that relies on natural gas as its primary fuel source to submit a declaration contained in the summer weather preparedness form to ERCOT stating that the Resource Entity or the Resource Entity’s Qualified Scheduling Entity (QSE) has made a written effort to communicate with the operator of each natural gas pipeline that is directly connected to the Resource Entity’s Generation Resource to coordinate any planned pipeline outages to maximize the Generation Resource’s availability during the summer Peak Load Season of that year PRS Decision: On 03/27/20, PRS unanimously voted via email to recommend approval of NPRR997 as amended by the 3/23/20 ERCOT comments, and to forward NPRR997 and the Impact Analysis to TAC. - NPRR998, ERS Deployment and Recall Messages – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2990 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS) and Integration; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR establishes a requirement for ERCOT to post a message to the Market Information System (MIS) Public Area every time Emergency Response Service (ERS) is deployed or recalled. PRS Decision: On 3/27/20, PRS voted via email to grant NPRR998 Urgent status, to recommend approval of NPRR998 as submitted, and to forward NPRR998 and the Impact Analysis to TAC with a recommended priority of 2020 and rank of 2990. There was one objection from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for TAC Consideration - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT] - NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT] - SCR807, Increase CRR Transaction Capability [DC Energy] Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR975, Load Forecast Model Transparency - NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT] - NPRR992, Updated Day-Ahead Liability for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT] - NPRR993, Grey Box Resolution re NPRR902 and NPRR928 [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NPRR945, Net Metering Requirements [TIEC] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR966, Changes to Support Reactive Power Coordination Tool [ERCOT] - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR984, Change ERS Standard Contract Terms [ERCOT] - NPRR987, BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations [ERCOT] - NPRR989, BESTF-1 Energy Storage Resource Technical Requirements [ERCOT] - NPRR991, Day-Ahead Market (DAM) Point-to-Point (PTP) Obligation Bid Clearing Price Clarification [ERCOT] - NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [ERCOT] - SCR809, Changes to External Telemetry Validations in Resource Limit Calculator [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model [ERCOT] - NPRR999, DC Tie Ramp Limitations [ERCOT] - NPRR1000, Elimination of Dynamically Scheduled Resources [DME] - NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications [ERCOT] - NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions [ERCOT] - NPRR1003, Elimination of References to Resource Asset Registration Form [ERCOT] - NPRR1004, Load Distribution Factor Process Update [ERCOT] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1006, Update Emergency Response Service (ERS) Restoration Assumption for Reliability Deployment Price Adder to Match Actual Data (Urgency requested) [TIEC] - NPRR1007, RTC – NP 3: Management Activities for the ERCOT System [ERCOT] - NPRR1008, RTC – NP 4: Day-Ahead Operations [ERCOT] - NPRR1009, RTC – NP 5: Transmission Security Analysis and Reliability Unit Commitment [ERCOT] - NPRR1010, RTC – NP 6: Adjustment Period and Real-Time Operations [ERCOT] - NPRR1011, RTC – NP 8: Performance Monitoring [ERCOT] - NPRR1012, RTC – NP 9: Settlement and Billing [ERCOT] - NPRR1013, RTC – NP 1, 2, 16, and 25: Overview, Definitions and Acronyms, Registration and Qualification of Market Participants, and Market Suspension and Restart [ERCOT] - NPRR1014, BESTF-4 Energy Storage Resource Single Model [ERCOT] - NPRR1015, Clarification of DAM implementation of NPRR863 Phase 2 [ERCOT] - NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) [ERCOT] - NPRR1017, Management of Congestion Revenue Rights (CRRs) and Resource Node Removals [ERCOT] - SCR810, EMS System Change to Count DC Ties toward the 2% Constraint Activation Criterion [REMC] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr