## Slide 1
Battery Energy Storage Task Force (BEST Force)
General Update (Overview of Future Work and NPRR Review Process)
ERCOT Staff
BESTF Meeting
April 16, 2020

## Slide 2: For today’s WebEx call
If connected to WebEx and dialed-in on a phone PLEASE associate your phone to the WebEx so we see your name. Two ways to do this:
  Use “Call me” option for audio and put in your phone number (preferred)
  Use “Call in” option when entering meeting number, and enter Attendee ID number assigned on screen (note you may need to scroll down to see ID)
When dialing in, by default your line will be muted on WebEx
  Click microphone icon at bottom of screen or side-panel to mute/unmute
When you want to speak, simply announce your name and company,
  E.g., Question from “Your Name” representing “Company Name”
We will NOT be using the Raise Hand feature
We will use the “Chat” feature - send to all Participants
If having difficulties at any time, welcome to text Chair or Vice-Chair
  Kenneth Ragsdale 512-750-3505
  Andy Nyguen 512-705-8618

## Slide 3: Outline of BESTF Update
Energy Storage Roadmap
BESTF Status Charts
  TAC approvals from TAC April 1 meeting and email votes
Spreadsheet Review/ Review List of Future Work
Meeting Tracker Power Point
How will the NPRRs be Reviewed, Improved and Approved

## Slide 4: Energy Storage Roadmap
2020
Jan 1, 2021
2024
Combination model for ES
Single-Model ES Improvement NPRRs
Combination model
NPRRs
Single Model NPRR (NPRR 1014) Approved
Single-unit model for ES
Implementation
Implementation Goal
RTC and EMS 3.3 Go-Live
File Single Model NPRR (NPRR 1014)
MMS Change Freeze
EMS/MMS Change Freeze
NPRR 957: Board approved
NPRR 963: Board approved
NPRR 986: Board approved
NPRR 987: pending
NPRR 989: pending
NPRR 995: pending
NPRR 1002: pending
….Others to come
Some Combo Model NPRR language will carry over to Single Model era
Note that NPRR 1014 is written “on top of” filed RTC NPRRs

## Slide 5: Battery Energy Task Force Status Dashboard (after 4/1/20 TAC vote)
Chart: # Items
| KTC-1 | KTC-2 | KTC-3 | KTC-4 | KTC-5 | KTC-6 | KTC-7 | KTC-8 | KTC-9 | KTC-10 | KTC-11 | KTC-12 | KTC-13 | KTC-14 | KTC-15
Meeting 1 | 1 | 1
Meeting 2
Not Started | 1 | 1 | 5
Meeting 3
BESTF Consensus
Approved by TAC | 1 | 5 | 14 | 7 | 11
Revision Request In Progress | 1 | 2 | 1 | 4 | 1 | 1 | 3 | 1
Revision Request Approved | 3 | 1 | 1 | 1
Closed | 1 | 1 | 1 | 1

## Slide 6: Battery Energy Task Force Status Dashboard (after 4/1/20 TAC vote)
Chart: % Items
| KTC-1 | KTC-2 | KTC-3 | KTC-4 | KTC-5 | KTC-6 | KTC-7 | KTC-8 | KTC-9 | KTC-10 | KTC-11 | KTC-12 | KTC-13 | KTC-14 | KTC-15
Meeting 1 | 14 | 50
Meeting 2
Not Started | 14 | 100 | 83
Meeting 3
BESTF Consensus
Approved by TAC | 50 | 86 | 100 | 87 | 100
Revision Request In Progress | 100 | 100 | 25 | 100 | 50 | 50 | 43 | 17
Revision Request Approved | 75 | 50 | 50 | 14
Closed | 15 | 14 | 13 | 100

## Slide 7: In-flight NPRRs (blue)
  NPRR 987 BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations
  NPRR 989 BESTF-1 Energy Storage Resource Technical Requirements
  NPRR 995 RTF-6 Create Definition and Terms for Settlement Only Energy Storage
  NPRR 1002 BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions
  NPRR 1014 BESTF-4 Single Model Energy Storage Resource

## Slide 8: KTCs Approved by TAC ….. Working on NPRRs (green)
  KTC-8-1 Should WSL treatment extend to batteries that can self-serve PUN Load with stored Energy [No NPRR is required (N/A)]
  KTC-10 ESR Study and Capacity Assumptions [at SAWG and ROS]
  KTC-11 DC-Coupled Resources [ERCOT working on NPRR (BESTF-6)]
  KTC-12 Co Located AC Connected ESRs [No NPRR is required (N/A)]
  KTC-13 ESR Self-Limiting GINR [Working on NPRR and PGRR (BESTF-7)]

## Slide 9: Not Started or Not Yet Completed (grey or red)
  KTC 7-4 Settlement Only Energy Storage settled at Nodal pricing while charging and discharging (to be discussed 4-16-20)
  KTC-8-2 Should Wholesale Storage Load treatment extend to non-dispatched ESRs? (not completed/TBD)
  KTC 9-1 ESR (in SCED) interconnected to distribution system …. (to be discussed in coordination with DGR)
  KTC 15-2 Market Suspension and Market Restart (TBD)
  KTC 15-3 Switchable Resources (TBD)
  KTC 15-4 Provisions Associated with Delayed Outages (TBD)
  KTC 15-5 Black Start Service (TBD)
  KTC 15-6 RMR and MRA Services (TBD)

## Slide 10: BESTF RR Review Assumptions and Schedule
Going forward, BESTF will serve as the clearinghouse to address BESTF Revision Requests issues and comments. (There could be some exceptions.)
For the Revision Requests that are part of the 2024 EMS/RTC/Single Model ESR implementation: before November, ERCOT will submit the BESTF consensus RR comments, with an expectation that they will be considered and approved by TAC at its November 18, 2020 meeting, and the ERCOT Board at its December 8, 2020 meeting.
As the clearinghouse for discussing issues, the plan is to use a schedule for each BESTF RR/topic.
MPs may file BESTF RR comments at any time** and/or email ERCOT directly with any issues as they are identified. The sooner issues are identified, the better.
** prior to deadline

## Slide 11: Next Steps
Discuss Schedule for discussing NPRR 1014 (Single Model ESR)
  Spreadsheet Schedule
Feedback process
  ERCOT will collect feedback and discuss and review at BESTF
  MPs encouraged to send Revision Request redlines, comments and questions for BESTF consideration to the BESTF email exploder or Sandip.Sharma@ercot.com and Kenneth.Ragsdale@ercot.com.
  Similar approach and turnaround as with KTCs
  Comments can be on any section of the NPRR but want to systematically step through the NPRR.
  You can also submit formal comments through the RR process.
As BESTF achieves consensus on edits for the NPRR, ERCOT will collect these items and file as ERCOT comments.

## Slide 12: BESTFRR Review Process
7-days prior #1
ERCOT posts agenda and RRs to be reviewed
7-days prior #2
MP redlines due and posted to address concerns or alternatives
During meeting, MPs discuss any concerns or alternatives
7-days prior #3
MPs must document concerns and alternative language prior to meeting, and be prepared to discuss.
7-days prior #3
Non-consensus materials posted for options on language to be considered.
Meeting #1 Meeting #2 Meeting #3
TAC will be updated monthly. If irresolvable issues occur at BESTF, the BESTF Chair can request TAC endorsement to resolve.
2-days prior #2
ERCOT responds to MP questions and redlines
Consensus Items Tracked in Spreadsheet as Complete
Resolved Items Tracked in Spreadsheet as Complete
ERCOT will file (as ERCOT Comments) cumulative BESTFRR improvements reflecting when consensus on sections achieved.

## Slide 13: Questions??

## Slide 14: Appendix
Harmonizing RTC and Battery Energy Storage

## Slide 15: Harmonizing RTC & Battery Energy Storage
RTC KPs
RTC RRs
RTC IA
BESTF KTCs
Other BES RRs
Single Model IA
Single Model NPRR
_____________
For overlapping sections, authors use
RTC Redlines
+
ESR Redlines
PRS
TAC
BOD
BESTF Meetings
PRS
TAC
BOD
RTC Redline Changes
RTC Redline Changes
RTC Redline Changes
Approval of RTC
RRs and IA
Approval of Single Model NPRR & IA
(acknowledging subset of identical RTC redlines to support ESR redlines).
RTCTF Meetings

## Slide 16: Harmonizing RTC & Battery Energy Storage (BES)
RTCTF & BES Task Force (BESTF) meetings are purposefully adjacent or straddling PRS due to inter-relationships of RTC & BES concepts
RTCTF
March 11
April 8
April 30
May 20
June 10
June 29
July 22
August 12
September 9
September 28
October 21
November 12 (if needed)
BESTF
March 13
April 16
May 1
May 21
June 12
June 30
July 23
August 14
September 11
September 29
October 22
November 13 (if needed)
November 5 (ROS)
November 11 (PRS)
November 18 (TAC)
December 8 (Board of Directors)

## Slide 17: ERCOT Evolution for Battery Energy Storage Resources
Registration
(RARF or RIOO)
Siebel, NMMS, EMS, MMS, Settlements
Phase
A
GR
GR
CLR
CLR
Today
C
Single
Resource
Single
Resource
EMS Upgrade + RTC Go-Live
Mark the GR and CLR so that it can be seen they are a pair
ESR
ESR
ESR
ESR
B
By Dec 31, 2020
Single
Resource
GR
ESR
CLR
ESR