## Slide 1
NPRR 1014
Single Model Energy Storage Resource (Overview and review Process)
ERCOT Staff
BESTF Meeting
April 16, 2020

## Slide 2: BESTF #4: NPRR 1014 Single Model ESR
Section 2
Definitions and Acronyms
Energy Bid/Offer Curve
HSL and LSL for ESR
Section 3
Management Activities for the ERCOT System
Section 3.1.4.3 - Reports for Outages to include ESRs
Section 3.2.1 - Calculation of Aggregate Resource Capacity to include ESRs
Section 4
Day-Ahead Operations
Modification to Resource Node definition to include ESRs
Modifications to Regulation-Down and Regulation-Up Service definition to include ESRs
Modifications to SCED definition to include ESRs
Section 3.2.5 - Publication of Resource and Load Information to include ESRs
Section 3.3.2.1 – ESRs information in Outage Scheduler
Section 3.9.1 - Current Operating Plan (COP) Criteria
Section 4.3– QSE Activities and Responsibilities in the Day-Ahead
Section 4.4.7.2– Ancillary Service Offers
Section 4.4.7.2.1– Ancillary Service Offer Criteria
Section 4.4.7.3.1– Ancillary Service Trade Criteria
Section 4.4.9.2– Startup Offer and Minimum-Energy Offer

## Slide 3: BESTF #4: NPRR 1014 Single Model ESR
Section 4
Day-Ahead
Operations
Section 4.4.9.4.1– Mitigated Offer Cap
Section 4
Day-Ahead
Operations
Section 4.4.10– Credit Requirements for DAM Bids and Offers
Section 5
Transmission Security Analysis and RUC
Section 5.3– ERCOT Security Sequence Responsibilities
Section 4.4.9.4.2– Mitigated Offer Floor
Section 4.4.9.7– Energy Bid/Offer Curve (new)
Section 4.4.9.7.1– Energy Bid/Offer Curve Criteria (new)
Section 4.4.9.7.2– Energy Bid/Offer Curve Validation (new)
Section 4.5.1– DAM Clearing Process
Section 4.5.3– Communicating DAM Results
Section 4.6.2.3– Day-Ahead Make-Whole Settlements
Section 5.4– QSE Security Sequence Responsibilities
Section 5.7.1– RUC Make-Whole Payment
Section 5.7.2– RUC Clawback Charge
Section 5.7.3– Payment When ERCOT Decommits a QSE-Committed Resource

## Slide 4: BESTF #4: NPRR 1014 Single Model ESR
Section 6
Adjustment Period and Real-Time Operations
Section 6.3– Adjustment Period and Real-Time Operations Timeline
Section 6
Adjustment Period and Real-Time Operations
Section 6.3.1– Activities for the Adjustment Period
Section 6.4.2– Output Schedules
Section 6.4.2.1– Output Schedules for Resources Other than Dynamically Scheduled Resources
Section 6.4.2.3– Output Schedule Criteria
6.4.4– Energy Offer Curve
6.5.1.2– Centralized Dispatch
6.5.5.2– Operational Data Requirements
6.5.7.1.10– Network Security Analysis Processor and Security Violation Alarm

## Slide 5: BESTF #4: NPRR 1014 Single Model ESR
Section 6
Adjustment Period and Real-Time Operations
Section 6.5.7.1.12– Resource Limits
Section 6
Adjustment Period and Real-Time Operations
Section 6.6.3.1– Real-Time Energy Imbalance Payment or Charge at a Resource Node
Section 6.5.7.2– Resource Limit Calculator
Section 6.5.7.3– Security Constrained Economic Dispatch
Section 6.5.7.3.1– Determination of Real-Time On-Line Reliability Deployment Price Adder
Section 6.5.7.5– Ancillary Services Capacity Monitor
Section 6.6.5.1– Resource Base Point Deviation Charge
Section 6.6.5.1.1.3– Controllable Load Resource Base Point Deviation Charge for Over Consumption
Section 6.6.5.1.1.4– Controllable Load Resource Base Point Deviation Charge for Under Consumption
Section 6.6.5.5– Energy Storage Resource Base Point Deviation Charge for Over Performance
Section 6.6.5.5.1– Energy Storage Resource Base Point Deviation Charge for Under Performance
Section 6.6.5.3– Resources Exempt from Deviation Charges
Section 6.6.7.1– Voltage Support Service Payments

## Slide 6: BESTF #4: NPRR 1014 Single Model ESR
Section 7
Congestion Revenue Rights
Section 7.9.1.3– Minimum and Maximum Resource Prices
Section 8
Performance Monitoring
Section 8.1.1.2.1.1– Regulation Service Qualification
Section 8.1.1.2.1.2– Responsive Reserve Service Qualification
Section 8.1.1.4.1– Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance

## Slide 7: Next Steps
Discuss Schedule for discussing NPRR 1014
  Spreadsheet Schedule
Feedback process
  ERCOT will collect feedback and vet it at the BESTF
  MPs encouraged to send Revision Request redlines, comments and questions for BESTF consideration to the BESTF email exploder or Sandip.Sharma@ercot.com and Kenneth.Ragsdale@ercot.com.
  Similar “turn around” as with KTCs
  Comments can be on any section of the NPRR but want to systematically step through the NPRR.
  You can also submit formal comments through the RR process.
As BESTF achieves consensus on edits for the NPRR, ERCOT will collect these items and file ERCOT comments on NPRR 1014

## Slide 8: Questions??

## Slide 9: ERCOT Evolution for Battery Energy Storage Resources
Registration
(RARF or RIOO)
Siebel, NMMS, EMS, MMS, Settlements
Phase
A
GR
GR
CLR
CLR
Today
C
Single
Resource
Single
Resource
EMS Upgrade + RTC Go-Live
Mark the GR and CLR so that it can be seen they are a pair
ESR
ESR
ESR
ESR
B
By Dec 31, 2020
Single
Resource
GR
ESR
CLR
ESR