## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for March 2020

## Slide 2: Non-IRR GREDP < 85% – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 276 | 77 | 99 | 1.40 | 77.78
Unit 277 | 69 | 82 | 0.82 | 84.15
Unit 280 | 34 | 46 | 3.88 | 73.91
Unit 292 | 1 | 6 | 0.80 | 16.67

## Slide 3: IRR Summary – March 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 82.94 | 68.81 | 80.76
GREDP Median (%) | 95.04 | 82.34 | 86.71
Average MW Error | 4.04 | 3.96 | 4.34
Median MW Error | 3.87 | 3.84 | 4.03
Total Intervals Scored | 84,840 | 34,706 | 33,599
100+ Intervals Scored | 111 | 116 | 52
Total Intervals Scored Average | 370.48 | 361.52 | 646.13

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,545 | 3,663 | 4.40 | 96.78
Unit 4 | 3,068 | 3,090 | 2.50 | 99.29
Unit 5 | 2,621 | 2,647 | 2.55 | 99.02
Unit 8 | 2,274 | 2,304 | 3.52 | 98.70
Unit 9 | 2,266 | 2,300 | 4.23 | 98.52
Unit 10 | 1,761 | 1,767 | 4.10 | 99.66
Unit 11 | 1,758 | 1,765 | 3.52 | 99.60
Unit 12 | 1,602 | 1,644 | 4.58 | 97.45
Unit 14 | 1,527 | 1,548 | 4.81 | 98.64
Unit 15 | 1,470 | 1,488 | 4.64 | 98.79
Unit 16 | 1,234 | 1,251 | 3.74 | 98.64
Unit 17 | 1,167 | 1,214 | 3.32 | 96.13
Unit 18 | 1,089 | 1,140 | 3.67 | 95.53
Unit 19 | 1,105 | 1,107 | 6.65 | 99.82
Unit 20 | 1,065 | 1,080 | 4.57 | 98.61
Unit 21 | 1,064 | 1,068 | 2.21 | 99.63
Unit 23 | 990 | 1,003 | 7.00 | 98.70

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 24 | 975 | 1,001 | 3.03 | 97.40
Unit 26 | 950 | 963 | 2.63 | 98.65
Unit 27 | 873 | 914 | 0.96 | 95.51
Unit 29 | 864 | 864 | 4.50 | 100.00
Unit 32 | 832 | 839 | 3.60 | 99.17
Unit 34 | 807 | 812 | 2.69 | 99.38
Unit 35 | 805 | 812 | 1.28 | 99.14
Unit 36 | 770 | 810 | 5.30 | 95.06
Unit 37 | 775 | 778 | 2.70 | 99.61
Unit 40 | 710 | 717 | 7.82 | 99.02
Unit 41 | 712 | 713 | 4.78 | 99.86
Unit 46 | 597 | 621 | 3.04 | 96.14
Unit 48 | 590 | 606 | 4.71 | 97.36
Unit 49 | 594 | 605 | 2.98 | 98.18
Unit 55 | 528 | 532 | 3.05 | 99.25
Unit 60 | 474 | 484 | 3.49 | 97.93
Unit 61 | 471 | 484 | 6.63 | 97.31

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 62 | 458 | 482 | 3.85 | 95.02
Unit 63 | 473 | 479 | 3.60 | 98.75
Unit 65 | 469 | 470 | 5.88 | 99.79
Unit 66 | 445 | 468 | 1.07 | 95.09
Unit 67 | 365 | 382 | 3.15 | 95.55
Unit 71 | 353 | 360 | 4.96 | 98.06
Unit 72 | 342 | 354 | 2.72 | 96.61
Unit 78 | 301 | 312 | 2.19 | 96.47
Unit 79 | 295 | 309 | 8.78 | 95.47
Unit 80 | 269 | 279 | 4.55 | 96.42
Unit 86 | 209 | 213 | 4.72 | 98.12
Unit 87 | 202 | 204 | 4.85 | 99.02
Unit 88 | 203 | 203 | 3.10 | 100.00
Unit 89 | 192 | 202 | 3.21 | 95.05
Unit 90 | 199 | 199 | 5.55 | 100.00
Unit 92 | 191 | 194 | 4.09 | 98.45
Unit 96 | 173 | 181 | 2.72 | 95.58

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 97 | 169 | 176 | 3.33 | 96.02
Unit 99 | 166 | 174 | 1.58 | 95.40
Unit 100 | 172 | 172 | 6.20 | 100.00
Unit 101 | 134 | 134 | 3.88 | 100.00
Unit 102 | 129 | 134 | 2.82 | 96.27
Unit 105 | 115 | 115 | 3.53 | 100.00
Unit 106 | 110 | 112 | 5.34 | 98.21
Unit 109 | 104 | 106 | 0.89 | 98.11

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,687 | 3,116 | 3.55 | 86.23
Unit 3 | 2,926 | 3,105 | 3.82 | 94.24
Unit 6 | 2,133 | 2,325 | 5.10 | 91.74
Unit 7 | 2,143 | 2,324 | 4.93 | 92.21
Unit 13 | 1,470 | 1,574 | 7.03 | 93.39
Unit 22 | 905 | 1,014 | 1.11 | 89.25
Unit 25 | 823 | 990 | 2.33 | 83.13
Unit 28 | 822 | 871 | 1.09 | 94.37
Unit 30 | 704 | 861 | 5.87 | 81.77
Unit 31 | 769 | 846 | 3.96 | 90.90
Unit 33 | 768 | 839 | 3.80 | 91.54
Unit 38 | 437 | 749 | 5.67 | 58.34
Unit 39 | 608 | 729 | 2.17 | 83.40
Unit 42 | 496 | 697 | 2.78 | 71.16
Unit 43 | 620 | 653 | 3.69 | 94.95
Unit 44 | 599 | 632 | 1.51 | 94.78
Unit 45 | 532 | 629 | 2.52 | 84.58

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 47 | 480 | 609 | 7.51 | 78.82
Unit 50 | 444 | 594 | 5.85 | 74.75
Unit 51 | 500 | 589 | 6.05 | 84.89
Unit 52 | 525 | 587 | 0.70 | 89.44
Unit 53 | 379 | 565 | 1.08 | 67.08
Unit 54 | 497 | 533 | 3.16 | 93.25
Unit 56 | 453 | 517 | 4.79 | 87.62
Unit 57 | 450 | 516 | 1.20 | 87.21
Unit 58 | 475 | 511 | 4.84 | 92.95
Unit 59 | 443 | 496 | 3.46 | 89.31
Unit 64 | 410 | 474 | 4.11 | 86.50
Unit 68 | 339 | 369 | 7.97 | 91.87
Unit 69 | 325 | 368 | 2.14 | 88.32
Unit 70 | 265 | 364 | 7.78 | 72.80
Unit 73 | 264 | 346 | 5.32 | 76.30
Unit 74 | 308 | 331 | 2.72 | 93.05
Unit 75 | 181 | 328 | 3.30 | 55.18

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 76 | 311 | 328 | 5.22 | 94.82
Unit 77 | 266 | 320 | 8.84 | 83.13
Unit 81 | 220 | 273 | 5.46 | 80.59
Unit 82 | 58 | 273 | 6.27 | 21.25
Unit 83 | 171 | 266 | 2.56 | 64.29
Unit 84 | 169 | 247 | 2.59 | 68.42
Unit 85 | 222 | 235 | 5.65 | 94.47
Unit 91 | 183 | 197 | 10.04 | 92.89
Unit 93 | 172 | 190 | 2.90 | 90.53
Unit 94 | 172 | 189 | 4.90 | 91.01
Unit 95 | 159 | 186 | 1.53 | 85.48
Unit 98 | 29 | 175 | 4.59 | 16.57
Unit 103 | 99 | 126 | 1.32 | 78.57
Unit 104 | 90 | 119 | 4.67 | 75.63
Unit 107 | 57 | 111 | 6.99 | 51.35
Unit 108 | 93 | 107 | 2.21 | 86.92
Unit 110 | 92 | 104 | 5.66 | 88.46

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – March 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 111 | 51 | 102 | 11.19 | 50.00