## Slide 1
Model Performance Approval Versus Precedent
John Schmall
ERCOT Transmission Planning
April 23, 2020
Resource Integration Workshop

## Slide 2: Background
  Recent responses to FIS VRT/model performance reviews requesting performance improvement:
    Justification based on previously approved project
    Argument that performance satisfies guidelines
  Intent of providing review feedback
    Determine if improvements are feasible
    Information for future equipment design improvements

## Slide 3: VRT/Model Performance Guidelines
  Not hard number design criteria
  DWG Procedure Manual, Section 3.1.5
    http://www.ercot.com/committee/dwg
  Identified performance deficiencies in FIS study
    Reflects actual performance or model issue?
    Improvement possible with software/controller setting adjustments?
    Improvement possible with design change?
    Improvement feasibility for project?

## Slide 4: Marginal Performance
  Often accepted
    Technical barriers/feasibility of implementing improvements
    Should not be seen as precedent setting benchmark
    IE and suppliers should utilize the feedback to improve equipment design and performance in future projects
  Performance improvements are seen as a necessary component to maintaining reliability and reducing generation curtailments as the grid continues to evolve

## Slide 5
QUESTIONS?