## PGRR Comments
Author | Section | TDSP Comments | ERCOT Comments
Oncor | 5.1(1)(e) | change and to "or" | agree
Oncor | 5.2.1 | Does process apply to SODG | Yes - discussed at the DGR Workshop III
Oncor | 5.2.1(a) | Does "any generator" include unregistered DG > 1 MW | Need to discuss
Oncor | 5.2.1(a) | Oncor would like export not nameplate | ERCOT will be following existing protocols for 1 MW nameplate
Oncor/CNP | 5.2.1(1)(b) | Why no size threshold for SOG? | Need to discuss
Oncor | 5.2.1(1)(c) | If DGR increases by < 10 MW, but jumps from small to a large gen, no review? | Will be adding clarification in the language.
Oncor | 5.2.1(3) | Oncor would like export not nameplate | ERCOT will be following existing protocols for 1 MW nameplate
Oncor | 5.2.1(4) | Oncor would like section to apply to non-affilliates | ERCOT does not have justification for such a requirement. This was already discussed at DGR Workshop IV
Oncor | original section 5.1.2 | Where did section go | Deleted as redundant
Oncor | 5.2.2(2) | Related to 5.2.1 comment above. Does is relate to all >1MW | Need to discuss
Oncor | 5.2.2(10) | Suggest using Phases instead of stages | agree
Oncor | 5.2.4 | suggest defining "Main Power Transformer" | addressed by NPRR973
Oncor | 5.2.4(3) | interconnecting or lead TSP | May be able to change reference to say 'lead TSP'
Oncor | 5.2.4(5), 5.2.5(5) | Suggest change TSP notified by RIOO to TDSP | Need to resolve/clarify with RIOO team
Oncor | 5.2.5(3) | What does "discontinue any process" mean? | Need to discuss. Might add clarifying language - 'interconnection process'
Oncor | 5.2.7 | The RIOO will notify ERCOT and TDSPs… Will DSPs be notified? | Need to resolve/clarify with RIOO team
Oncor | 5.2.8.2 | IS paragraph still needed? | Need to discuss
Oncor | 5.2.8.3 | Change to Resource so it wont apply to SODG? | Disagree--needs to apply to all
Oncor | 5.2.8.3(1) | Oncor feels IA is confidential.--Will provide notification of completion. | Need to discuss
Oncor | 5.3.1(1) | Clarify that this applies to Large generators | Doesn’t seem necessary
Oncor | 5.3.1(2) | Include all GR, ESR and SOG | agree. May change to 'generator' as opposed to a list
Oncor | 5.3.1(7) | what does "and does not, as proposed, violate the DSP’s tariff or any other applicable authority administered by the DSP." mean? | Need to discuss. Might be able to revise.
Oncor | 5.3.2(1) | change to "stability" from dynamic | agree
Oncor | 5.3.2.2(1) | Language to be revised--Does ERCOT select lead TSP? | Need to discuss. May be room for clarification.
Oncor | 5.3.2.2(2) | Language needs work, and may not be needed. | Need to discuss. May be room for clarification.
Oncor | 5.3.2.3(4) | add "and any other distribution connected resource" | Need to discuss. Doesn't seem necessary, but if so, would also add transmission connected resource.
Oncor | 5.3.2.4.3(6)(c) | add ESR | may already be added by BESTF
Oncor | 5.4.1(1) | Questions about the process | Edits will be made to clarify
CNP | 5.1(1)(a) | Does removing "directly" now mean that TDSPs can sponsor projects to relieve thermal overload concerns? | No, the meaning has not changed. All generators must go through an interconnection process
CNP | 5.2.1(1)(c) | If a DGR increases size by 9 MW, it won't need to go through this process. | If a generator added capacity to hit 10 MW or more, it would then go through the large generator process.
CNP | 5.2.1(1)(c')(i) | change "by" to "to" | Unnecessary, that would trigger every change for a large generator
CNP | 5.2.1(4) | Is the capacity based on nameplate or based on DSP imposed limitation? | Nameplate for simplicity
CNP | 5.2.1(4) | How will ERCOT keep track of the aggregates? Is there a threshold for non-affiliate aggregation? | New RIOO type tool. No, ERCOT would need to receive much more detailed reports to be able to track non-affiliated small generation at a substation
CNP | 5.2.2(2) | How is DSP imposed limitations captured? Is RE required to submit these in RIOO? | Captured in RARF HRL if possible.
CNP | 5.2.5(1) | Why two years? They only have 180 days to sign SGIA and they should have another 6 months to provide notice to proceed rather than a total of 2 years. | The 180 days for the SGIA is a requirement, but the other items needed to meet 6.9(1) are not. The two year period is used for the validity of studies.
CNP | 5.2.8.3 | Edits for Distribution-connected IA wording | Agree
CNP | 5.3.2.1(1) | Can multiple resources show the leasehold interest in the same piece of land? Another scenario is, if the resource has a leasehold interest for 100 acres and another resource shows a leasehold for another 100 acres which is close by but has some area which encompasses the first resource area. How does ERCOT tackle this situation? | ERCOT does not compare site control documents from one INR to another. It would be possible with more staff and more accurate data.
CNP | 5.3.2.2(2)(b) | IE agreement to upgrades should be applied for small generators (distribution) as well | ERCOT will discuss
CNP | 5.3.2.2(7)(a) | Why do we require IE approval to proceed with different phases of the study when a study scope is finalized and signed by the IE? The TSP should be able to perform any study as deemed necessary to interconnect the generator reliably to the system. | The division into study phases would be covered in the scope document. The IE giving approval for each phase would also be in the scope document. The TDSP is able to perform needed studies.
CNP | 5.3.2.4.4(1) | addition of "unless transmission facilities are required to be constructed" | Need to discuss
CNP | 5.4.2(b)and(c') | Add "Upon ERCOT's request" | ERCOT should not have to request it
CNP | 5.4.3 | What type of information is needed? | The TDSP would provide what is detailed in the Conditions document. The IE would then provide what is needed to ERCOT.
CNP | 5.7.5(3) | Why was the table removed? | We can put the table in the Resource Interconnection Handbook
CNP | 6.9(2) | 60 days seems excessive | The requirement has not changed due to DGR
CNP | 6.9(3) | How will this be modeled? | There is no detailed model but could be a model that shows the generator under the distribution transformer