## Summary
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, WINTER PEAK SEASONS
SOLARPEAKPCT Value (Weighted Average based on Installed Solar Capacity) *
Winter Peak Ave. Solar Capacity Percentages and Total Unit Capacities |  |  | Winter
Top Twenty Peak Hours for Each year |  |  | 6.862%
Year | Capacity Contribution Percentage | Capacity (MW)
2019/2020 | 3.868% | 2020.2
2018/2019 | 9.185% | 1404
2017/2018 | 9.861% | 928.7 | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-030120_Nodal.docx

## Graphs
HISTORICAL SOLAR CAPACITY CONTRIBUTION - WINTER PEAK SEASON
Capacity Factors | High | Low | Average
Winter 2012/2013-2017/2018 | 88.1% | 0% | 8.251%
Winter 2012/2013 | 88.1% | 0% | 8.902%
Winter 2013/2014 | 29.2% | 0% | 2.83%
Winter 2014/2015 | 40.1% | 0% | 4.637%
Winter 2015/2016 | 49.9% | 0% | 7.557%
Winter 2016/2017 | 70.2% | 0% | 17.1%
Winter 2017/2018 | 88.1% | 0% | 8.481%
Winter 2018/2019 | 35.34% | 0% | 9.185%
Winter 2019/2020 | 23.65% | 0.000569% | 3.868%

## W2019-2020
HOUR | 2019-12-17 HE08 | 2019-12-18 HE07 | 2019-12-18 HE08 | 2019-12-18 HE09 | 2019-12-19 HE07 | 2019-12-19 HE08 | 2019-12-19 HE09 | 2020-02-05 HE19 | 2020-02-05 HE20 | 2020-02-05 HE21 | 2020-02-06 HE07 | 2020-02-06 HE08 | 2020-02-06 HE09 | 2020-02-14 HE07 | 2020-02-14 HE08 | 2020-02-14 HE09 | 2020-02-21 HE07 | 2020-02-21 HE08 | 2020-02-27 HE07 | 2020-02-27 HE08
ERCOT LOAD (MW) | 52940 | 55052 | 56080 | 53603 | 53837 | 54994 | 52787 | 53393 | 53822 | 53395 | 55011 | 56116 | 54351 | 53427 | 54649 | 52760 | 52501 | 53535 | 55003 | 55393
TOTAL HSL (MW) | 3.9238 | 0.013509 | 6.2879 | 477.7443 | 0.034008 | 3.5835 | 267.1616 | 8.6276 | 0.30068 | 0.30068 | 0.30068 | 7.2638 | 409.6928 | 0.011496 | 11.2032 | 259.6004 | 0.033019 | 20.0873 | 0.043307 | 86.8125
TOTAL CAPACITY (MW) | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2 | 2020.2
CAPACITY FACTOR | 0.1942% | 0.0006687% | 0.3112% | 23.65% | 0.001683% | 0.1774% | 13.22% | 0.4271% | 0.01488% | 0.01488% | 0.01488% | 0.3596% | 20.28% | 0.000569% | 0.5546% | 12.85% | 0.001634% | 0.9943% | 0.002144% | 4.297%
CAPACITY FACTOR AVG | 3.868%
SEASON | WINTER 2019/2020
FUEL | SOLAR