## SUMMARY
PEAK AVERAGE WIND CAPACITY PERCENTAGES, WINTER PEAK SEASONS
WINDPEAKPCT Values (Weighted Averages based on Installed Wind Capacity)*
Winter Peak Ave. Wind Capacity Percentages and Total Unit Capacities | [6 empty] | Winter, Panhandle | Winter, Coastal | Winter, Other
Top Twenty Peak Hours for Each year | [6 empty] | 32.49% | 42.75% | 19.17%
CDR Wind Region | Panhandle |  | Coastal |  | Other
Year | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-030120_Nodal.docx
2019-2020 | 38.12% | 4197.6 | 33.96% | 2974.4 | 27.53% | 15598.8
2018-2019 | 39.81% | 4197 | 39.12% | 2610.6 | 20.96% | 14730.2
2017-2018 | 33.29% | 4197 | 51.88% | 2382.6 | 14.26% | 11996.3
2016-2017 | 19.94% | 3609 | 79.34% | 2038.4 | 14.29% | 10821.7
2015-2016 | 28.45% | 2670.5 | 27.02% | 1875.4 | 28.44% | 10494.9
2014-2015 | 22.71% | 207 | 42.28% | 1671.4 | 10.7% | 8858.8
2013-2014 | 36.17% | 207 | 43.66% | 1269.7 | 17.27% | 8789.4
2012-2013 | 23.05% | 207 | 32.47% | 1066.4 | 16.69% | 7999.2
2011-2012 | 38.47% | 207 | 15.74% | 965.6 | 20.28% | 7670.7
2010-2011 | 34.47% | 206.957 | 48.41% | 965.55 | 14.3% | 8023.935

## W2019-2020 Panhandle
HOURS | 2019-12-17 HE08 | 2019-12-18 HE07 | 2019-12-18 HE08 | 2019-12-18 HE09 | 2019-12-19 HE07 | 2019-12-19 HE08 | 2019-12-19 HE09 | 2020-02-05 HE19 | 2020-02-05 HE20 | 2020-02-05 HE21 | 2020-02-06 HE07 | 2020-02-06 HE08 | 2020-02-06 HE09 | 2020-02-14 HE07 | 2020-02-14 HE08 | 2020-02-14 HE09 | 2020-02-21 HE07 | 2020-02-21 HE08 | 2020-02-27 HE07 | 2020-02-27 HE08
TOTAL HSL (MW) | 1345.1567 | 1123.4968 | 1218.7963 | 1360.5279 | 3461.6763 | 3326.9169 | 3241.234 | 364.6437 | 485.767 | 749.3011 | 1208.3573 | 1640.9476 | 1799.0868 | 675.565 | 780.9933 | 948.6752 | 1455.3708 | 1721.3029 | 2712.5622 | 2379.0202
TOTAL CAPACITY (MW) | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6 | 4197.6
CAPACITY FACTOR | 32.05% | 26.77% | 29.04% | 32.41% | 82.47% | 79.26% | 77.22% | 8.687% | 11.57% | 17.85% | 28.79% | 39.09% | 42.86% | 16.09% | 18.61% | 22.6% | 34.67% | 41.01% | 64.62% | 56.68%
CAPACITY FACTOR AVG | 38.12%
SEASON | WINTER 2019-2020
CATEGORY | PANHANDLE

## W2018-2019 Panhandle
HOURS | 2018-12-10 HE08 | 2019-01-02 HE18 | 2019-01-02 HE19 | 2019-01-02 HE20 | 2019-01-23 HE08 | 2019-01-24 HE07 | 2019-01-24 HE08 | 2019-01-24 HE09 | 2019-01-29 HE08 | 2019-02-08 HE07 | 2019-02-08 HE08 | 2019-02-08 HE09 | 2019-02-08 HE10 | 2019-02-08 HE11 | 2019-02-08 HE12 | 2019-02-08 HE13 | 2019-02-08 HE18 | 2019-02-08 HE19 | 2019-02-08 HE20 | 2019-02-08 HE21
TOTAL HSL (MW) | 1373.237 | 129.33 | 220.289 | 207.6871 | 1742.7689 | 3134.12 | 3190.2782 | 3059.0912 | 704.0667 | 654.771 | 614.9661 | 583.6608 | 533.6373 | 662.8096 | 1276.4419 | 1999.3593 | 3435.4832 | 3422.6714 | 3385.8055 | 3082.9352
TOTAL CAPACITY (MW) | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197
CAPACITY FACTOR | 32.72% | 3.081% | 5.249% | 4.948% | 41.52% | 74.68% | 76.01% | 72.89% | 16.78% | 15.6% | 14.65% | 13.91% | 12.71% | 15.79% | 30.41% | 47.64% | 81.86% | 81.55% | 80.67% | 73.46%
CAPACITY FACTOR AVG | 39.81%
SEASON | WINTER 2018-2019
CATEGORY | PANHANDLE

## W2017-2018 Panhandle
HOURS | 2018-01-02 HE19 | 2018-01-02 HE20 | 2018-01-02 HE21 | 2018-01-03 HE07 | 2018-01-03 HE08 | 2018-01-03 HE09 | 2018-01-16 HE11 | 2018-01-16 HE12 | 2018-01-16 HE13 | 2018-01-16 HE18 | 2018-01-16 HE19 | 2018-01-16 HE20 | 2018-01-16 HE21 | 2018-01-16 HE22 | 2018-01-17 HE06 | 2018-01-17 HE07 | 2018-01-17 HE08 | 2018-01-17 HE09 | 2018-01-17 HE10 | 2018-01-18 HE10
TOTAL HSL (MW) | 68.5954 | 51.3256 | 153.5078 | 2660.5764 | 2342.1562 | 1793.616 | 1028.3761 | 766.702 | 612.8396 | 53.7374 | 83.4971 | 148.0663 | 418.903 | 783.2488 | 3247.3501 | 3221.9346 | 3135.8046 | 2958.7026 | 2229.314 | 2187.4414
TOTAL CAPACITY (MW) | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197 | 4197
CAPACITY FACTOR | 1.634% | 1.223% | 3.658% | 63.39% | 55.81% | 42.74% | 24.5% | 18.27% | 14.6% | 1.28% | 1.989% | 3.528% | 9.981% | 18.66% | 77.37% | 76.77% | 74.72% | 70.5% | 53.12% | 52.12%
CAPACITY FACTOR AVG | 33.29%
SEASON | WINTER 2017-2018
CATEGORY | PANHANDLE

## W2016-2017 Panhandle
HOURS | 2016-12-19 HE07 | 2016-12-19 HE08 | 2016-12-19 HE09 | 2016-12-19 HE10 | 2017-01-06 HE11 | 2017-01-06 HE12 | 2017-01-06 HE16 | 2017-01-06 HE17 | 2017-01-06 HE18 | 2017-01-06 HE19 | 2017-01-06 HE20 | 2017-01-06 HE21 | 2017-01-06 HE22 | 2017-01-06 HE23 | 2017-01-07 HE06 | 2017-01-07 HE07 | 2017-01-07 HE08 | 2017-01-07 HE09 | 2017-01-07 HE10 | 2017-01-07 HE11
TOTAL HSL (MW) | 1243.3062 | 1138.8159 | 1052.7485 | 765.0539 | 287.5361 | 455.255 | 766.0389 | 471.7245 | 332.1161 | 369.2603 | 530.1858 | 643.5021 | 706.639 | 971.095 | 1164.432 | 1051.8033 | 902.4162 | 735.7827 | 562.3626 | 242.9461
TOTAL CAPACITY (MW) | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609 | 3609
CAPACITY FACTOR | 34.45% | 31.55% | 29.17% | 21.2% | 7.967% | 12.61% | 21.23% | 13.07% | 9.202% | 10.23% | 14.69% | 17.83% | 19.58% | 26.91% | 32.26% | 29.14% | 25% | 20.39% | 15.58% | 6.732%
CAPACITY FACTOR AVG | 19.94%
SEASON | WINTER 2016-2017
CATEGORY | PANHANDLE

## W2015-2016 Panhandle
HOURS | 2016-01-05 HE08 | 2016-01-11 HE07 | 2016-01-11 HE08 | 2016-01-11 HE09 | 2016-01-11 HE10 | 2016-01-12 HE07 | 2016-01-12 HE08 | 2016-01-18 HE08 | 2016-01-18 HE09 | 2016-01-22 HE07 | 2016-01-22 HE08 | 2016-01-22 HE09 | 2016-01-23 HE09 | 2016-01-27 HE08 | 2016-01-28 HE07 | 2016-01-28 HE08 | 2016-02-04 HE07 | 2016-02-04 HE08 | 2016-02-05 HE07 | 2016-02-05 HE08
TOTAL HSL (MW) | 1675.0397 | 366.0386 | 339.2978 | 248.3081 | 161.4082 | 1040.1817 | 889.5433 | 23.1433 | 14.0861 | 884.2878 | 749.0575 | 593.9887 | 1724.291 | 909.4963 | 416.4486 | 345.1817 | 307.1934 | 382.0409 | 2205.6618 | 1918.7248
TOTAL CAPACITY (MW) | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5 | 2670.5
CAPACITY FACTOR | 62.72% | 13.71% | 12.71% | 9.298% | 6.044% | 38.95% | 33.31% | 0.8666% | 0.5275% | 33.11% | 28.05% | 22.24% | 64.57% | 34.06% | 15.59% | 12.93% | 11.5% | 14.31% | 82.59% | 71.85%
CAPACITY FACTOR AVG | 28.45%
SEASON | WINTER 2015-2016
CATEGORY | PANHANDLE

## W2014-2015 Panhandle
HOURS | 2015-02-23 HE22 | 2015-02-24 HE08 | 2015-02-24 HE09 | 2015-02-24 HE10 | 2015-02-27 HE08 | 2015-02-27 HE19 | 2015-02-27 HE20 | 2015-01-05 HE08 | 2015-01-08 HE07 | 2015-01-08 HE08 | 2015-01-08 HE09 | 2015-01-08 HE10 | 2015-01-08 HE11 | 2015-01-08 HE20 | 2015-01-09 HE19 | 2015-01-09 HE20 | 2015-02-23 HE18 | 2015-02-23 HE19 | 2015-02-23 HE20 | 2015-02-23 HE21
TOTAL HSL (MW) | 0 | 0 | 0 | 0 | 55.9833 | 14.1917 | 9.725 | 59.8333 | 114.9 | 141.8333 | 145.3923 | 146.0833 | 146.8583 | 93.5167 | 8 | 4 | 0 | 0 | 0 | 0
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 0% | 0% | 0% | 0% | 27.05% | 6.856% | 4.698% | 28.9% | 55.51% | 68.52% | 70.24% | 70.57% | 70.95% | 45.18% | 3.865% | 1.932% | 0% | 0% | 0% | 0%
CAPACITY FACTOR AVG | 22.71%
SEASON | WINTER 2014-2015
CATEGORY | PANHANDLE

## W2013-2014 Panhandle
HOURS | 2014-01-06 HE07 | 2014-01-06 HE08 | 2014-01-06 HE09 | 2014-01-06 HE10 | 2014-01-06 HE19 | 2014-01-06 HE20 | 2014-01-06 HE21 | 2014-01-07 HE07 | 2014-01-07 HE08 | 2014-01-29 HE07 | 2014-01-29 HE08 | 2014-02-06 HE07 | 2014-02-06 HE08 | 2014-02-06 HE09 | 2014-02-06 HE10 | 2014-02-06 HE11 | 2014-02-06 HE12 | 2014-02-06 HE19 | 2014-02-06 HE20 | 2014-02-06 HE21
TOTAL HSL (MW) | 2.4071 | 9.2083 | 4.8231 | 1.55 | 84.7417 | 179.275 | 202.65 | 202.1167 | 199.5167 | 192.3667 | 194.0833 | 68.9 | 59.7833 | 40.2917 | 27.4 | 13.1333 | 7.725 | 0.60833 | 1.9833 | 5.025
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 1.163% | 4.448% | 2.33% | 0.7488% | 40.94% | 86.61% | 97.9% | 97.64% | 96.38% | 92.93% | 93.76% | 33.29% | 28.88% | 19.46% | 13.24% | 6.345% | 3.732% | 0.2939% | 0.9581% | 2.428%
CAPACITY FACTOR AVG | 36.17%
SEASON | WINTER 2013-2014
CATEGORY | PANHANDLE

## W2012-2013 Panhandle
HOURS | 2013-01-14 HE08 | 2013-01-14 HE09 | 2013-01-15 HE08 | 2013-01-15 HE09 | 2013-01-15 HE10 | 2013-01-15 HE11 | 2013-01-15 HE12 | 2013-01-15 HE13 | 2013-01-15 HE17 | 2013-01-15 HE18 | 2013-01-15 HE19 | 2013-01-15 HE20 | 2013-01-15 HE21 | 2013-01-15 HE22 | 2013-01-16 HE07 | 2013-01-16 HE08 | 2013-01-16 HE09 | 2013-01-16 HE10 | 2013-01-17 HE07 | 2013-01-17 HE08
TOTAL HSL (MW) | 47.45 | 41.775 | 31.45 | 31.4583 | 15 | 4.0467 | 6.375 | 13.575 | 33.5417 | 13.0833 | 3.525 | 7.45 | 16.1083 | 22.5667 | 80.7667 | 99.8167 | 114.2667 | 77.4583 | 146.0917 | 148.3667
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 22.92% | 20.18% | 15.19% | 15.2% | 7.246% | 1.955% | 3.08% | 6.558% | 16.2% | 6.32% | 1.703% | 3.599% | 7.782% | 10.9% | 39.02% | 48.22% | 55.2% | 37.42% | 70.58% | 71.67%
CAPACITY FACTOR AVG | 23.05%
SEASON | WINTER 2012-2013
CATEGORY | PANHANDLE

## W2011-2012 Panhandle
HOURS | 2011-12-06 HE08 | 2011-12-06 HE18 | 2011-12-06 HE19 | 2011-12-06 HE20 | 2011-12-06 HE21 | 2011-12-06 HE22 | 2011-12-06 HE23 | 2011-12-07 HE06 | 2011-12-07 HE07 | 2011-12-07 HE08 | 2011-12-07 HE09 | 2011-12-07 HE10 | 2011-12-08 HE07 | 2011-12-08 HE08 | 2011-12-08 HE09 | 2012-01-12 HE20 | 2012-01-12 HE21 | 2012-01-13 HE07 | 2012-01-13 HE08 | 2012-01-13 HE09
TOTAL HSL (MW) | 55.6833 | 1.8385 | 0.19167 | 0.35833 | 2.875 | 10.0167 | 22.6417 | 110.55 | 122.625 | 147.4833 | 119.375 | 74.7167 | 160.1833 | 161.55 | 151.2083 | 50.8083 | 68.175 | 104.3667 | 110.6833 | 117.3
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 26.9% | 0.8881% | 0.09259% | 0.1731% | 1.389% | 4.839% | 10.94% | 53.41% | 59.24% | 71.25% | 57.67% | 36.1% | 77.38% | 78.04% | 73.05% | 24.55% | 32.93% | 50.42% | 53.47% | 56.67%
CAPACITY FACTOR AVG | 38.47%
SEASON | WINTER 2011-2012
CATEGORY | PANHANDLE

## W2010-2011 Panhandle
HOURS | 2011-02-01 HE20 | 2011-02-01 HE21 | 2011-02-02 HE19 | 2011-02-02 HE20 | 2011-02-02 HE21 | 2011-02-03 HE07 | 2011-02-03 HE08 | 2011-02-03 HE09 | 2011-02-03 HE10 | 2011-02-03 HE11 | 2011-02-03 HE12 | 2011-02-03 HE19 | 2011-02-03 HE20 | 2011-02-03 HE21 | 2011-02-09 HE19 | 2011-02-09 HE20 | 2011-02-09 HE21 | 2011-02-10 HE07 | 2011-02-10 HE08 | 2011-02-10 HE09
TOTAL HSL (MW) | 199.3 | 202.1917 | 101.0333 | 122.175 | 147.175 | 86.2923 | 66.0667 | 37.875 | 38.575 | 37.9917 | 25.075 | 1.2308 | 4.5 | 0 | 62.0462 | 56.1 | 41.0667 | 46.1167 | 97.2583 | 54.5833
TOTAL CAPACITY (MW) | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957 | 206.957
CAPACITY FACTOR | 96.3% | 97.7% | 48.82% | 59.03% | 71.11% | 41.7% | 31.92% | 18.3% | 18.64% | 18.36% | 12.12% | 0.5947% | 2.174% | 0% | 29.98% | 27.11% | 19.84% | 22.28% | 46.99% | 26.37%
CAPACITY FACTOR AVG | 34.47%
SEASON | WINTER 2010-2011
CATEGORY | PANHANDLE

## W2019-2020 Coastal
HOURS | 2019-12-17 HE08 | 2019-12-18 HE07 | 2019-12-18 HE08 | 2019-12-18 HE09 | 2019-12-19 HE07 | 2019-12-19 HE08 | 2019-12-19 HE09 | 2020-02-05 HE19 | 2020-02-05 HE20 | 2020-02-05 HE21 | 2020-02-06 HE07 | 2020-02-06 HE08 | 2020-02-06 HE09 | 2020-02-14 HE07 | 2020-02-14 HE08 | 2020-02-14 HE09 | 2020-02-21 HE07 | 2020-02-21 HE08 | 2020-02-27 HE07 | 2020-02-27 HE08
TOTAL HSL (MW) | 2363.485 | 932.5193 | 827.8935 | 643.3665 | 236.1041 | 258.5871 | 265.351 | 952.7504 | 812.232 | 1663.471 | 1389.9805 | 1219.8021 | 1039.6429 | 1178.7319 | 1108.2316 | 1007.1534 | 2008.4988 | 1915.1219 | 221.2061 | 160.5613
TOTAL CAPACITY (MW) | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4 | 2974.4
CAPACITY FACTOR | 79.46% | 31.35% | 27.83% | 21.63% | 7.938% | 8.694% | 8.921% | 32.03% | 27.31% | 55.93% | 46.73% | 41.01% | 34.95% | 39.63% | 37.26% | 33.86% | 67.53% | 64.39% | 7.437% | 5.398%
CAPACITY FACTOR AVG | 33.96%
SEASON | WINTER 2019-2020
CATEGORY | COASTAL

## W2018-2019 Coastal
HOURS | 2018-12-10 HE08 | 2019-01-02 HE18 | 2019-01-02 HE19 | 2019-01-02 HE20 | 2019-01-23 HE08 | 2019-01-24 HE07 | 2019-01-24 HE08 | 2019-01-24 HE09 | 2019-01-29 HE08 | 2019-02-08 HE07 | 2019-02-08 HE08 | 2019-02-08 HE09 | 2019-02-08 HE10 | 2019-02-08 HE11 | 2019-02-08 HE12 | 2019-02-08 HE13 | 2019-02-08 HE18 | 2019-02-08 HE19 | 2019-02-08 HE20 | 2019-02-08 HE21
TOTAL HSL (MW) | 376.5892 | 786.0328 | 564.9498 | 368.0957 | 2028.5658 | 42.403 | 18.0481 | 2.1694 | 2019.1787 | 1724.238 | 1678.1806 | 1482.5305 | 1398.7932 | 1390.4901 | 1389.5986 | 1369.9251 | 1007.1335 | 929.7371 | 893.7496 | 954.5014
TOTAL CAPACITY (MW) | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6 | 2610.6
CAPACITY FACTOR | 14.43% | 30.11% | 21.64% | 14.1% | 77.7% | 1.624% | 0.6913% | 0.0831% | 77.35% | 66.05% | 64.28% | 56.79% | 53.58% | 53.26% | 53.23% | 52.48% | 38.58% | 35.61% | 34.24% | 36.56%
CAPACITY FACTOR AVG | 39.12%
SEASON | WINTER 2018-2019
CATEGORY | COASTAL

## W2017-2018 Coastal
HOURS | 2018-01-02 HE19 | 2018-01-02 HE20 | 2018-01-02 HE21 | 2018-01-03 HE07 | 2018-01-03 HE08 | 2018-01-03 HE09 | 2018-01-16 HE11 | 2018-01-16 HE12 | 2018-01-16 HE13 | 2018-01-16 HE18 | 2018-01-16 HE19 | 2018-01-16 HE20 | 2018-01-16 HE21 | 2018-01-16 HE22 | 2018-01-17 HE06 | 2018-01-17 HE07 | 2018-01-17 HE08 | 2018-01-17 HE09 | 2018-01-17 HE10 | 2018-01-18 HE10
TOTAL HSL (MW) | 2029.3125 | 1957.9375 | 1854.9042 | 834.0975 | 726.0025 | 545.555 | 2088.2399 | 1982.5743 | 1824.5457 | 1344.8304 | 1173.0488 | 1081.6197 | 979.8403 | 954.2354 | 1075.9122 | 965.6536 | 903.7877 | 894.6788 | 824.025 | 681.8258
TOTAL CAPACITY (MW) | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6
CAPACITY FACTOR | 85.17% | 82.18% | 77.85% | 35.01% | 30.47% | 22.9% | 87.65% | 83.21% | 76.58% | 56.44% | 49.23% | 45.4% | 41.12% | 40.05% | 45.16% | 40.53% | 37.93% | 37.55% | 34.59% | 28.62%
CAPACITY FACTOR AVG | 51.88%
SEASON | WINTER 2017-2018
CATEGORY | COASTAL

## W2016-2017 Coastal
HOURS | 2016-12-19 HE07 | 2016-12-19 HE08 | 2016-12-19 HE09 | 2016-12-19 HE10 | 2017-01-06 HE11 | 2017-01-06 HE12 | 2017-01-06 HE16 | 2017-01-06 HE17 | 2017-01-06 HE18 | 2017-01-06 HE19 | 2017-01-06 HE20 | 2017-01-06 HE21 | 2017-01-06 HE22 | 2017-01-06 HE23 | 2017-01-07 HE06 | 2017-01-07 HE07 | 2017-01-07 HE08 | 2017-01-07 HE09 | 2017-01-07 HE10 | 2017-01-07 HE11
TOTAL HSL (MW) | 1182.6763 | 1044.8563 | 1036.3175 | 941.9544 | 1774.3888 | 1741.6639 | 1744.78 | 1791.8164 | 1857.5781 | 1888.1295 | 1904.2298 | 1867.461 | 1833.9717 | 1832.2896 | 1678.2032 | 1615.0543 | 1616.4996 | 1751.411 | 1730.3506 | 1511.0936
TOTAL CAPACITY (MW) | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4 | 2038.4
CAPACITY FACTOR | 58.02% | 51.26% | 50.84% | 46.21% | 87.05% | 85.44% | 85.6% | 87.9% | 91.13% | 92.63% | 93.42% | 91.61% | 89.97% | 89.89% | 82.33% | 79.23% | 79.3% | 85.92% | 84.89% | 74.13%
CAPACITY FACTOR AVG | 79.34%
SEASON | WINTER 2016-2017
CATEGORY | COASTAL

## W2015-2016 Coastal
HOURS | 2016-01-05 HE08 | 2016-01-11 HE07 | 2016-01-11 HE08 | 2016-01-11 HE09 | 2016-01-11 HE10 | 2016-01-12 HE07 | 2016-01-12 HE08 | 2016-01-18 HE08 | 2016-01-18 HE09 | 2016-01-22 HE07 | 2016-01-22 HE08 | 2016-01-22 HE09 | 2016-01-23 HE09 | 2016-01-27 HE08 | 2016-01-28 HE07 | 2016-01-28 HE08 | 2016-02-04 HE07 | 2016-02-04 HE08 | 2016-02-05 HE07 | 2016-02-05 HE08
TOTAL HSL (MW) | 756.1871 | 314.4844 | 344.6651 | 325.9938 | 270.8541 | 279.7365 | 331.0479 | 324.2917 | 255.4066 | 544.2836 | 724.4509 | 734.9194 | 176.9117 | 1437.956 | 261.4397 | 145.9937 | 923.7541 | 884.9271 | 528.3297 | 567.7447
TOTAL CAPACITY (MW) | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4 | 1875.4
CAPACITY FACTOR | 40.32% | 16.77% | 18.38% | 17.38% | 14.44% | 14.92% | 17.65% | 17.29% | 13.62% | 29.02% | 38.63% | 39.19% | 9.433% | 76.67% | 13.94% | 7.785% | 49.26% | 47.19% | 28.17% | 30.27%
CAPACITY FACTOR AVG | 27.02%
SEASON | WINTER 2015-2016
CATEGORY | COASTAL

## W2014-2015 Coastal
HOURS | 2015-02-23 HE22 | 2015-02-24 HE08 | 2015-02-24 HE09 | 2015-02-24 HE10 | 2015-02-27 HE08 | 2015-02-27 HE19 | 2015-02-27 HE20 | 2015-01-05 HE08 | 2015-01-08 HE07 | 2015-01-08 HE08 | 2015-01-08 HE09 | 2015-01-08 HE10 | 2015-01-08 HE11 | 2015-01-08 HE20 | 2015-01-09 HE19 | 2015-01-09 HE20 | 2015-02-23 HE18 | 2015-02-23 HE19 | 2015-02-23 HE20 | 2015-02-23 HE21
TOTAL HSL (MW) | 631.6125 | 406.7289 | 371.8162 | 305.9635 | 692.8005 | 561.4572 | 533.9441 | 345.7106 | 1116.764 | 995.554 | 842.3351 | 675.0737 | 546.2142 | 59.4815 | 1368.9792 | 1377.1261 | 1026.8897 | 862.8825 | 729.5365 | 684.1437
TOTAL CAPACITY (MW) | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4
CAPACITY FACTOR | 37.79% | 24.33% | 22.25% | 18.31% | 41.45% | 33.59% | 31.95% | 20.68% | 66.82% | 59.56% | 50.4% | 40.39% | 32.68% | 3.559% | 81.91% | 82.39% | 61.44% | 51.63% | 43.65% | 40.93%
CAPACITY FACTOR AVG | 42.28%
SEASON | WINTER 2014-2015
CATEGORY | COASTAL

## W2013-2014 Coastal
HOURS | 2014-01-06 HE07 | 2014-01-06 HE08 | 2014-01-06 HE09 | 2014-01-06 HE10 | 2014-01-06 HE19 | 2014-01-06 HE20 | 2014-01-06 HE21 | 2014-01-07 HE07 | 2014-01-07 HE08 | 2014-01-29 HE07 | 2014-01-29 HE08 | 2014-02-06 HE07 | 2014-02-06 HE08 | 2014-02-06 HE09 | 2014-02-06 HE10 | 2014-02-06 HE11 | 2014-02-06 HE12 | 2014-02-06 HE19 | 2014-02-06 HE20 | 2014-02-06 HE21
TOTAL HSL (MW) | 785.7929 | 820.15 | 902.5077 | 1008.6833 | 169.4333 | 160.5417 | 160.55 | 180.8667 | 153.6833 | 121.7917 | 92.5167 | 1133.8583 | 1083.6583 | 1038.15 | 929.0667 | 809.8667 | 765.3667 | 291.7667 | 235.775 | 243.0083
TOTAL CAPACITY (MW) | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7
CAPACITY FACTOR | 61.89% | 64.59% | 71.08% | 79.44% | 13.34% | 12.64% | 12.64% | 14.24% | 12.1% | 9.592% | 7.286% | 89.3% | 85.35% | 81.76% | 73.17% | 63.78% | 60.28% | 22.98% | 18.57% | 19.14%
CAPACITY FACTOR AVG | 43.66%
SEASON | WINTER 2013-2014
CATEGORY | COASTAL

## W2012-2013 Coastal
HOURS | 2013-01-14 HE08 | 2013-01-14 HE09 | 2013-01-15 HE08 | 2013-01-15 HE09 | 2013-01-15 HE10 | 2013-01-15 HE11 | 2013-01-15 HE12 | 2013-01-15 HE13 | 2013-01-15 HE17 | 2013-01-15 HE18 | 2013-01-15 HE19 | 2013-01-15 HE20 | 2013-01-15 HE21 | 2013-01-15 HE22 | 2013-01-16 HE07 | 2013-01-16 HE08 | 2013-01-16 HE09 | 2013-01-16 HE10 | 2013-01-17 HE07 | 2013-01-17 HE08
TOTAL HSL (MW) | 401.55 | 370.15 | 325.6083 | 269.1 | 265.8917 | 276.2 | 231.6667 | 207.9 | 388.8417 | 383.1417 | 333.3583 | 382.4917 | 436.0333 | 472.0333 | 421.7333 | 340.075 | 296.4833 | 266.8917 | 431.675 | 423.4167
TOTAL CAPACITY (MW) | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4
CAPACITY FACTOR | 37.65% | 34.71% | 30.53% | 25.23% | 24.93% | 25.9% | 21.72% | 19.5% | 36.46% | 35.93% | 31.26% | 35.87% | 40.89% | 44.26% | 39.55% | 31.89% | 27.8% | 25.03% | 40.48% | 39.71%
CAPACITY FACTOR AVG | 32.47%
SEASON | WINTER 2012-2013
CATEGORY | COASTAL

## W2011-2012 Coastal
HOURS | 2011-12-06 HE08 | 2011-12-06 HE18 | 2011-12-06 HE19 | 2011-12-06 HE20 | 2011-12-06 HE21 | 2011-12-06 HE22 | 2011-12-06 HE23 | 2011-12-07 HE06 | 2011-12-07 HE07 | 2011-12-07 HE08 | 2011-12-07 HE09 | 2011-12-07 HE10 | 2011-12-08 HE07 | 2011-12-08 HE08 | 2011-12-08 HE09 | 2012-01-12 HE20 | 2012-01-12 HE21 | 2012-01-13 HE07 | 2012-01-13 HE08 | 2012-01-13 HE09
TOTAL HSL (MW) | 387.0083 | 187.3923 | 139.775 | 187.725 | 306.1583 | 255.7583 | 331.4667 | 122.0833 | 76.575 | 54.5333 | 24.4 | 15.5333 | 45.0167 | 79.375 | 81.9833 | 167.85 | 266.625 | 113.975 | 104.1667 | 92.0833
TOTAL CAPACITY (MW) | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6
CAPACITY FACTOR | 40.08% | 19.41% | 14.48% | 19.44% | 31.71% | 26.49% | 34.33% | 12.64% | 7.93% | 5.648% | 2.527% | 1.609% | 4.662% | 8.22% | 8.49% | 17.38% | 27.61% | 11.8% | 10.79% | 9.536%
CAPACITY FACTOR AVG | 15.74%
SEASON | WINTER 2011-2012
CATEGORY | COASTAL

## W2010-2011 Coastal
HOURS | 2011-02-01 HE20 | 2011-02-01 HE21 | 2011-02-02 HE19 | 2011-02-02 HE20 | 2011-02-02 HE21 | 2011-02-03 HE07 | 2011-02-03 HE08 | 2011-02-03 HE09 | 2011-02-03 HE10 | 2011-02-03 HE11 | 2011-02-03 HE12 | 2011-02-03 HE19 | 2011-02-03 HE20 | 2011-02-03 HE21 | 2011-02-09 HE19 | 2011-02-09 HE20 | 2011-02-09 HE21 | 2011-02-10 HE07 | 2011-02-10 HE08 | 2011-02-10 HE09
TOTAL HSL (MW) | 640.9 | 440.3583 | 296.075 | 331.6417 | 365.1 | 566.8538 | 575.0333 | 440.15 | 330.025 | 252.4333 | 228.675 | 163.2462 | 140.9167 | 140.525 | 932.4077 | 907 | 862.8 | 612.225 | 533.375 | 588.8083
TOTAL CAPACITY (MW) | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55 | 965.55
CAPACITY FACTOR | 66.38% | 45.61% | 30.66% | 34.35% | 37.81% | 58.71% | 59.56% | 45.59% | 34.18% | 26.14% | 23.68% | 16.91% | 14.59% | 14.55% | 96.57% | 93.94% | 89.36% | 63.41% | 55.24% | 60.98%
CAPACITY FACTOR AVG | 48.41%
SEASON | WINTER 2010-2011
CATEGORY | COASTAL

## W2019-2020 Other
HOURS | 2019-12-17 HE08 | 2019-12-18 HE07 | 2019-12-18 HE08 | 2019-12-18 HE09 | 2019-12-19 HE07 | 2019-12-19 HE08 | 2019-12-19 HE09 | 2020-02-05 HE19 | 2020-02-05 HE20 | 2020-02-05 HE21 | 2020-02-06 HE07 | 2020-02-06 HE08 | 2020-02-06 HE09 | 2020-02-14 HE07 | 2020-02-14 HE08 | 2020-02-14 HE09 | 2020-02-21 HE07 | 2020-02-21 HE08 | 2020-02-27 HE07 | 2020-02-27 HE08
TOTAL HSL (MW) | 4770.4845 | 4517.1852 | 4250.9792 | 3608.9884 | 8173.5964 | 8210.2183 | 7971.2115 | 2297.6644 | 2255.418 | 2311.1788 | 2936.7788 | 3146.0899 | 3194.6398 | 2635.8255 | 2240.3384 | 2024.5988 | 1465.4169 | 1342.4287 | 8957.9389 | 9567.9109
TOTAL CAPACITY (MW) | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8 | 15598.8
CAPACITY FACTOR | 30.58% | 28.96% | 27.25% | 23.14% | 52.4% | 52.63% | 51.1% | 14.73% | 14.46% | 14.82% | 18.83% | 20.17% | 20.48% | 16.9% | 14.36% | 12.98% | 9.394% | 8.606% | 57.43% | 61.34%
CAPACITY FACTOR AVG | 27.53%
SEASON | WINTER 2019-2020
CATEGORY | OTHER

## W2018-2019 Other
HOURS | 2018-12-10 HE08 | 2019-01-02 HE18 | 2019-01-02 HE19 | 2019-01-02 HE20 | 2019-01-23 HE08 | 2019-01-24 HE07 | 2019-01-24 HE08 | 2019-01-24 HE09 | 2019-01-29 HE08 | 2019-02-08 HE07 | 2019-02-08 HE08 | 2019-02-08 HE09 | 2019-02-08 HE10 | 2019-02-08 HE11 | 2019-02-08 HE12 | 2019-02-08 HE13 | 2019-02-08 HE18 | 2019-02-08 HE19 | 2019-02-08 HE20 | 2019-02-08 HE21
TOTAL HSL (MW) | 1535.9835 | 607.4966 | 392.7251 | 191.7942 | 6105.0745 | 8403.3856 | 8069.1473 | 6961.2984 | 1187.1148 | 4188.2152 | 4443.3473 | 3961.5833 | 3082.7266 | 1790.834 | 1425.6397 | 1542.2905 | 2044.8656 | 1873.64 | 1899.521 | 2052.3942
TOTAL CAPACITY (MW) | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2 | 14730.2
CAPACITY FACTOR | 10.43% | 4.124% | 2.666% | 1.302% | 41.45% | 57.05% | 54.78% | 47.26% | 8.059% | 28.43% | 30.16% | 26.89% | 20.93% | 12.16% | 9.678% | 10.47% | 13.88% | 12.72% | 12.9% | 13.93%
CAPACITY FACTOR AVG | 20.96%
SEASON | WINTER 2018-2019
CATEGORY | OTHER

## W2017-2018 Other
HOURS | 2018-01-02 HE19 | 2018-01-02 HE20 | 2018-01-02 HE21 | 2018-01-03 HE07 | 2018-01-03 HE08 | 2018-01-03 HE09 | 2018-01-16 HE11 | 2018-01-16 HE12 | 2018-01-16 HE13 | 2018-01-16 HE18 | 2018-01-16 HE19 | 2018-01-16 HE20 | 2018-01-16 HE21 | 2018-01-16 HE22 | 2018-01-17 HE06 | 2018-01-17 HE07 | 2018-01-17 HE08 | 2018-01-17 HE09 | 2018-01-17 HE10 | 2018-01-18 HE10
TOTAL HSL (MW) | 163.7828 | 234.7654 | 315.5208 | 4300.9148 | 4834.7071 | 4331.7923 | 4170.9543 | 3373.5995 | 2887.5791 | 1240.6145 | 973.0911 | 975.3314 | 874.2925 | 834.4087 | 351.3143 | 497.8583 | 750.9416 | 904.5114 | 546.0499 | 1656.6279
TOTAL CAPACITY (MW) | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3 | 11996.3
CAPACITY FACTOR | 1.365% | 1.957% | 2.63% | 35.85% | 40.3% | 36.11% | 34.77% | 28.12% | 24.07% | 10.34% | 8.112% | 8.13% | 7.288% | 6.956% | 2.929% | 4.15% | 6.26% | 7.54% | 4.552% | 13.81%
CAPACITY FACTOR AVG | 14.26%
SEASON | WINTER 2017-2018
CATEGORY | OTHER

## W2016-2017 Other
HOURS | 2016-12-19 HE07 | 2016-12-19 HE08 | 2016-12-19 HE09 | 2016-12-19 HE10 | 2017-01-06 HE11 | 2017-01-06 HE12 | 2017-01-06 HE16 | 2017-01-06 HE17 | 2017-01-06 HE18 | 2017-01-06 HE19 | 2017-01-06 HE20 | 2017-01-06 HE21 | 2017-01-06 HE22 | 2017-01-06 HE23 | 2017-01-07 HE06 | 2017-01-07 HE07 | 2017-01-07 HE08 | 2017-01-07 HE09 | 2017-01-07 HE10 | 2017-01-07 HE11
TOTAL HSL (MW) | 347.214 | 250.8998 | 160.6165 | 74.3916 | 3910.2825 | 4047.8475 | 4492.8672 | 3798.1622 | 3293.9187 | 2195.0096 | 2072.1723 | 1691.6848 | 1298.2264 | 873.4322 | 843.9377 | 556.6186 | 448.1387 | 311.7072 | 156.5422 | 96.4781
TOTAL CAPACITY (MW) | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7 | 10821.7
CAPACITY FACTOR | 3.208% | 2.318% | 1.484% | 0.6874% | 36.13% | 37.4% | 41.52% | 35.1% | 30.44% | 20.28% | 19.15% | 15.63% | 12% | 8.071% | 7.799% | 5.144% | 4.141% | 2.88% | 1.447% | 0.8915%
CAPACITY FACTOR AVG | 14.29%
SEASON | WINTER 2016-2017
CATEGORY | OTHER

## W2015-2016 Other
HOURS | 2016-01-05 HE08 | 2016-01-11 HE07 | 2016-01-11 HE08 | 2016-01-11 HE09 | 2016-01-11 HE10 | 2016-01-12 HE07 | 2016-01-12 HE08 | 2016-01-18 HE08 | 2016-01-18 HE09 | 2016-01-22 HE07 | 2016-01-22 HE08 | 2016-01-22 HE09 | 2016-01-23 HE09 | 2016-01-27 HE08 | 2016-01-28 HE07 | 2016-01-28 HE08 | 2016-02-04 HE07 | 2016-02-04 HE08 | 2016-02-05 HE07 | 2016-02-05 HE08
TOTAL HSL (MW) | 4054.1918 | 2228.6309 | 2489.9789 | 2398.0204 | 1655.5953 | 952.624 | 997.9653 | 534.702 | 338.8055 | 5072.209 | 4652.2317 | 4328.7057 | 4443.2307 | 630.5134 | 3854.9242 | 3298.5269 | 621.7748 | 619.975 | 8175.8157 | 8348.8151
TOTAL CAPACITY (MW) | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9 | 10494.9
CAPACITY FACTOR | 38.63% | 21.24% | 23.73% | 22.85% | 15.78% | 9.077% | 9.509% | 5.095% | 3.228% | 48.33% | 44.33% | 41.25% | 42.34% | 6.008% | 36.73% | 31.43% | 5.925% | 5.907% | 77.9% | 79.55%
CAPACITY FACTOR AVG | 28.44%
SEASON | WINTER 2015-2016
CATEGORY | OTHER

## W2014-2015 Other
HOURS | 2015-02-23 HE22 | 2015-02-24 HE08 | 2015-02-24 HE09 | 2015-02-24 HE10 | 2015-02-27 HE08 | 2015-02-27 HE19 | 2015-02-27 HE20 | 2015-01-05 HE08 | 2015-01-08 HE07 | 2015-01-08 HE08 | 2015-01-08 HE09 | 2015-01-08 HE10 | 2015-01-08 HE11 | 2015-01-08 HE20 | 2015-01-09 HE19 | 2015-01-09 HE20 | 2015-02-23 HE18 | 2015-02-23 HE19 | 2015-02-23 HE20 | 2015-02-23 HE21
TOTAL HSL (MW) | 30.959 | 16.9533 | 17.383 | 17.6567 | 1185.1686 | 433.9628 | 371.7684 | 2801.9639 | 473.6955 | 1221.2707 | 1500.1284 | 1857.8931 | 2500.2799 | 4203.838 | 1242.8122 | 879.7805 | 66.6222 | 45.7289 | 51.3247 | 40.0371
TOTAL CAPACITY (MW) | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8 | 8858.8
CAPACITY FACTOR | 0.3495% | 0.1914% | 0.1962% | 0.1993% | 13.38% | 4.899% | 4.197% | 31.63% | 5.347% | 13.79% | 16.93% | 20.97% | 28.22% | 47.45% | 14.03% | 9.931% | 0.752% | 0.5162% | 0.5794% | 0.4519%
CAPACITY FACTOR AVG | 10.7%
SEASON | WINTER 2014-2015
CATEGORY | OTHER

## W2013-2014 Other
HOURS | 2014-01-06 HE07 | 2014-01-06 HE08 | 2014-01-06 HE09 | 2014-01-06 HE10 | 2014-01-06 HE19 | 2014-01-06 HE20 | 2014-01-06 HE21 | 2014-01-07 HE07 | 2014-01-07 HE08 | 2014-01-29 HE07 | 2014-01-29 HE08 | 2014-02-06 HE07 | 2014-02-06 HE08 | 2014-02-06 HE09 | 2014-02-06 HE10 | 2014-02-06 HE11 | 2014-02-06 HE12 | 2014-02-06 HE19 | 2014-02-06 HE20 | 2014-02-06 HE21
TOTAL HSL (MW) | 947.3357 | 604.7333 | 278.2231 | 90.4 | 789.6833 | 1207.35 | 1806.1167 | 4887.1917 | 5073.3083 | 2183.0417 | 2573.05 | 2764.5917 | 2047.5167 | 1580.825 | 1335.4833 | 1166.6917 | 780.075 | 66.2 | 65.3917 | 102.5917
TOTAL CAPACITY (MW) | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4 | 8789.4
CAPACITY FACTOR | 10.78% | 6.88% | 3.165% | 1.029% | 8.984% | 13.74% | 20.55% | 55.6% | 57.72% | 24.84% | 29.27% | 31.45% | 23.3% | 17.99% | 15.19% | 13.27% | 8.875% | 0.7532% | 0.744% | 1.167%
CAPACITY FACTOR AVG | 17.27%
SEASON | WINTER 2013-2014
CATEGORY | OTHER

## W2012-2013 Other
HOURS | 2013-01-14 HE08 | 2013-01-14 HE09 | 2013-01-15 HE08 | 2013-01-15 HE09 | 2013-01-15 HE10 | 2013-01-15 HE11 | 2013-01-15 HE12 | 2013-01-15 HE13 | 2013-01-15 HE17 | 2013-01-15 HE18 | 2013-01-15 HE19 | 2013-01-15 HE20 | 2013-01-15 HE21 | 2013-01-15 HE22 | 2013-01-16 HE07 | 2013-01-16 HE08 | 2013-01-16 HE09 | 2013-01-16 HE10 | 2013-01-17 HE07 | 2013-01-17 HE08
TOTAL HSL (MW) | 3461.1083 | 3417.4417 | 1049.225 | 942.9083 | 964.0083 | 760.6267 | 716.4583 | 919.9167 | 1772.925 | 1292.5167 | 867.9583 | 889.675 | 685.425 | 577.4667 | 1145 | 1160.6917 | 1227.0833 | 1019.575 | 1944.0917 | 1879.7417
TOTAL CAPACITY (MW) | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2 | 7999.2
CAPACITY FACTOR | 43.27% | 42.72% | 13.12% | 11.79% | 12.05% | 9.509% | 8.957% | 11.5% | 22.16% | 16.16% | 10.85% | 11.12% | 8.569% | 7.219% | 14.31% | 14.51% | 15.34% | 12.75% | 24.3% | 23.5%
CAPACITY FACTOR AVG | 16.69%
SEASON | WINTER 2012-2013
CATEGORY | OTHER

## W2011-2012 Other
HOURS | 2011-12-06 HE08 | 2011-12-06 HE18 | 2011-12-06 HE19 | 2011-12-06 HE20 | 2011-12-06 HE21 | 2011-12-06 HE22 | 2011-12-06 HE23 | 2011-12-07 HE06 | 2011-12-07 HE07 | 2011-12-07 HE08 | 2011-12-07 HE09 | 2011-12-07 HE10 | 2011-12-08 HE07 | 2011-12-08 HE08 | 2011-12-08 HE09 | 2012-01-12 HE20 | 2012-01-12 HE21 | 2012-01-13 HE07 | 2012-01-13 HE08 | 2012-01-13 HE09
TOTAL HSL (MW) | 1048.4917 | 531.2846 | 535.675 | 562.5333 | 694.8417 | 770.5667 | 817.3083 | 1715.175 | 1849.4 | 1769.8 | 1785.6833 | 1083.6917 | 4521.75 | 4521.3417 | 4161.5667 | 1187.2167 | 1443.0333 | 677.725 | 745.4 | 683.1833
TOTAL CAPACITY (MW) | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7 | 7670.7
CAPACITY FACTOR | 13.67% | 6.926% | 6.983% | 7.334% | 9.058% | 10.05% | 10.65% | 22.36% | 24.11% | 23.07% | 23.28% | 14.13% | 58.95% | 58.94% | 54.25% | 15.48% | 18.81% | 8.835% | 9.717% | 8.906%
CAPACITY FACTOR AVG | 20.28%
SEASON | WINTER 2011-2012
CATEGORY | OTHER

## W2010-2011 Other
HOURS | 2011-02-01 HE20 | 2011-02-01 HE21 | 2011-02-02 HE19 | 2011-02-02 HE20 | 2011-02-02 HE21 | 2011-02-03 HE07 | 2011-02-03 HE08 | 2011-02-03 HE09 | 2011-02-03 HE10 | 2011-02-03 HE11 | 2011-02-03 HE12 | 2011-02-03 HE19 | 2011-02-03 HE20 | 2011-02-03 HE21 | 2011-02-09 HE19 | 2011-02-09 HE20 | 2011-02-09 HE21 | 2011-02-10 HE07 | 2011-02-10 HE08 | 2011-02-10 HE09
TOTAL HSL (MW) | 2239.7 | 2377.5 | 1801.7083 | 1778.3417 | 1710.1167 | 1312.2077 | 1158.7133 | 1056.1167 | 893.2917 | 865.6167 | 935.3583 | 607.7462 | 279.4167 | 115.775 | 2045.9154 | 1803.575 | 1820.95 | 46.4917 | 50.6417 | 55.375
TOTAL CAPACITY (MW) | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935 | 8023.935
CAPACITY FACTOR | 27.91% | 29.63% | 22.45% | 22.16% | 21.31% | 16.35% | 14.44% | 13.16% | 11.13% | 10.79% | 11.66% | 7.574% | 3.482% | 1.443% | 25.5% | 22.48% | 22.69% | 0.5794% | 0.6311% | 0.6901%
CAPACITY FACTOR AVG | 14.3%
SEASON | WINTER 2010-2011
CATEGORY | OTHER