## Slide 1: Congestion Management Working Group
May 6, 2020

## Slide 2: SCR 810
This System Change Request (SCR) adds logic to ERCOT’s Energy Management System (EMS) system to remove the flag that indicates to the ERCOT Operator that a unit representing a Direct Current Tie (DC Tie) does not count toward the 2% criterion for activating transmission constraints
Discussed the concept at the February 3 meeting
Discussed the SCR language at the April 6 meeting
Based on our discussions, there seems to be general agreement that this SCR is necessary to resolve pricing issues

## Slide 3: Draft NPRR on CRR Repossession for Defaults
ERCOT presented a proposal to revise how repossessed CRRs will be liquidated in the market
Process currently involves one-time auctions with bid to buy entire portfolio
Revisions would include offering CRRs into long-term auction if possible or monthly auction if long-term unavailable
  Repossessed CRRs would be aggregated into one CRR for each month and time of use (TOU)
  Everything settled would be tracked toward default amount
CMWG stakeholders would like to continue discussions of draft at future meetings

## Slide 4: January RENA Review
ERCOT provided an analysis of January RENA amounts
The majority of the cost was related to congestion “oversold” in DAM
PTPs with links to options also contributed to RENA in January, especially on operating day January 28
The remaining differences were related to discrepancies between SCED and settlement
The RENA charges for February and March appear to be unusually high
  CMWG has asked for an update at its May 11 meeting

## Slide 5: Open Action Items Review
CMWG reviewed the open action item pertaining to “capacity for purpose of curtailing base case violations” and determined that this issue is resolved by RTC
  This item can be removed from the CMWG list