## Slide 1
Review of February RENA
Jian Chen
Market Analysis and Validation
CMWG
May. 11th, 2020

## Slide 2: Monthly Sum of RENA
Chart: Monthly RENA
| 2018_2 | 2018_3 | 2018_4 | 2018_5 | 2018_6 | 2018_7 | 2018_8 | 2018_9 | 2018_10 | 2018_11 | 2018_12 | 2019_1 | 2019_2 | 2019_3 | 2019_4 | 2019_5 | 2019_6 | 2019_7 | 2019_8 | 2019_9 | 2019_10 | 2019_11 | 2019_12 | 2020_1 | 2020_2
RENA | 691747.97 | 16840252.36 | 1969051.32 | 19255110.18 | 30282841.98 | 8971407.82 | 12603966.11 | 6873637.75 | 11345542.9 | 334035.31 | 6944336.96 | 2058297.53 | 3727816.22 | 13403094.87 | 8685081.62 | 5757657.93 | 1258274.42 | 889736.46 | 2689011.93 | 6604.22 | 5777648.79 | -4954683.66 | 9852252.01 | 6464832.55 | 7431714.33

## Slide 3: Daily RENA with RT Congestion
Chart: Daily RENA vs RT Congestion Rent
| 43862 | 43863 | 43864 | 43865 | 43866 | 43867 | 43868 | 43869 | 43870 | 43871 | 43872 | 43873 | 43874 | 43875 | 43876 | 43877 | 43878 | 43879 | 43880 | 43881 | 43882 | 43883 | 43884 | 43885 | 43886 | 43887 | 43888 | 43889 | 43890
RT Congestion_rent | 1126448.897 | 3902763.819 | 17476638.587 | 16857788.2899 | 4564200.0431 | 4768000.9129 | 1947637.2325 | 2057367.1494 | 5340125.5489 | 7242263.0438 | 5937050.5212 | 8296796.2001 | 918329.8436 | 4998475.3503 | 4928890.3755 | 6110053.9616 | 11052421.7905 | 7960572.4631 | 30073754.923 | 12255882.1946 | 11860484.5533 | 7049099.9525 | 8242482.2015 | 4771814.7969 | 5327111.9835 | 6450611.3588 | 6002845.9594 | 7240063.9619 | 3887235.5241
RENA | 29205.96 | 288755.81 | -997591.2 | -31095.43 | -204373.97 | -157415.83 | 74835.27 | 56881.43 | 290622.83 | 1345433.49 | 1713349.5 | 1904057.54 | 63876.6 | -1955.7 | 499026.29 | 473192.11 | 335958.41 | 173009.9 | -410967.23 | 61111.27 | 109045.66 | 453422.98 | 743966.88 | 180944.81 | 195955 | -233959.53 | -765.71 | 124965.99 | 352221.2
The total RENA in January was around $7.4M, while the total SCED congestion rent was around $218.6 M.

## Slide 4: Daily RENA and Estimated DAM oversold on RT congestion
The total estimated DAM oversold amount in February was around $3.7M.
Chart: Estimated DAM Oversold vs RENA
| 43862 | 43863 | 43864 | 43865 | 43866 | 43867 | 43868 | 43869 | 43870 | 43871 | 43872 | 43873 | 43874 | 43875 | 43876 | 43877 | 43878 | 43879 | 43880 | 43881 | 43882 | 43883 | 43884 | 43885 | 43886 | 43887 | 43888 | 43889 | 43890
RENA | 29205.96 | 288755.81 | -997591.2 | -31095.43 | -204373.97 | -157415.83 | 74835.27 | 56881.43 | 290622.83 | 1345433.49 | 1713349.5 | 1904057.54 | 63876.6 | -1955.7 | 499026.29 | 473192.11 | 335958.41 | 173009.9 | -410967.23 | 61111.27 | 109045.66 | 453422.98 | 743966.88 | 180944.81 | 195955 | -233959.53 | -765.71 | 124965.99 | 352221.2
Sum of Oversold | -13666.2315 | 237561.8635 | -1244017.9321 | -418038.3515 | -367579.8363 | -365790.9485 | 3477.3498 | 54929.4287 | 174607.2159 | 1019359.6549 | 1670913.4687 | 1703473.1069 | 75553.7218 | -24313.1232 | 506159.7285 | 332230.4111 | 322601.3676 | 25273.6233 | -921115.5891 | -398872.0182 | -267679.7569 | 340317.844 | 626158.4721 | 134242.8364 | 292180.2396 | -204824.567 | -93014.3359 | -16267.0917 | 481567.787

## Slide 5: OD 2/3/2020
- $1.0M RENA was observed on OD 2/3/2020. The negative RENA was related to the DAM “undersold” on the several RT constraints around Odessa area.
The congestions was related to a planned transmission outage. The outage was modeled in DAM, and also no significant LDF difference was found between DAM and RTM.
The large “undersold” amount was mostly related to the following causes: 1) Very high congestion in RTM; 2) Less flow was scheduled in DAM; 3) In RTM, the post-contingency flows were higher than the limits.

## Slide 6: OD 2/10/2020~2/12/2020
$1.3, $1.7 and $1.9 million RENA was observed on OD 2/10, 2/11 and 2/12 respectively. Most of the RENA was related to the oversold on the following RT constraints: SECNMO28: 6100__F and DWINDUN8: 6100__F.
A planned outage was modeled in DAM on one of upstream stations of 6100__F, which then rerouted the flow and relieved the congestions in DAM. However, the outage was delayed and then canceled after the DAM runs. Therefore, the topology difference between DAM and RTM caused most of the oversold amount.

## Slide 7: Summary
RENA observed in February, 2020 was relatively moderate, comparing to the historical values.
The majority of RENA was related to congestion “oversold” in DAM, which could be further related to topology difference between DAM and RTM, LDF, and RAS modeling.
PTP w/ links to options also contributed significant part of RENA in February, around $2.5 million.
The rest of RENA was related to the differences between SCED and Settlement.