| NPRR Number | 1020 | NPRR Title | Add Definition of Integrated Battery Storage Systems (IBSS) |
| --- | --- | --- | --- |
| Date |  | May 11, 2020 |  |
| Submitter’s Information |  |  |  |
| Name |  | Nathan Bigbee, Don Tucker, and Public Utility Commission of Texas (PUCT) Staff |  |
| E-mail Address |  | nathan.bigbee@ercot.com; donald.tucker@ercot.com |  |
| Company |  | ERCOT and PUCT Staff |  |
| Phone Number |  | 512-225-7093; 512-248-3913 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not Applicable |  |

Comments

ERCOT and the Staff of the Public Utility Commission of Texas (PUCT) jointly submit these comments to propose an alternative approach to enabling Wholesale Storage Load (WSL) treatment for energy consumed by integrated battery systems.  ERCOT and PUCT Staff do not take a position on the proposed Urgent status of this NPRR.

As an initial matter, PUCT Staff believes that subsection (m) of P.U.C. Subst. R. 25.501, Wholesale Market Design for the Electric Reliability Council of Texas, allows for Loads from Energy Storage Systems (ESS) integrated into a single container to be eligible to receive WSL treatment. Therefore, PUCT Staff and ERCOT suggest revisions to Tesla’s NPRR language in an effort to provide clearer guidance and minimize arbitrary treatment in extending WSL treatment to integrated battery systems.

The definition of “Integrated Battery Storage System” (IBSS) originally proposed in the NPRR may arbitrarily exclude some integrated battery systems that do not meet all of the criteria specified in the proposed definition.  For example, the proposed definition requires that the integrated battery system not be assembled on-site and that it be designed and manufactured by the same entity.  This language is overly restrictive.  The definition should focus on the characteristics that support extending WSL treatment to ESSs integrated into a single container instead of adding a new technology category to the WSL definition, which already includes the term “batteries.”

WSL treatment can reasonably be extended to energy consumed by integrated battery systems that meet the following conditions:

- The battery is directly connected through a single AC interconnection through which all energy flows into and out of the battery;

- The battery is housed in a single container of any shape or size; and

- The battery does not require external system support other than for purposes of facilitating grid interactivity and operator communications.

ERCOT notes that the revisions below will have the effect of limiting the scope of its 2013 Protocol interpretation in Protocol Interpretation Request (PIR) 003.  Specifically, to the extent that interpretation precluded WSL treatment for auxiliary Load that is integrated into the storage facility itself, that determination would be abrogated by this language to the extent permitted by the revised definition.

Revised Cover Page Language

| NPRR Number | 1020 | NPRR Title | Allow Wholesale Storage Load (WSL) Treatment for Integrated Battery Systems |
| --- | --- | --- | --- |
| Requested Resolution |  | Urgent. This Nodal Protocol Revision Request (NPPR) revises the definition of Wholesale Storage Load (WSL) to allow WSL treatment for integrated battery systems. The current lack of clarity is delaying the deployment of new technologies that may provide new capacity to the ERCOT System as early as 2021. The Protocols should be revised to be clear that this new battery technology can be interconnected and operate as a Resource. |  |
| Revision Description |  | This NPRR establishes that energy consumed by certain integrated battery storage systems is appropriate to receive WSL treatment. Specifically, the NPRR modifies the definition of WSL to specify the characteristics of a battery system that may receive WSL treatment. |  |
| Business Case |  | The purpose of this NPRR is to establish that WSL treatment is available to energy consumed in the operation of battery systems that incorporate essential battery components and critical systems within a single container. The energy conversion process (charging/discharging of the batteries) cannot function without these critical systems. These systems include hardware controls (circuit boards) and thermal regulation. These components cannot be separated from the rest of the battery system – within the self-contained unit, all components and systems are tightly integrated. Integrated battery systems are characterized by a modular and easy-install design. These are energy-dense, high-efficiency battery systems that provide increased storage functionality at reduced costs. Many newer utility-scale energy storage systems installed around the world employ battery systems with these design features. The Protocols should be revised to allow energy consumed in the operation of integrated battery systems to receive WSL treatment. |  |

Revised Proposed Protocol Language

## 2.1	DEFINITIONS

- Energy Storage System (ESS)

- A facility, process, or device(s) that receives electric energy and stores it, in any form, for the purpose of later releasing electrical energy.

Load

The amount of energy in MWh delivered at any specified point or points on a system.

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes the following energy captured by the WSL EPS Meter:

(1)	Losses for the energy conversion process; and

(2)	Energy for the operation of a battery Energy Storage System (ESS) that is registered as an Energy Storage Resource (ESR) or that is part of an aggregation that is registered as an ESR, if that ESS is directly connected through a single AC interconnection through which all energy flows into and out of the ESS, is housed in a single container of any shape or size, and does not require external system support other than for purposes of facilitating grid interactivity and operator communications.

WSL is limited to the following technologies: batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.

[PIR003: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On June 11, 2013, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A061113-1, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

[PIR004: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On August 16, 2016, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing additional guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A081616-01, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

## 2.2	ACRONYMS AND ABBREVIATIONS