## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for April 2020

## Slide 2: Non-IRR GREDP < 85% – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 283 | 42 | 53 | 3.11 | 79.25
Unit 286 | 15 | 33 | 1.27 | 45.45
Unit 291 | 5 | 9 | 0.86 | 55.56
Unit 292 | 6 | 8 | 0.66 | 75.00

## Slide 3: IRR Summary – April 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 86.31 | 70.61 | 82.36
GREDP Median (%) | 96.13 | 83.33 | 86.16
Average MW Error | 4.03 | 4.17 | 4.52
Median MW Error | 3.85 | 4.02 | 4.36
Total Intervals Scored | 70,500 | 26,540 | 25,992
100+ Intervals Scored | 83 | 151 | 37
Total Intervals Scored Average | 301.28 | 408.31 | 702.49

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,374 | 2,391 | 4.52 | 99.29
Unit 3 | 1,933 | 1,955 | 4.92 | 98.87
Unit 4 | 1,914 | 1,915 | 3.57 | 99.95
Unit 5 | 1,821 | 1,822 | 4.41 | 99.95
Unit 6 | 1,805 | 1,806 | 3.57 | 99.94
Unit 7 | 1,796 | 1,801 | 4.06 | 99.72
Unit 9 | 1,565 | 1,617 | 6.21 | 96.78
Unit 11 | 1,380 | 1,423 | 2.90 | 96.98
Unit 13 | 1,225 | 1,286 | 3.58 | 95.26
Unit 14 | 1,225 | 1,280 | 3.25 | 95.70
Unit 15 | 1,254 | 1,258 | 1.29 | 99.68
Unit 17 | 1,190 | 1,197 | 6.25 | 99.42
Unit 18 | 1,177 | 1,181 | 1.20 | 99.66
Unit 19 | 1,122 | 1,180 | 1.15 | 95.08
Unit 21 | 1,174 | 1,177 | 3.08 | 99.75
Unit 22 | 1,100 | 1,137 | 7.08 | 96.75
Unit 25 | 1,084 | 1,084 | 0.59 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 26 | 1,011 | 1,061 | 4.83 | 95.29
Unit 27 | 972 | 1,015 | 4.19 | 95.76
Unit 28 | 975 | 995 | 3.78 | 97.99
Unit 29 | 959 | 970 | 4.17 | 98.87
Unit 30 | 950 | 966 | 3.90 | 98.34
Unit 32 | 938 | 945 | 3.80 | 99.26
Unit 34 | 889 | 934 | 5.15 | 95.18
Unit 37 | 893 | 907 | 3.04 | 98.46
Unit 40 | 843 | 867 | 1.47 | 97.23
Unit 41 | 842 | 862 | 4.72 | 97.68
Unit 42 | 816 | 847 | 2.73 | 96.34
Unit 43 | 808 | 835 | 2.13 | 96.77
Unit 44 | 812 | 834 | 2.27 | 97.36
Unit 45 | 773 | 800 | 6.43 | 96.63
Unit 47 | 755 | 792 | 1.26 | 95.33
Unit 54 | 531 | 547 | 4.50 | 97.07
Unit 57 | 497 | 497 | 3.31 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 58 | 459 | 473 | 5.20 | 97.04
Unit 59 | 418 | 440 | 1.73 | 95.00
Unit 62 | 402 | 404 | 1.30 | 99.50
Unit 64 | 318 | 323 | 4.53 | 98.45
Unit 65 | 296 | 296 | 2.89 | 100.00
Unit 67 | 241 | 248 | 3.54 | 97.18
Unit 71 | 202 | 203 | 3.25 | 99.51
Unit 74 | 183 | 189 | 4.11 | 96.83
Unit 75 | 175 | 176 | 3.57 | 99.43
Unit 76 | 160 | 163 | 3.16 | 98.16
Unit 77 | 156 | 158 | 2.97 | 98.73
Unit 79 | 138 | 145 | 3.88 | 95.17

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,023 | 2,400 | 4.17 | 84.29
Unit 8 | 1,460 | 1,649 | 6.95 | 88.54
Unit 10 | 1,249 | 1,573 | 2.68 | 79.40
Unit 12 | 1,161 | 1,306 | 3.76 | 88.90
Unit 16 | 1,000 | 1,245 | 6.11 | 80.32
Unit 20 | 1,015 | 1,178 | 2.73 | 86.16
Unit 23 | 1,067 | 1,129 | 4.01 | 94.51
Unit 24 | 952 | 1,094 | 4.40 | 87.02
Unit 31 | 784 | 964 | 8.13 | 81.33
Unit 33 | 893 | 943 | 4.36 | 94.70
Unit 35 | 776 | 920 | 4.44 | 84.35
Unit 36 | 834 | 918 | 7.30 | 90.85
Unit 38 | 832 | 901 | 2.90 | 92.34
Unit 39 | 756 | 869 | 8.02 | 87.00
Unit 46 | 650 | 799 | 1.91 | 81.35
Unit 48 | 305 | 692 | 1.32 | 44.08
Unit 49 | 619 | 670 | 5.81 | 92.39

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 625 | 663 | 7.32 | 94.27
Unit 51 | 614 | 652 | 2.43 | 94.17
Unit 52 | 447 | 623 | 9.63 | 71.75
Unit 53 | 516 | 567 | 2.94 | 91.01
Unit 55 | 294 | 521 | 5.92 | 56.43
Unit 56 | 408 | 521 | 5.67 | 78.31
Unit 60 | 305 | 424 | 1.23 | 71.93
Unit 61 | 384 | 413 | 6.18 | 92.98
Unit 63 | 303 | 356 | 5.51 | 85.11
Unit 66 | 227 | 268 | 5.27 | 84.70
Unit 68 | 190 | 244 | 6.91 | 77.87
Unit 69 | 198 | 234 | 1.77 | 84.62
Unit 70 | 141 | 211 | 3.72 | 66.82
Unit 72 | 166 | 191 | 2.12 | 86.91
Unit 73 | 168 | 191 | 1.85 | 87.96
Unit 78 | 104 | 151 | 5.08 | 68.87
Unit 80 | 133 | 142 | 3.53 | 93.66

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – April 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 81 | 118 | 129 | 2.66 | 91.47
Unit 82 | 45 | 125 | 5.44 | 36
Unit 83 | 110 | 116 | 3.14 | 94.83