| NPRR Number | 1006 | NPRR Title | Update Real-Time On-Line Reliability Deployment Price Adder Inputs to Match Actual Data |
| --- | --- | --- | --- |
| Date |  | May 20, 2020 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mark Patterson |  |
| E-mail Address |  | mpatterson@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-569-5539 |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT provides these comments to NPRR1006, Update Real-Time On-Line Reliability Deployment Price Adder Inputs to Match Actual Data, in response to discussions during the May 13, 2020, PRS WebEx, the 5/15/20 Direct Energy comments, and to facilitate discussions on this NPRR at TAC.

The table below represents the Ancillary Service imbalance amounts associated with the Operating Reserve Demand Curve (ORDC) Price Adders (RTASIAMT) and the Reliability Deployment Price Adder (RTRDASIAMT) for the Operating Days August 13 and 15, 2019.  Load was paid approximately $12.4M for Ancillary Service imbalance in aggregate for the two Operating Days (sum of RTASIAMT and RTRDASIAMT).  If LCRA’s proposal to the change Ancillary Service imbalance had been in effect on August 13 and 15, 2019, the payment to Load would have been reduced by the RTRDASIAMT, or approximately $6.1M over the two Operating Days, and Ancillary Service sellers would not have been charged for the same amount.

|  | Imbalance Associated with the ORDC Price Adders (RTASIAMT) | Imbalance Associated with the Reliability Deployment Price Adder (RTRDASIAMT) |
| --- | --- | --- |
| 8/13/2019 | $ 4,137,304.50 | $ 3,196,195.83 |
| 8/15/2019 | $ 2,148,163.75 | $ 2,941,915.64 |

Direct Energy also requested in its comments that ERCOT run a simulation of what the Ancillary Service prices and imbalance would have been if Real-Time Co-optimization had been in place on August 13 and 15, 2019.  Running such a complex simulation would require a significant investment of ERCOT staff time and resources, and ERCOT is not able to complete such a project at this time.

Revised Cover Page Language

None

Revised Proposed Protocol Language

None