## Slide 1: Dynamic Model Quality Test Result Package
Per PGRR-075 (effective May 1st), dynamic model submissions should be accompanied by model quality tests.
PG 5.7.1 (4)(b) (effective May 1st):
  The appropriate dynamic model for the proposed Generation Resource or SOG and results of model quality tests and associated simulation files as described in paragraph (5)(b) of Section 6.2, Dynamics Model Development, are subject to performance and usability verification by the lead TSP with approval from ERCOT through the FIS process.

## Slide 2: Dynamic Model Quality Test Result Package
When IEs submit FIS applications, dynamic model quality test package should be submitted to ERCOT as a separate zip file through RIOO.
The model quality test package should include the data set and results, as instructed by the posted guideline:
http://www.ercot.com/services/rq/re Model Quality Guide.
FIS applications filed on or after May 1st without model quality test package will not be approved.

## Slide 3: Redacted FIS Stability Report
Event category (P1-P7) and results should be kept in the report. All event definitions should be redacted.
Event name should not reflect the actual event definitions.
Example: full report vs. redacted report
Event Name | Category | Outage | Event Definition | Result
CTG1 | P1 | None | Open line XYZ 4 cycles after a 3 phase fault | stable
CTG2 | P6 | Line 1 | Open line XYZ 4 cycles after a SLG fault | unstable
CTG3 | P7 | None | Open double ckt ABC 4 cycles after a SLG fault | unstable
Event Name | Category | Outage | Event Definition | Result
CTG1 | P1 | None | Open line XYZ 4 cycles after a 3 phase fault | stable
CTG2 | P6 | Line 1 | Open line XYZ 4 cycles after a SLG fault | unstable
CTG3 | P7 | None | Open double ckt ABC 4 cycles after a SLG fault | unstable