| NPRR Number | 933 | NPRR Title | Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities |
| --- | --- | --- | --- |
| Date of Decision |  | May 15, 2020 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Urgent |  |
| Proposed Effective Date |  | July 1, 2020 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.7.2.1, Reporting of Demand Response 3.10.7.2.2, Annual Demand Response Report (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Upon implementation of this NPRR, the new Other Binding Document “Demand Response Data Definitions and Technical Specifications” shall be added to the Other Binding Documents List |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds specific timing requirements for Retail Electric Providers (REPs) and Non-Opt-In Entities (NOIEs) to provide information to ERCOT regarding categories of Demand response and price response programs offered to their Customers, the level of participation in those programs, and information on deployment events associated with those programs. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This NPRR sets the schedule for REPs and NOIEs ERCOT needs to meet reporting requirements on the types and amounts of Demand response and price response in the ERCOT Region. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 5/9/19, PRS voted unanimously to table NPRR933 and refer the issue to RMS and WMS. All Market Segments were present for the vote. On 5/15/20, PRS voted unanimously via email to grant NPRR933 Urgent status, to recommend approval of NPRR933 as amended by the 5/12/20 Cooperative Commenters comments, to forward NPRR933 and the Impact Analysis to TAC, and to update the Other Binding Documents List upon implementation of NPRR933. All Market Segments participated in the email vote. |  |
| Summary of PRS Discussion |  | On 5/9/19, participants debated the need for quarterly reports, citing the increased effort and expense REPs and NOIEs would incur. On 5/15/20, there was no discussion. |  |
| Sponsor |  |  |  |
| Name |  | Carl Raish |  |
| E-mail Address |  | Carl.Raish@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3876 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| RMS 050719 | Requested PRS table NPRR933 and refer the issue to RMS |
| REP Coalition 052119 | Opposed NPRR933’s quarterly reporting requirements for REPs and NOIEs and recommended that deadlines be revised to occur earlier in the year in order for ERCOT to meet NPRR933’s proposed November 30th deadline |
| RMS 060619 | Requested PRS continue to table NPRR933 for further review by RMS |
| WMS 060619 | Requested PRS continue to table NPRR933 |
| Joint NOIE Commenters 70919 | Provided edits to the 5/21/19 REP Coalition comments that incorporate NOIEs’ requirements for participating in annual data submittal |
| ERCOT 020320 | Reflected stakeholder discussion at the 1/24/20 NPRR933 workshop as well as experience gained during the 2019 data collection process |
| REP Group 022620 | Requested relocating the technical specifications of the reporting process to an Other Binding Document as discussed at the 1/24/20 NPRR933 workshop and 2/4/20 RMS meeting |
| Joint NOIE Commenters 022720 | Proposed that the threshold to determine NOIE reporting be based on methodology that is easier for NOIEs to verify and comply with; also proposed that the Demand Response Data Definition and Technical Specifications be reformatted into an Other Binding Document and allows for the Demand response reporting to be completed via Authorized Representative email communications as opposed to the ERCOT Market Information System (MIS) |
| ERCOT 050120 | Provided edits to the 2/26/20 REP Group comments while adopting the 100 MW non-coincident peak Demand participation threshold as recommended by the 2/27/20 Joint NOIE Commenters comments |
| REP Group 050720 | Provided general edits to the 5/1/20 ERCOT comments and supported June ERCOT Board approval |
| Cooperative Commenters 051220 | Provided edits to the 5/7/20 REP Group comments to clarify that ERCOT’s decision to aggregate survey participants was not predicated upon the Protocol definition of “Affiliate”, nor upon survey participants’ membership in a generation and transmission cooperative or in a common Load Serving Entity (LSE) registration |

Market Rules Notes

Please note that the following NPRR(s) also propose revisions to the following section(s):

- NPRR1007, RTC – NP 3: Management Activities for the ERCOT System

  - Section 3.10.7.2.1

Proposed Protocol Language Revision

- 3.10.7.2.1	Reporting of Demand Response

(1)	ERCOT shall post on the MIS Public Area by the fifth Business Day after the start of a calendar month a report of the MW of Demand response that is participating in the past month in Emergency Response Service (ERS), Ancillary Service as a Load Resource, or any pilot project permitted by subsection (k) of P.U.C. Subst. R. 25.361, Electric Reliability Council of Texas (ERCOT).  The data shall be aggregated according to the corresponding 2003 ERCOT Congestion Management Zone (CMZ).  Data for participation in ERS shall be based on contracted amounts for each type of service for that calendar month.  ERCOT shall set out separately MW contracted from both ERS Generators and generators that are participating by offsetting ERS Loads (with aggregated and non-aggregated ERS Generators set forth separately) and MW of ERS Loads.  To the extent that a participating generator is not registered with ERCOT, information about the nameplate rating of the generator and the maximum deliverable to the ERCOT Transmission Grid or to serve native load shall be collected through the ERS contracting process.  The report shall include these values for each ERS Contract Period broken down by ERS Time Period.  Data for Ancillary Services shall be based on the Ancillary Service Resource Responsibility contained in the Current Operating Plan (COP) as of the start of the Adjustment Period for each Operating Day.  ERCOT’s posting of Ancillary Service and pilot project participation data shall include the average MW capacity by service type by hour (or by another time period, if a pilot project service is not procured hourly).

- 3.10.7.2.2	Annual Demand Response Report

(1)	On an annual basis, ERCOT shall work with Market Participants to produce a report summarizing aggregate customer counts and MWs enrolled in Demand response in the ERCOT Region pursuant to Subsection (e)(5) of P.U.C. Subst. R. 25.505, Reporting Requirements and the Scarcity Pricing Mechanism in the Electric Reliability Council of Texas Power Region.  This report shall be posted to the MIS Public Area no later than December 15 of each reporting calendar year. Technical requirements for providing information to ERCOT for the report are located in the Other Binding Document titled “Demand Response Data Definitions and Technical Specifications”.  ERCOT may, for purposes of this section, associate Entities; however, ERCOT shall not determine Non-Opt-In Entities (NOIEs) to be associated based on their membership in a generation and transmission cooperative or as a result of being a party to a single Load Serving Entity (LSE) registration.

(a)	Retail Electric Providers (REPs) in competitive regions of ERCOT shall be ranked in descending order by their average daily consumption for summer (June – September) weekdays excluding holidays.  The largest REPs that account for 95% of the total shall be required to participate in the survey for the subsequent calendar year.  For purposes of assigning this participation requirement, REPs determined by ERCOT to be associated shall have their consumption aggregated prior to the ranking.

(b)	Non-Opt-In Entity (NOIE) Transmission and/or Distribution Service Providers (TDSPs) operating in the ERCOT region that register a summer month (June – September) 15-minute interval peak Demand greater than or equal to 100 MW, shall be required to participate in the survey the subsequent calendar year.  For purposes of assigning this participation requirement, NOIEs determined by ERCOT to be associated shall have their 15-minute interval peak Demand aggregated prior to the ranking.  Participation in the survey shall be the responsibility of either the NOIE TDSP or the NOIE LSE associated with that TDSP based on which entity is responsible for administering Demand response programs within the NOIE TDSP footprint.

(2)	By December 31 of each year, ERCOT shall provide advance notice of participation status. To the extent that REPs discontinue participation in the ERCOT market or change associations prior to the snapshot date, ERCOT will send revised notices to REPs affected by such changes no later than August 1 of the survey year. ERCOT shall:

(a) 	Analyze the summer consumption for all NOIEs and REPs and determine which are required to participate in the Demand response survey for the following year;

(b) 	Provide advance notice, via email to the Authorized Representative, to all NOIEs and REPs regarding their participation status; and

(c) 	Provide a list of all REPs or NOIE TDSPs to the Authorized Representative, including all those determined by ERCOT to be associated, to which the participation status applies.

(3) 	By August 1 of the survey year, ERCOT shall provide official notice of the beginning of the Demand response data collection process. ERCOT shall:

(a) 	Issue a Market Notice to notify all REPs and NOIEs that the annual Demand response data collection process is beginning. The Market Notice shall make reference to this Protocol section, and shall reiterate specifics of the timeline for the survey process that are to be followed;

(b) 	Send a reminder email to the Authorized Representative for all REPs, NOIE LSEs and NOIE TDSPs of their participation status. The email shall also contain the list of all REPs or NOIE TDSPs, for which participation status applies. The list shall include all REPs or NOIE TDSPs determined by ERCOT to be associated. This list shall be updated based on any changes in associations that have occurred since the time the advance notice was issued.

(4) 	By August 15 of the survey year, REPs and NOIEs that are required to participate in that year’s survey, and that will have Customers participating in one or more Demand response program as of the snapshot date of September 1 shall reply to ERCOT with the following:

(a) 	An acknowledgement of the participation requirement;

(b) 	An indication that they expect to have Customers participating in one or more Demand response programs on the snapshot date of September 1;

(c)	A list of contact people and their email address within their organization that should receive copies of communications related to the survey from ERCOT;

(d) 	Specifically for REPs, an indication as to which of the methods described in the Other Binding Document titled “Demand Response Data Definitions and Technical Specifications” the REP intends to use to submit files to and receive files from ERCOT; and

(e) 	Specifically for NOIEs, an indication as to whether the NOIE TDSP or the NOIE LSE is responsible for administering the Demand response programs within the NOIE TDSP area.

(5) 	By August 15 of the survey year, REPs and NOIEs that are required to participate in that year’s survey, and that do not plan to have any Customers participating in Demand response programs as of the snapshot date of September 1 shall reply to ERCOT indicating the lack of such participation. REPs and NOIEs that are not required to participate in that year’s survey are not required to reply to ERCOT.

(6)	By October 15 of the survey year,

the REPs and NOIEs participating in that year’s survey shall compile the required data in the format specified by the Other Binding Document titled “Demand Response Data Definitions and Technical Specifications”, and submit the data to ERCOT.

(7)	ERCOT shall validate the submitted reports, and indicate any errors and inconsistencies that require correction to the REP or NOIE, within two Business Days of the submission in the manner specified in the Other Binding Document titled “Demand Response Data Definitions and Technical Specifications”.

(8)	On or before October 31 of the survey year, REPs and/or NOIEs shall address the errors and inconsistencies and submit corrected reports to ERCOT.  ERCOT will notify the Authorized Representative for each REP and/or NOIE when they have achieved the required level of accuracy.

(9)	Information provided by NOIEs and REPs to meet the above described reporting requirements shall be treated as Protected Information in accordance with Section 1.3, Confidentiality.