Date:	May 27, 2020

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities – URGENT [ERCOT] - NPRR987, BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations - URGENT [ERCOT] - NPRR989, BESTF-1 Energy Storage Resource Technical Requirements - URGENT [ERCOT] - NPRR1006, Update Real-Time On-Line Reliability Deployment Price Adder Inputs to Match Actual Data – URGENT [TIEC] - NPRR1018, Clarifications Regarding ERCOT Suspension or Termination of a QSE and Participation by a Virtual or Emergency QSE – URGENT [ERCOT] - NPRR1019, Pricing and Settlement Changes for Switchable Generation Resources (SWGRs) Instructed to Switch to ERCOT – URGENT [ERCOT] - NPRR1021, Adjustments to the Default Uplift Invoice Process - URGENT [Reliant] - NPRR1022, Submission of Banking Information - URGENT [ERCOT] - SCR809, Changes to External Telemetry Validations in Resource Limit Calculator – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities – URGENT [ERCOT] Proposed Effective Date: July 1, 2020 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds specific timing requirements for Retail Electric Providers (REPs) and Non-Opt-In Entities (NOIEs) to provide information to ERCOT regarding categories of Demand response and price response programs offered to their Customers, the level of participation in those programs, and information on deployment events associated with those programs. PRS Decision: On 5/15/20, PRS unanimously voted via email to grant NPRR933 Urgent status, to recommend approval of NPRR933 as amended by the 5/12/20 Cooperative Commenters comments, to forward NPRR933 and the Impact Analysis to TAC, and to update the Other Binding Documents List upon implementation of NPRR933. - NPRR987, BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations - URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3010 ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Market Settlements (S&B), Energy Management System (EMS), Integration, BI & Data Analytics, and Data and Information Products (DAIP); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR implements the inclusion of the contribution of Energy Storage Resources (ESRs) to Physical Responsive Capability (PRC) and the Real-Time On-Line Reserve Capacity (RTOLCAP) in the Ancillary Service Imbalance Calculation. PRS Decision: On 4/20/20, PRS unanimously voted via email to recommend approval of NPRR987 as amended by the 2/21/20 ERCOT comments. On 5/15/20, PRS unanimously voted via email to grant NPRR987 Urgent status and to endorse and forward to TAC the 4/20/20 PRS Report and Impact Analysis for NPRR987 with a recommended priority of 2020 and rank of 3010. - NPRR989, BESTF-1 Energy Storage Resource Technical Requirements - URGENT [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to New Dependable Capability and Reactive Capability Systems (NDCRC) and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR establishes technical requirements for ESRs for Voltage Support Service (VSS) (including Reactive Power capability), and Primary Frequency Response. PRS Decision: On 4/20/20, PRS unanimously voted via email to recommend approval of NPRR989 as amended by the 2/28/20 ERCOT comments. On 5/15/20, PRS unanimously voted via email to grant NPRR989 Urgent status and to endorse and forward to TAC the 4/20/20 PRS Report as amended by the 5/11/20 ERCOT comments and Impact Analysis for NPRR989. - NPRR1006, Update Real-Time On-Line Reliability Deployment Price Adder Inputs to Match Actual Data – URGENT [TIEC] Proposed Effective Date: June 10, 2020 for Section 6.5.7.3.1(2)(e); upon system implementation for the remaining language – Priority 2020; Rank 3020 ERCOT Impact Analysis: Between $140k and $200k; no impacts to ERCOT staffing; impacts to MMS, DAIP, EMS, S&B, and BI & Data Analytics; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR returns the ERS resources in a linear curve over a four and a half-hour period following recall, rather than ten hours. The NPRR also changes the process for updating this parameter in the future so that it can be updated by TAC each year as appropriate, without the need to file an NPRR. PRS Decision: On 4/20/20, PRS voted via email to recommend approval of NPRR1006 as amended by the 4/14/20 TIEC comments as revised by PRS. There were two abstentions from the Independent Power Marketer (IPM) (Morgan Stanley) and Independent Retail Electric Provider (IREP) (Direct Energy) Market Segments. On 5/15/20, PRS voted via email to grant NPRR1006 Urgent status, to endorse and forward to TAC the 4/20/20 PRS Report as amended by the 5/8/20 ERCOT comments and Impact Analysis for NPRR1006 with a recommended effective date of upon ERCOT Board approval for paragraph (2)(e) of Section 6.5.7.3.1 and a recommended priority of 2020 and rank of 3020 for the remaining language. There was one abstention from the IREP (Direct Energy) Market Segment. - NPRR1018, Clarifications Regarding ERCOT Suspension or Termination of a QSE and Participation by a Virtual or Emergency QSE – URGENT [ERCOT] Proposed Effective Date: July 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies several provisions regarding termination and suspension of a Qualified Scheduling Entity (QSE) and the ability of a Load Serving Entity (LSE) or Resource Entity to act as a “Virtual QSE” or “Emergency QSE”. PRS Decision: On 4/20/20, PRS unanimously voted via email to recommend approval of NPRR1018 as submitted. On 5/15/20, PRS unanimously voted via email to grant NPRR1018 Urgent status and to endorse and forward to TAC the 4/20/20 PRS Report and Impact Analysis for NPRR1018. Credit WG: See 5/21/20 Credit WG comments - NPRR1019, Pricing and Settlement Changes for Switchable Generation Resources (SWGRs) Instructed to Switch to ERCOT – URGENT [ERCOT] Proposed Effective Date: June 10, 2020 for Sections 3.9.1, 6.6.12, 6.6.12.1, 6.5.7.3(4)(e)(iii)-(vi); upon system implementation for the remaining language – Priority 2020; Rank 3030 ERCOT Impact Analysis: Between $100k and $140k; no impacts to ERCOT staffing; impacts to MMS and BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR addresses the switching of Switchable Generation Resources (SWGRs) from a non-ERCOT Control Area to the ERCOT the Control Area. PRS Decision: On 4/20/20, PRS unanimously voted via email to recommend approval of NPRR1019 as amended by the 4/9/20 GSEC comments. On 5/15/20, PRS unanimously voted via email to grant NPRR1019 Urgent status and to endorse and forward to TAC the 4/20/20 PRS Report and Impact Analysis for NPRR1019 with a recommended effective date of upon ERCOT Board approval for Sections 3.9.1, 6.6.12, 6.6.12.1, and paragraphs (4)(e)(iii)-(vi) of Section 6.5.7.3 and a recommended priority of 2020 and rank of 3030 for the remaining language. Credit WG: See 5/21/20 Credit WG comments - NPRR1021, Adjustments to the Default Uplift Invoice Process - URGENT [Reliant] Proposed Effective Date: To be determined ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR shortens the Default Uplift Invoice issuance timeline from 180 days to 90 days and allows ERCOT to use the best available Settlement data when calculating each Counter-Party’s share of the default uplift instead of True-Up Settlement data. PRS Decision: On 5/15/20, PRS unanimously voted via email to grant NPRR1021 Urgent status, to recommend approval of NPRR1021 as amended by the 5/11/20 ERCOT comments, and to forward NPRR1021 to TAC. Credit WG: See 5/21/20 Credit WG comments - NPRR1022, Submission of Banking Information - URGENT [ERCOT] Proposed Effective Date: To be determined ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the means in which QSEs and Congestion Revenue Right (CRR) Account Holders (“CRRAHs”) submit banking information changes to ERCOT. Specifically, this NPRR removes the ability to submit banking information by submitting a Notice of Change of Information (NCI) via email or facsimile, and creates a new form, Notice of Change of Banking Information (NCBI), that a QSE/CRRAH must execute and submit through the Market Information System (MIS) Certified Area (i.e., the portion of the MIS that is available only to a specific Market Participant).. PRS Decision: On 5/15/20, PRS unanimously voted via email to grant NPRR1022 Urgent status, to recommend approval of NPRR1022 as submitted, and to forward NPRR1022 and the Impact Analysis to TAC. - SCR809, Changes to External Telemetry Validations in Resource Limit Calculator – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3040 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to EMS and BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This SCR implements updates to the validation rules imposed on external telemetry received by ERCOT and utilized in the Resource Limit Calculator. PRS Decision: On 5/15/20, PRS unanimously voted via email to grant SCR809 Urgent status, to recommend approval of SCR809 as submitted, and to forward to TAC SCR809 and the Impact Analysis with a recommended priority of 2020 and rank of 3040. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for TAC Consideration - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT] - NPRR975, Load Forecast Model Transparency [TCPA] - NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT] - SCR807, Increase CRR Transaction Capability [DC Energy] Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT] - NPRR992, Updated Day-Ahead Liability for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT] - NPRR993, Grey Box Resolution re NPRR902 and NPRR928 [ERCOT] - NPRR1000, Elimination of Dynamically Scheduled Resources [DME] - SCR810, EMS System Change to Count DC Ties toward the 2% Constraint Activation Criterion [REMC] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NPRR945, Net Metering Requirements [TIEC] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR966, Changes to Support Reactive Power Coordination Tool [ERCOT] - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR984, Change ERS Standard Contract Terms [ERCOT] - NPRR991, Day-Ahead Market (DAM) Point-to-Point (PTP) Obligation Bid Clearing Price Clarification [ERCOT] - NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model [ERCOT] - NPRR999, DC Tie Ramp Limitations [ERCOT] - NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications [ERCOT] - NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions [ERCOT] - NPRR1003, Elimination of References to Resource Asset Registration Form [ERCOT] - NPRR1004, Load Distribution Factor Process Update [ERCOT] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1007, RTC – NP 3: Management Activities for the ERCOT System [ERCOT] - NPRR1008, RTC – NP 4: Day-Ahead Operations [ERCOT] - NPRR1009, RTC – NP 5: Transmission Security Analysis and Reliability Unit Commitment [ERCOT] - NPRR1010, RTC – NP 6: Adjustment Period and Real-Time Operations [ERCOT] - NPRR1011, RTC – NP 8: Performance Monitoring [ERCOT] - NPRR1012, RTC – NP 9: Settlement and Billing [ERCOT] - NPRR1013, RTC – NP 1, 2, 16, and 25: Overview, Definitions and Acronyms, Registration and Qualification of Market Participants, and Market Suspension and Restart [ERCOT] - NPRR1014, BESTF-4 Energy Storage Resource Single Model [ERCOT] - NPRR1015, Clarification of DAM implementation of NPRR863 Phase 2 [ERCOT] - NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) [ERCOT] - NPRR1017, Management of Congestion Revenue Rights (CRRs) and Resource Node Removals [ERCOT] - NPRR1023, Change to CRR Repossession Process [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr