| NPRR Number | 1020 | NPRR Title | Add Definition of Integrated Battery Storage Systems (IBSS) |
| --- | --- | --- | --- |
| Date |  | May 27, 2020 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bob Wittmeyer, Doug Moorehead (on behalf of Broad Reach); Betsy Beck, Michael Jewell (on behalf of Enel North America, Inc.); Sam Brandin, Michael Jewell (on behalf of Able Grid Infrastructure Texas, LLC) |  |
| E-mail Address |  | bwittmeyer@longhornpower.com; dmoorehead@broadreachpower.com; betsy.beck@enel.com, sbrandin@ablegridenergy.com; michael@jewellandassociates.com |  |
| Company |  | On behalf of Broad Reach, Enel, Able Grid |  |
| Phone Number |  | 512-762-8895 (BW); 757-328-3309 (DM); 978-551-3266 (BB); 603-315-2383 (SB); 512-423-4065 (MJ) |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator |  |

Comments

Broad Reach, Able Grid Infrastructure Texas, LLC (Able Grid), and Enel North America (Enel), representing Enel X, N.A. and Enel Green Power, N.A., jointly submit these comments to Nodal Protocol Revision Request (NPRR) 1020, in amendment to the 5/11/20 ERCOT and PUCT Staff comments, to propose an alternative approach to enabling Wholesale Storage Load (WSL) treatment for essential energy consumed by battery Energy Storage Systems (ESS).

Commenters have active development projects in the ERCOT interconnection queue and are expending substantial funds to separately meter their essential cooling and battery control Loads.  Therefore, commenters would like to see clarity regarding the policies at issue in this NPRR as soon as possible.

ERCOT has a long history of removing barriers to entry without enabling business plans.  All modern battery storage devices require cooling.  Without cooling, the batteries will cease to function, not in days or months, but in hours.  This cooling Load is essential to the existence of the battery regardless of its configuration or layout.  Similarly, there is essential internal control hardware that ensures the operation of these storage devices, the absence of which would render the battery storage device inoperable regardless of its configuration or layout.

Commenters believe that the same rules should apply to all battery Energy Storage Resources (ESRs) regardless of the particular design or number of containers located behind the ESR’s point of interconnection.  From the perspective of ERCOT operations, the number of containers or physical form factor of an ESR are irrelevant.

Revised Cover Page Language

| NPRR Number | 1020 | NPRR Title | Allow Wholesale Storage Load (WSL) Treatment for Battery Energy Storage Systems |
| --- | --- | --- | --- |
| Requested Resolution |  | Urgent. This Nodal Protocol Revision Request (NPPR) revises the definition of Wholesale Storage Load (WSL) to clarify WSL treatment for modern battery systems. The current lack of clarity is delaying the deployment of new technologies that may provide new capacity to the ERCOT System as early as 2021. The Protocols should be revised to be clear that this new battery technology can be interconnected and operate as a Resource. |  |
| Revision Description |  | This NPRR clarifies that the energy required for the operation of a battery Energy Storage System (ESS) that is registered as an Energy Storage Resource (ESR) is appropriate to receive WSL treatment. Specifically, the NPRR modifies the definition of WSL to specify the essential operations of a battery system that may receive WSL treatment. |  |
| Business Case |  | The purpose of this NPRR is to establish that WSL treatment is available to energy consumed in the operation of battery systems that incorporate essential battery components and critical systems. . The energy conversion process (charging/discharging of the batteries) cannot function without these critical systems – these systems are in the chain between wholesale purchase and wholesale Load and include hardware controls (circuit boards) and thermal regulation. Modern battery systems are not able to provide energy or ancillary services to the grid without thermal management systems and internal control hardware. The Protocols should be revised to allow energy consumed in the operation of modern battery systems to receive WSL treatment. |  |

Revised Proposed Protocol Language

## 2.1	DEFINITIONS

- Energy Storage System (ESS)

- A facility, process, or device(s) that receives electric energy and stores it, in any form, for the purpose of later releasing electrical energy.

Load

The amount of energy in MWh delivered at any specified point or points on a system.

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes the following energy captured by the WSL EPS Meter:

(1)	Losses for the energy conversion process; and

(2)	Energy that is required for the operation of a battery Energy Storage System (ESS) that is registered as an Energy Storage Resource (ESR) including its battery and thermal management system and internal control hardware.  (Energy used for human needs, lighting, bathrooms, control rooms, security, etc. is not considered essential for operation of the battery ESS and is not WSL.)

WSL is limited to the following technologies: batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.

[PIR003: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On June 11, 2013, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A061113-1, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

[PIR004: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On August 16, 2016, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing additional guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A081616-01, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

## 2.2	ACRONYMS AND ABBREVIATIONS