ERCOT BUSIDRRQ/AMS PROPOSAL

- Add a new PROFILETYPECODE (BUSLRG) to be used for > 700 kW/kVA premises where the TDSP can support a 4CP billing rate with an AMS profile.  This would lead to the addition of eight PROFILECODES (one for each weather zone):

BUSLRG_COAST_IDR_WS_NOTOU

BUSLRG_EAST_IDR_WS_NOTOU

BUSLRG_FWEST_IDR_WS_NOTOU

BUSLRG_NCENT_IDR_WS_NOTOU

BUSLRG_NORTH_IDR_WS_NOTOU

BUSLRG_SCENT_IDR_WS_NOTOU

BUSLRG_SOUTH_IDR_WS_NOTOU

BUSLRG_WEST_IDR_WS_NOTOU

- Existing BUSIDRRQ will remain.

- Profile Decision Tree will allow BUSLRG or BUSIDRRQ for >700 kW/kVA premises.

Profile Decision Tree, Segment Assignment, III. Business (BUS), A. – Assign LRG or IDRRQ Profile Segment to all BUS ESI IDs required to have an IDR, per Section 18 of the ERCOT Nodal Protocols.

- ERCOT will setup the BUSLRG profiletype to allow for loading of generation (export) data if submitted to ERCOT.  Generation data will be treated as a LSE load reduction in the same manner as all of the other distributed generation AMS profile types.

- ERCOT will populate the BUSLRG forecasted and backcasted load profiles with the same values as are in the BUSIDRRQ load profiles.

- ERCOT Protocols will require 700 kW/kVA premises to have IDRs.

- ERCOT will not produce an IDR Requirement report.

- RMG Section 7.13 will be deleted in its entirety (see business case in RMGRR).

- ERCOT will exclude BUSLRG from AMS data threshold check.

- When an AMS premise surpasses 700 kW/kVA, TDSP will transition to BUSLRG or BUSIDRRQ

- Transition of existing IDR meters to AMS will be governed by Protocol Section 18.7 which allows for the use of BUSLRG (if > 700 kW/kVA) or any of the other AMS profile types when <= 700 kW/kVA.