**VPWG’s report to ROS – June 2020**

1. VPWG WebEx meeting held on 5/19/20
2. Endorsed the language in NOGRR210, Related to NPRR 1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) and RRGRR025, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)
3. Additional change suggested in Section 2.9.1 of NOGRR210. In the diagram for the Voltage Ride Through for IRRs, ‘Voltage (per unit) @ POI’ should be changed to ‘Voltage (per unit) @ POIB’
4. Noted that if NOGRR 195 Generator Voltage Control Tolerance Band is approved, additional changes from POI to POIB will be necessary
5. ERCOT posted the 2020 Summer/Fall voltage profile on 5/29/20

Biju Mathew

Chair

VPWG