## Slide 1: Energy Storage Thermal Management & Control Power Options
May, 2020

## Slide 2: Current ERCOT ESS Power Options
ESS Section 1
ESS Section 2
ESS Section 3
ESS Section 4
Distribution System
Local Power System
Project Substation
Thermal & Control Power
Project POI
System Power
M
M
Lighting, security, comfort HVAC Loads
Auxiliary
Power
ESS Section 1
ESS Section 2
ESS Section 3
ESS Section 4
Distribution System
Local Power System
Project Substation
Thermal & Control Power
Project POI
System Power
M
Lighting, security, comfort HVAC Loads
Auxiliary
Power
M
M
M
M
EPS Meter
WSL Meter
Retail TDSP Meter
M
EPS & WSL Meter
M

## Slide 3: Proposed ERCOT ESS Power Options
ESS Section 1
ESS Section 2
ESS Section 3
ESS Section 4
Distribution System
Local Power System
Project Substation
Thermal & Control Power
Project POI
System Power
M
M
Lighting, security, comfort HVAC Loads
Auxiliary
Power
M
M
M
EPS Meter
WSL Meter
Retail TDSP Meter
ESS Section 1
ESS Section 2
ESS Section 3
ESS Section 4
Local Power System
Project Substation
Thermal & Control Power
Project POI
System Power
M
Lighting, security, comfort HVAC Loads
Auxiliary
Power
M
M
M
EPS & WSL Meter
M

## Slide 4: Energy Storage Loads
WSL Eligible Loads – Essential in nature and created in parallel with provision of wholesale services
Energy stored to be released at a later time to the wholesale market.
Round trip efficiency losses captured by the WSL EPS meter.
Control System Power
Essential Thermal Conditioning Load
Auxiliary Loads
Non-essential building HVAC (“Creature comforts” HVAC)
Ambient lighting
Fire control system
Security
Landscape management