| NOGRR Number | 214 | NOGRR Title | Geomagnetic Disturbance (GMD) Measurement Data Reporting |
| --- | --- | --- | --- |

| Date | June 2, 2020 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Aster Amahatsion |
| E-mail Address | AKAMAHATSION@AEP.COM |
| Company | American Electric Power Service Corporation (AEPSC) |
| Phone Number | 614-933-2681 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

AEPSC appreciates the opportunity to comment on this revision request, as well as the effort made in the development of NOGRR214, Geomagnetic Disturbance (GMD) Measurement Data Reporting.

AEPSC has reviewed ERCOT’s revision request NOGRR214, and recommends the following changes:

- In paragraph (1) of Section 6.1.5.1, Introduction, the word “changes” is not clear for what qualifies as a change.  Is it a software upgrade, hardware changes or removal of the equipment? AEPSC recommends the word “changes” be replaced by “removal of”.

- The 30 day deadlines reflected in paragraphs (1) and (2) of Section 6.1.5.1 are disconcerting and AEPSC recommends the response period be extended to 60 days.  Competing workloads and availability of appropriate personnel to gather and submit the data and make the within 30 days extremely challenging. AEPSC also notes that for a similar process NERC is giving 90 days to report GMD data.

- In paragraph (2) of Section 6.1.5.1, there is uncertainty on the frequency that ERCOT might request GMD data and we are recommending that GMD data submission requests should be made only for events when the global geomagnetic activity index for GMD events indicates a value of KP7 or greater.

Revised Cover Page Language

None

Revised Proposed Guide Language

6.1.1	Introduction

(1)	Disturbance monitoring is necessary to:

(a)	Determine performance of the ERCOT System;

(b)	Determine effectiveness of protective relaying systems;

(c)	Verify ERCOT System models;

(d)	Determine causes of ERCOT System disturbances (trips, faults, and protective relay system actions); and

(e)	Meet the requirements of North American Reliability Corporation (NERC) Reliability Standards.

(2)	To ensure that adequate data is available for these activities, the disturbance monitoring requirements and procedures discussed in these Operating Guides have been established by ERCOT for the following:

(a)	Fault recording, sequence of events recording, and dynamic disturbance recording equipment owners in the ERCOT System; and

(b)	Transmission Service Providers (TSPs) and Resource Entities with equipment for recording Geomagnetic Disturbance (GMD) measurement data, including Geomagnetically-Induced Current (GIC) monitors and/or magnetometers for recording geomagnetic field data, installed at their facilities.

6.1.5.1	Geomagnetic Disturbance (GMD) Measurement Data Processes

(1)	TSPs and Resource Entities shall notify ERCOT on an annual basis, by October 31, of any addition of, or removal of, equipment for recording GMD measurement data installed at their facilities.  Additionally, a complete list of GMD measurement equipment shall be provided, when specifically requested by ERCOT, within 60 days.

(2)	When requested specifically by ERCOT, TSPs and Resource Entities with GMD measurement equipment installed at their facilities shall provide GMD measurement data for events when the global geomagnetic activity index for GMD events indicates a value of KP7 or greater, within 60 days.

(3)	ERCOT may, at the request of TSPs, post GMD measurement data obtained from TSPs, Resource Entities, or publicly available sources to the Market Information System (MIS) Certified area for TSPs.