| NPRR Number | 1020 | NPRR Title | Add Definition of Integrated Battery Storage Systems (IBSS) |
| --- | --- | --- | --- |
| Date |  | June 10, 2020 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bryan Sams |  |
| E-mail Address |  | Bryan.Sams@Calpine.com |  |
| Company |  | Calpine Corporation |  |
| Phone Number |  | 512-632-4870 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator |  |

Comments

Calpine Corporation (Calpine) appreciates the opportunity to submit comments on Nodal Protocol Revision Request (NPRR) 1020.  Calpine supports a regulatory framework that equitably assigns retail and wholesale costs for net energy consumption by station power facilities when those facilities support wholesale sales.

As a separate and distinct set of comments from the other 6/10/20 Calpine comments, Calpine proposes an alternative approach to enabling Wholesale Storage Load (WSL) treatment for energy consumed by integrated battery systems while also retaining ERCOT’s prior 2013 Protocol interpretation in Protocol Interpretation Request (PIR) 003.

In short, the proposal allows batteries to qualify for WSL under (1) the existing metering regime, (2) a deemed calculation of WSL where the Energy Storage Resource (ESR) Load is not physically separable from the storage facility, or (3) an engineering calculation specific to the ESR to separate the auxiliary station Load from the storage facility with certain protections.

Calpine believes that PIR 003 is an appropriate reading of P.U.C. Subst. R. 25.501.  It permits resistive and power conversion losses (efficiency losses) and requires separate metering of power consuming auxiliary facilities including hardware controls, thermal regulation, safety systems etc. that are ultimately not returned to the grid for sale.  Allowing a deemed or engineering calculation of an ESR station Load may allow for stored energy and efficiency losses to be metered separately from the auxiliary Load.

Moreover, this allowance is consistent with Tesla’s prior advocacy in Texas to receive WSL.  In Docket 48023, Rulemaking to Address the Use of Non-Traditional Technologies in Electric Delivery, Tesla sought an allowance for “alternative calculations showing how Load is distributed within the battery or telemetry to account for and pay for Loads that are not eligible for treatment as Wholesale Storage Load, but that cannot be physically separated and metered.”  Calpine sees such an allowance as a more equitable alternative versus establishing WSL benefits to a new class of ESR station power auxiliary Load that do not apply evenly to generation including Generation Resources.

Calpine appreciates the opportunity to file these comments.  We oppose making this NPRR Urgent and believe there are substantial policy issues that should be vetted by stakeholders through the normal NPRR review process.  We look forward to working constructively with all interested parties on a final resolution of this matter.

Revised Cover Page Language

| NPRR Number | 1020 | NPRR Title | Allow Wholesale Storage Load (WSL) Treatment for Integrated Battery Systems |
| --- | --- | --- | --- |
| Requested Resolution |  | Normal |  |
| Revision Description |  | This NPRR establishes that energy consumed by certain integrated battery storage systems is appropriate to receive WSL treatment. Specifically, the NPRR modifies the definition of WSL to specify the characteristics of a battery system that may receive WSL treatment. An Energy Storage Resource (ESR) may receive WSL treatment under 1) the existing metering regime, 2) a deemed calculation of WSL where the ESR Load is not physically separable from the storage facility, or 3) an engineering calculation specific to the ESR to separate the station Load from the storage facility with certain protections. |  |
| Business Case |  | The purpose of this NPRR is to establish that WSL treatment is available to stored energy consumed in the operation of battery systems. Integrated battery systems are characterized by a modular and easy-install design. These are energy-dense, high-efficiency battery systems that provide increased storage functionality at reduced costs. Many newer utility-scale energy storage systems installed around the world employ battery systems with these design features. |  |

Revised Proposed Protocol Language

## 2.1	DEFINITIONS

- Energy Storage System (ESS)

- A facility, process, or device(s) that receives electric energy and stores it, in any form, for the purpose of later releasing electrical energy.

Load

The amount of energy in MWh delivered at any specified point or points on a system.

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes the following energy captured by the WSL EPS Meter:

(1)	Losses for the energy conversion process; and

(2)	Energy for the operation of a battery Energy Storage System (ESS) that is registered as an Energy Storage Resource (ESR) or that is part of an aggregation that is registered as an ESR, if that ESS is directly connected through a single AC interconnection through which all energy flows into and out of the ESS, and does not require external system support other than for purposes of facilitating grid interactivity and operator communications.  70% of the energy of the measured by the EPS Meter interconnected in this manner may qualify for WSL.

(3)	Alternatively, an ESR owner or operator may provide monthly engineering calculations certified by an independent licensed Texas Professional Engineer to demonstrate the energy usage of physically inseparable auxiliary facilities that cannot be separately metered.  This deemed Load shall be subtracted from the EPS measurement to determine the energy that is eligible for WSL.  The analysis shall include a seasonal climate profile specific to the ESR location.  ERCOT shall verify the calculation.  All costs associated with an alternative calculation, including ERCOT administration, shall be borne by the ESR owner or operator.

WSL is limited to the following technologies: batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.

[PIR003: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On June 11, 2013, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A061113-1, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

[PIR004: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On August 16, 2016, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing additional guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A081616-01, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

## 2.2	ACRONYMS AND ABBREVIATIONS