## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for May 2020

## Slide 2: Non-IRR GREDP < 85% – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 307 | 7 | 13 | 5.09 | 53.85
Unit 309 | 2 | 4 | 2.03 | 50.00
Unit 310 | 2 | 4 | 0.46 | 50.00
Unit 311 | 2 | 3 | 0.90 | 66.67
Unit 314 | 0 | 1 | 0.57 | 0.00

## Slide 3: IRR Summary – May 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.60 | 72.54 | 80.97
GREDP Median (%) | 97.15 | 83.06 | 85.31
Average MW Error | 4.43 | 4.65 | 4.85
Median MW Error | 4.26 | 4.52 | 4.52
Total Intervals Scored | 43,959 | 16,544 | 15,556
100+ Intervals Scored | 80 | 156 | 37
Total Intervals Scored Average | 185.48 | 258.50 | 420.43

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,229 | 2,264 | 4.67 | 98.45
Unit 2 | 1,518 | 1,554 | 2.60 | 97.68
Unit 3 | 1,210 | 1,228 | 5.82 | 98.53
Unit 4 | 1,189 | 1,192 | 3.77 | 99.75
Unit 5 | 1,146 | 1,160 | 4.55 | 98.79
Unit 6 | 1,047 | 1,055 | 4.10 | 99.24
Unit 7 | 1,046 | 1,052 | 4.32 | 99.43
Unit 8 | 1,008 | 1,023 | 5.14 | 98.53
Unit 10 | 867 | 892 | 8.26 | 97.20
Unit 12 | 833 | 870 | 2.68 | 95.75
Unit 13 | 811 | 812 | 6.23 | 99.88
Unit 14 | 794 | 797 | 6.21 | 99.62
Unit 16 | 725 | 760 | 1.16 | 95.39
Unit 18 | 683 | 711 | 7.53 | 96.06
Unit 19 | 648 | 680 | 3.32 | 95.29
Unit 20 | 640 | 655 | 3.92 | 97.71
Unit 23 | 630 | 644 | 1.99 | 97.83

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 26 | 583 | 583 | 5.48 | 100.00
Unit 29 | 551 | 566 | 3.50 | 97.35
Unit 32 | 533 | 546 | 6.80 | 97.62
Unit 33 | 534 | 543 | 1.10 | 98.34
Unit 34 | 531 | 541 | 0.87 | 98.15
Unit 35 | 517 | 541 | 7.42 | 95.56
Unit 36 | 531 | 537 | 3.25 | 98.88
Unit 38 | 490 | 496 | 1.43 | 98.79
Unit 40 | 468 | 475 | 2.34 | 98.53
Unit 43 | 434 | 446 | 4.68 | 97.31
Unit 45 | 424 | 425 | 3.87 | 99.76
Unit 50 | 314 | 321 | 4.58 | 97.82
Unit 54 | 278 | 287 | 3.71 | 96.86
Unit 55 | 283 | 284 | 3.77 | 99.65
Unit 56 | 277 | 283 | 3.66 | 97.88
Unit 57 | 273 | 281 | 4.61 | 97.15
Unit 58 | 263 | 268 | 0.45 | 98.13

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 59 | 249 | 254 | 3.66 | 98.03
Unit 61 | 250 | 252 | 2.84 | 99.21
Unit 64 | 221 | 229 | 3.42 | 96.51
Unit 66 | 211 | 222 | 4.45 | 95.05
Unit 69 | 199 | 205 | 2.34 | 97.07
Unit 73 | 183 | 188 | 4.33 | 97.34
Unit 74 | 163 | 170 | 3.62 | 95.88
Unit 77 | 143 | 147 | 4.72 | 97.28
Unit 78 | 130 | 134 | 4.25 | 97.01

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 9 | 788 | 1,019 | 6.40 | 77.33
Unit 11 | 830 | 881 | 1.92 | 94.21
Unit 15 | 721 | 776 | 2.77 | 92.91
Unit 17 | 655 | 732 | 6.49 | 89.48
Unit 21 | 590 | 651 | 2.79 | 90.63
Unit 22 | 598 | 646 | 2.73 | 92.57
Unit 24 | 580 | 614 | 5.56 | 94.46
Unit 25 | 517 | 606 | 3.08 | 85.31
Unit 27 | 416 | 576 | 4.52 | 72.22
Unit 28 | 508 | 573 | 4.18 | 88.66
Unit 30 | 506 | 555 | 4.52 | 91.17
Unit 31 | 454 | 548 | 2.64 | 82.85
Unit 37 | 375 | 530 | 9.72 | 70.75
Unit 39 | 422 | 490 | 4.64 | 86.12
Unit 41 | 431 | 463 | 5.61 | 93.09
Unit 42 | 332 | 455 | 5.60 | 72.97
Unit 44 | 337 | 440 | 11.26 | 76.59

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 46 | 354 | 405 | 6.69 | 87.41
Unit 47 | 288 | 396 | 4.10 | 72.73
Unit 48 | 126 | 393 | 11.76 | 32.06
Unit 49 | 188 | 350 | 2.46 | 53.71
Unit 51 | 291 | 313 | 5.64 | 92.97
Unit 52 | 285 | 302 | 2.09 | 94.37
Unit 53 | 222 | 287 | 4.27 | 77.35
Unit 60 | 236 | 253 | 2.21 | 93.28
Unit 62 | 229 | 249 | 1.72 | 91.97
Unit 63 | 193 | 243 | 7.31 | 79.42
Unit 65 | 187 | 225 | 6.53 | 83.11
Unit 67 | 203 | 218 | 1.69 | 93.12
Unit 68 | 198 | 209 | 2.88 | 94.74
Unit 70 | 161 | 201 | 0.71 | 80.10
Unit 71 | 161 | 189 | 5.23 | 85.19
Unit 72 | 134 | 189 | 2.29 | 70.90
Unit 75 | 41 | 163 | 11.56 | 25.15

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – May 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 76 | 127 | 153 | 6.10 | 83.01
Unit 79 | 122 | 133 | 5.01 | 91.73
Unit 80 | 81 | 130 | 4.62 | 62.31