## Slide 1
Defining Solar Regions
In ERCOT
ROS
Sean Chang
Sandip Sharma
Operations Planning
April 4, 2019

## Slide 2: Introduction
Presented proposed solar regions at 3/7/19 ROS
Stakeholders asked for more information:
  Market impacts
  Data used to determine regions
  Different number of regions
  Zone names

## Slide 3: No Market Impacts
No pricing impacts
No changes to any of the Hub / Load Zone definitions
No reporting impacts unless stakeholders want to eventually see forecast report similar to wind forecast report by wind regions
Used solely in Operations to characterize solar generation profile and forecasts
Seeking collective stakeholder wisdom for an internal process

## Slide 4: Proposed Solar Regions
Zone 1
Zone 2
Zone 3
Zone 4
Zone 5
Zone 6
Notes: Includes only installed capacity

## Slide 5: Global Horizontal Irradiance in Texas (NREL)
Source: https://www.nrel.gov/gis/solar.html

## Slide 6: Irradiance Analysis from Solar Vendor
Solar vendor analysis uses Plane of Array (POA) to represent single axis trackers on north-south axis typical of utility-scale farms over a 16-year sample
Irradiance
Variability

## Slide 7: Irradiance Analysis from Solar Vendor
Solar vendor iteratively grouped each Texas county into different zones following the contours of the index below. Multiple zone number combinations were created.
Irradiance & Variability Indices Combined

## Slide 8: Different Numbers of Regions (2-10 Regions)

## Slide 9: Proposed Solar Regions
Zone 5
East
S_EAST
Zone 6
South
S_SOUTH
Zone 4
South Central
S_SCENT
Zone 3
North Central
S_NCENT
Zone 1
Panhandle
S_PNHNDL
Zone 2
West
S_WEST
Notes: Includes only installed capacity

## Slide 10: Appendix

## Slide 11: 2 Regions

## Slide 12: 3 Regions

## Slide 13: 4 Regions

## Slide 14: 5 Regions

## Slide 15: 6 Regions

## Slide 16: 7 Regions

## Slide 17: 8 Regions

## Slide 18: 9 Regions

## Slide 19: 10 Regions