Date:	June 24, 2020

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT] - NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT] - NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT] - NPRR992, Updated Day-Ahead Liability for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT] - NPRR993, Grey Box Resolution re NPRR902 and NPRR928 [ERCOT] - SCR810, EMS System Change to Count DC Ties toward the 2% Constraint Activation Criterion [REMC] Consideration of the request for withdrawal of the following SCR: - SCR808, Congestion Revenue Right Time Of Use Transaction Limits in Long-Term Auction Sequence Auctions [DC Energy]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] Proposed Effective Date: July 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the deviations that may occur due to Day-Ahead Market (DAM) delays, and adds language requiring ERCOT to issue a Market Notice for any act or omission that it takes to ensure that the DAM process completes by 1900. PRS Decision: On 1/16/20, PRS unanimously voted to recommend approval of NPRR903 as amended by the 12/9/19 Joint Commenters comments as revised by PRS. On 2/13/20, PRS unanimously voted to endorse and forward to TAC the 1/16/20 PRS Report and the Revised Impact Analysis for NPRR903. - NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT] Proposed Effective Date: Upon system implementation of PR106, RARF Replacement project ERCOT Impact Analysis: Less than $10k, which will be absorbed by the PR106 project; no impacts to ERCOT staffing; impacts to Resource Integration and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds definitions for Generator Step-Up (GSU) and Main Power Transformer (MPT) to the Nodal Protocols and clarifies their uses. PRS Decision: On 1/16/20, PRS unanimously voted to recommend approval of NPRR973 as amended by the 1/10/20 ROS comments. On 2/13/20, PRS unanimously voted to endorse and forward to TAC the 1/16/20 PRS Report and Impact Analysis for NPRR973. - NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT] Proposed Effective Date: July 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR deletes all remaining grey-boxed language associated with NPRR257. PRS Decision: On 2/13/20, PRS unanimously voted to recommend approval of NPRR983 as submitted. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 2/13/20 PRS Report and Impact Analysis for NPRR983. - NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT] Proposed Effective Date: July 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR deletes the remaining grey-box for NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator, and relocates the defined term “Combined Cycle Train” from underneath “Resource” to “Resource Attribute.” PRS Decision: On 1/16/20, PRS unanimously voted to recommend approval of NPRR990 as submitted. On 2/13/20, PRS unanimously voted to endorse and forward to TAC the 1/16/20 PRS Report and Impact Analysis for NPRR990. - NPRR992, Updated Day-Ahead Liability for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT] Proposed Effective Date: Upon system implementation of NPRR863 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR863) Revision Description: This NPRR ensures the Day-Ahead Liability (DAL) estimate correctly includes ERCOT Contingency Reserve Service (ECRS) charges and payments, which was the intent of NPRR863. PRS Decision: On 2/13/20, PRS unanimously voted to recommend approval of NPRR992 as submitted. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 2/13/20 PRS Report and Impact Analysis for NPRR992. Credit WG: See 2/21/20 Credit WG comments - NPRR993, Grey Box Resolution re NPRR902 and NPRR928 [ERCOT] Proposed Effective Date: July 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR addresses an anticipated redundancy and use of a defined term, both of which were irresolvable during the concurrent approval processes for NPRR902, ERCOT Critical Energy Infrastructure Information, and NPRR928, Cybersecurity Incident Notification. PRS Decision: On 2/13/20, PRS voted unanimously to recommend approval of NPRR993 as revised by PRS. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 2/13/20 PRS Report and Impact Analysis for NPRR993. - SCR810, EMS System Change to Count DC Ties toward the 2% Constraint Activation Criterion [REMC] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3050 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This SCR adds logic to ERCOT’s EMS system to remove the flag that indicates to the ERCOT Operator that a unit representing a Direct Current Tie (DC Tie) does not count toward the 2% criterion for activating transmission constraints. PRS Decision: On 5/15/20, PRS unanimously voted via email to recommend approval of SCR810 as submitted. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 5/15/20 PRS Report and Impact Analysis for SCR810 with a recommended priority of 2020 and rank of 3050. Revision Requests with a Withdrawal Request - SCR808, Congestion Revenue Right Time Of Use Transaction Limits in Long-Term Auction Sequence Auctions [DC Energy] Revision Description: This SCR establishes Congestion Revenue Right (CRR) transaction limits for each Time Of Use (TOU) in Long-Term Auction Sequence auctions. PRS Decision: On 12/12/19, PRS voted to recommend approval of SCR808 as submitted. The motion carried with three abstentions from the Cooperative (2) (STEC, PEC), and Investor Owned Utility (IOU) (Oncor) Market Segments. Withdrawal Request: On 2/21/20, the sponsor requested to withdraw SCR808, noting SCR808 is no longer needed now that the cost information was considered and SCR807, Increase CRR Transaction Capability, was endorsed. Revision Requests Rejected - NPRR991, Day-Ahead Market (DAM) Point-to-Point (PTP) Obligation Bid Clearing Price Clarification [ERCOT] Proposed Effective Date: Not applicable ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the impact on the DAM Point-to-Point (PTP) Obligation bids awarded when the administrative price floor is introduced. PRS Decision: On 6/11/20, PRS unanimously voted via roll call to reject NPRR991. Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR984, Change ERS Standard Contract Terms [ERCOT] - NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model [ERCOT] - NPRR1000, Elimination of Dynamically Scheduled Resources [DME] - NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions [ERCOT] - NPRR1003, Elimination of References to Resource Asset Registration Form [ERCOT] - NPRR1004, Load Distribution Factor Process Update [ERCOT] - NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR945, Net Metering Requirements [TIEC] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR966, Changes to Support Reactive Power Coordination Tool [ERCOT] - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [ERCOT] - NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model [ERCOT] - NPRR999, DC Tie Ramp Limitations [ERCOT] - NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications [ERCOT] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1007, RTC – NP 3: Management Activities for the ERCOT System [ERCOT] - NPRR1008, RTC – NP 4: Day-Ahead Operations [ERCOT] - NPRR1009, RTC – NP 5: Transmission Security Analysis and Reliability Unit Commitment [ERCOT] - NPRR1010, RTC – NP 6: Adjustment Period and Real-Time Operations [ERCOT] - NPRR1011, RTC – NP 8: Performance Monitoring [ERCOT] - NPRR1012, RTC – NP 9: Settlement and Billing [ERCOT] - NPRR1013, RTC – NP 1, 2, 16, and 25: Overview, Definitions and Acronyms, Registration and Qualification of Market Participants, and Market Suspension and Restart [ERCOT] - NPRR1014, BESTF-4 Energy Storage Resource Single Model [ERCOT] - NPRR1015, Clarification of DAM implementation of NPRR863 Phase 2 [ERCOT] - NPRR1017, Management of Congestion Revenue Rights (CRRs) and Resource Node Removals [ERCOT] - NPRR1020, Add Definition of Integrated Battery Storage Systems (IBSS) [Tesla] - NPRR1023, Change to CRR Repossession Process [ERCOT] - NPRR1024, Determination of Significance with Respect to Price Correction [ERCOT] - NPRR1025, Remove Real-Time On-Line Reliability Deployment Price from Ancillary Service Imbalance Calculation – URGENT [LCRA] New Revision Requests Scheduled for Consideration at PRS - NPRR1026, BESTF-7 Self-Limiting Facilities and Self-Limiting Resources [ERCOT] - NPRR1027, Removal of Grey-Boxed Language Related to NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr