## Slide 1
Item 5: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
June 24, 2020

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR903, Day-Ahead Market Timing Deviations [ERCOT]*
NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT]*
NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT]*
NPRR992, Updated Day-Ahead Liability for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT]*
NPRR993, Grey Box Resolution re NPRR902 and NPRR928 [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT]
  IA: Less than $10k (PR106) Priority n/a; Rank n/a
SCR810, EMS System Change to Count DC Ties toward the 2% Constraint Activation Criterion [REMC]
  IA: Between $15k and $25k Priority 2020; Rank 3050
Revision Requests with a Withdrawal Request (Vote):
SCR808, Congestion Revenue Right Time Of Use Transaction Limits in Long-Term Auction Sequence Auctions [DC Energy]

## Slide 4: Appendix

## Slide 5: NPRR903, Day-Ahead Market Timing Deviations [ERCOT]
Proposed Effective Date: July 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies the deviations that may occur due to Day-Ahead Market (DAM) delays, and adds language requiring ERCOT to issue a Market Notice for any act or omission that it takes to ensure that the DAM process completes by 1900.
PRS Decision: On 1/16/20, PRS unanimously voted to recommend approval of NPRR903 as amended by the 12/9/19 Joint Commenters comments as revised by PRS. On 2/13/20, PRS unanimously voted to endorse and forward to TAC the 1/16/20 PRS Report and the Revised Impact Analysis for NPRR903.

## Slide 6: NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT]
Proposed Effective Date: Upon system implementation of PR106, RARF Replacement project
ERCOT Impact Analysis: Less than $10k, which will be absorbed by the PR106 project; no impacts to ERCOT staffing; impacts to Resource Integration and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adds definitions for Generator Step-Up (GSU) and Main Power Transformer (MPT) to the Nodal Protocols and clarifies their uses.
PRS Decision: On 1/16/20, PRS unanimously voted to recommend approval of NPRR973 as amended by the 1/10/20 ROS comments. On 2/13/20, PRS unanimously voted to endorse and forward to TAC the 1/16/20 PRS Report and Impact Analysis for NPRR973.

## Slide 7: NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT]
Proposed Effective Date: July 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR deletes all remaining grey-boxed language associated with NPRR257.
PRS Decision: On 2/13/20, PRS unanimously voted to recommend approval of NPRR983 as submitted. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 2/13/20 PRS Report and Impact Analysis for NPRR983.

## Slide 8: NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT]
Proposed Effective Date: July 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR deletes the remaining grey-box for NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator, and relocates the defined term “Combined Cycle Train” from underneath “Resource” to “Resource Attribute.”
PRS Decision: On 1/16/20, PRS unanimously voted to recommend approval of NPRR990 as submitted. On 2/13/20, PRS unanimously voted to endorse and forward to TAC the 1/16/20 PRS Report and Impact Analysis for NPRR990.

## Slide 9: NPRR992, Updated Day-Ahead Liability for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT]
Proposed Effective Date: Upon system implementation of NPRR863
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR863)
Revision Description: This NPRR ensures the Day-Ahead Liability (DAL) estimate correctly includes ERCOT Contingency Reserve Service (ECRS) charges and payments, which was the intent of NPRR863.
PRS Decision: On 2/13/20, PRS unanimously voted to recommend approval of NPRR992 as submitted. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 2/13/20 PRS Report and Impact Analysis for NPRR992.
Credit WG: See 2/21/20 Credit WG comments

## Slide 10: NPRR993, Grey Box Resolution re NPRR902 and NPRR928 [ERCOT]
Proposed Effective Date: July 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR addresses an anticipated redundancy and use of a defined term, both of which were irresolvable during the concurrent approval processes for NPRR902, ERCOT Critical Energy Infrastructure Information, and NPRR928, Cybersecurity Incident Notification.
PRS Decision: On 2/13/20, PRS unanimously voted to recommend approval of NPRR993 as revised by PRS. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 2/13/20 PRS Report and Impact Analysis for NPRR993.

## Slide 11: SCR810, EMS System Change to Count DC Ties toward the 2% Constraint Activation Criterion [REMC]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3050
ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This SCR adds logic to ERCOT’s EMS system to remove the flag that indicates to the ERCOT Operator that a unit representing a Direct Current Tie (DC Tie) does not count toward the 2% criterion for activating transmission constraints.
PRS Decision: On 5/15/20, PRS unanimously voted via email to recommend approval of SCR810 as submitted. On 6/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 5/15/20 PRS Report and Impact Analysis for SCR810 with a recommended priority of 2020 and rank of 3050.

## Slide 12: SCR808, Congestion Revenue Right Time Of Use Transaction Limits in Long-Term Auction Sequence Auctions [DC Energy]
Revision Description: This SCR establishes Congestion Revenue Right (CRR) transaction limits for each Time Of Use (TOU) in Long-Term Auction Sequence auctions.
PRS Decision: On 12/12/19, PRS voted to recommend approval of SCR808 as submitted. The motion carried with three abstentions from the Cooperative (2) (STEC, PEC), and Investor Owned Utility (IOU) (Oncor) Market Segments.
Withdrawal Request: On 2/21/20, the sponsor requested to withdraw SCR808, noting SCR808 is no longer needed now that the cost information was considered and SCR807, Increase CRR Transaction Capability, was endorsed.

## Slide 13: 2020 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/28 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR873 SCR797 NPRR877 Ph2 NPRR968 NPRR943 EMIL Web Interface NPRR863 Ph1 NPRR960 NOGRR187 OBDRR011 | SCR802 NPRR928 NPRR929 NPRR978(a) NPRR988 NPRR953 | NPRR856 NPRR884 OBDRR006 SCR803 NPRR887 NPRR907 NPRR985 RMGRR163 NPRR837 NPRR930(a) MIS Testing | NPRR902 NPRR905 NPRR935(a) NPRR951 NPRR977 SCR804 SCR781(a) RRGRR016 RRGRR019 | NPRR902 NPRR998 MIS Go-Live MMS/OS Refresh NPRR863 Ph2 | NPRR978 SCR806 NPRR857 NPRR885 NPRR904 NPRR905 NPRR917 NPRR936 NPRR941 NPRR963 NPRR971 NPRR986 OBDRR009 PGRR070(b) SCR781(b) SCR799
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
P
P
R1
R2
R3
R4
R5
R6
3/1
NPRR863 Ph1 – FFR
NPRR863 Ph2 – ECRS
NPRR930(a) – O&M portion
NPRR935(a) – Sections 4.2.2 (1) (6), 4.2.5
NPRR935(b) – Sections 2.1, 2.2, 4.2.3
NPRR978(a) – Initial report decommissions
PGRR070(b) – Remaining PGRR language
SCR781(a) – View / Edit capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
ü
ü
ü
November
Off-Cycle
1/1
2021 Go-Lives
NS
NS
NS
P
NS
P
NS
NS
NS
NS
P
P
NS
E
E
NS
September
Off-Cycle
E
E
E
P
1/19
E
ü
ü
TBD Items | 2017 | 2018 | 2019 / 2020
 | NPRR702, NPRR829 | NPRR825(b), NPRR867, NPRR841 | NPRRs: 826, 879, 918, 930, 935(b), 939, 962, 965, 974, PGRR066, SCR800, SCR805
ü
CMM Release 2a
1/30
August
October
Q3 RIOO
RARF Go-Live for View/Update
ü
ü
ü
ü
ü
ü
ü
ü
ü
2022 Go-Lives
P
5/1
ü
7/1
ü
ü
ü
ü
ü
ü
ü
ü