| NOGRR Number | 200 | NOGRR Title | Delete Remaining Grey-Boxed Language Associated with NOGRR025, Monitoring Programs for QSEs, TSPs, and ERCOT |
| --- | --- | --- | --- |

| Date | June 22, 2020 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Jonathan Levine |
| E-mail Address | Jonathan.Levine@ercot.com |
| Company | ERCOT |
| Phone Number | 512-225-7017 |
| Cell Number |  |
| Market Segment | Not Applicable |

Comments

ERCOT submits these comments to remove the “RESERVED” placeholder language in sections being deleted by NOGRR200.  Section 9.3.6, Reserved, is added to NOGRR200 as a clean-up item in order to remove the placeholder “Reserved” language, though that section contains no greybox language related to NOGRR025, Monitoring Programs for QSEs, TSPs, and ERCOT.  All portions of Section 9 not contemplated in NOGRR200 will be renumbered administratively as necessary.

Market Rules Notes

Please note that the following NOGRR(s) also propose revisions to the following section(s):

- NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

  - Section 9.1.3

  - Section 9.2.2

  - Section 9.3.1

- NOGRR211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

  - Section 9.1.10

Revised Cover Page Language

| Nodal Operating Guide Sections Requiring Revision | 9.1.1, Testing (delete) 9.1.2, Reactive Testing for Generation Resources (delete) 9.1.3, Real-Time Data 9.1.5, Resource Facilities Network Operations Model Update Implementation Monitor (delete) 9.1.7, Backup Control for Resource Energy Deployment (delete) 9.1.8, Qualified Staffing Requirement (delete) 9.1.9, Automatic Voltage Regulator (AVR) (delete) 9.1.10, Current Operating Plan Metrics for QSEs 9.2.2, Real-Time Data Monitor 9.2.4, Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor (delete) 9.2.5, Backup Control for TSPs (delete) 9.3.1, Transmission Control 9.3.2, System and Resource Control 9.3.3, Forecasting (delete) 9.3.4, System Operating Constraints (delete) 9.3.5, Network Operations Model Update Implementation Statistics (delete) 9.3.6, Reserved (delete) 9.3.7, ERCOT Black Start Plan (delete) 9.3.8, Computer and Communication Systems Real-Time Availability and Systems Security 9.3.9, Voltage and Reactive Control Performance Monitoring (delete) 9.4.2, Annual Black Start Plan Receipt Confirmation Report (delete) 9.4.4, Constant Frequency Control (delete) |
| --- | --- |

Revised Proposed Guide Language

[Placeholder]

9.1.1	Real-Time Data

(1)	ERCOT shall produce reports describing Real-Time data performance of QSEs in the following areas.  ERCOT shall post the summary report on the MIS Secure Area.

(a)	Telemetry performance:

(i)	ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Telemetry Standards.

[Placeholder]

[Placeholder]

[Placeholder]

[Placeholder]

9.1.4	Current Operating Plan Metrics for QSEs

(1)	ERCOT shall report in the Day-Ahead when the reserved capacity of a QSE’s Resources in the Operating Day Current Operating Plan (COP) at 1430 is not sufficient to supply Ancillary Service requirements for the upcoming Operating Day.  ERCOT shall provide a monthly summary of the total days failed and total hours analyzed when the Resource’s reserves are insufficient for any hours during an Operating Day pursuant to paragraph (2) of Protocol Section 8.1.2, Current Operating Plan (COP) Performance Requirements, and not excused due to exemptions contained in the Protocols.

9.2.2	Real-Time Data Monitor

(1)	ERCOT shall produce reports describing Real-Time data performance of Transmission Service Providers (TSPs) in the following areas.  ERCOT shall post the summary report on the Market Information System (MIS) Secure Area.

(a)	Telemetry performance:

(i)	ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Telemetry Standards.

[NOGRR177: Replace Section 9.2.2 above with the following upon system implementation of NPRR857:] 9.2.2 Real-Time Data Monitor (1) ERCOT shall produce reports describing Real-Time data performance of Transmission Service Providers (TSPs) and Direct Current Tie Operators (DCTOs) in the following areas. ERCOT shall post the summary report on the Market Information System (MIS) Secure Area. (a) Telemetry performance: (i) ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Telemetry Standards.

[Placeholder]

9.3.1	Transmission Control

(1)	ERCOT shall report State Estimator (SE) performance in accordance with the Protocols and the Technical Advisory Committee (TAC)-approved State Estimator Standards and post such report on the Market Information System (MIS) Secure Area.

(a)	ERCOT shall produce monthly reports describing SE convergence and valid SE solution rates as described in Protocol Section 3.10.9.2, Telemetry and State Estimator Performance Monitoring.

(b)	ERCOT shall produce monthly reports describing the MW differences between SE results and power flow results for identified congested Transmission Elements as approved by TAC.

(c)	ERCOT shall produce monthly reports describing the MW differences between the SE results and telemetry for identified congested Transmission Elements as approved by TAC.

(d)	ERCOT shall produce monthly reports describing the voltage differences between the SE results and telemetry for the most important voltage busses identified in accordance with the State Estimator Standards.

(e)	ERCOT shall produce monthly reports describing the MW differences as defined in the State Estimator Standards.

(f)	ERCOT shall produce monthly reports identifying the sum of MW flows around telemetered SE Busses as described in paragraph (5) of Protocol Section 3.10.7.5.2, Continuous Telemetry of the Real-Time Measurements of Bus Load, Voltages, Tap Position, and Flows.

:

9.3.2	System and Resource Control

(1)	The following reports shall be posted on the MIS Secure Area:

(a)	Resource control metrics:

(i)	Total Regulation Up Service (Reg-Up) and Regulation Down Service (Reg-Down) per interval - ERCOT shall develop a monthly report detailing the total amount of Reg-Up energy deployed in the Settlement Interval and by hour and the total amount of Reg-Down energy deployed for each Settlement Interval and by hour of the Operating Day.

(b)	Reliability Unit Commitments (RUCs) and deployments:

(i)	For each month, ERCOT shall report, Generation Resources committed in each RUC process, the reason for the commitment, Resource name and intervals deployed, and the hours committed for Voltage Support Service (VSS).

(c)	Reversal of Base Point instructions to Generation Resources from interval to interval:

(i)	ERCOT shall record and report, on a monthly basis, instances of Dispatch Instructions to Resources not providing Regulation Service in which there is a directional change in Base Point instructions for four consecutive Security-Constrained Economic Dispatch (SCED) intervals for validation and review.

[Placeholder]

[Placeholder]

[Placeholder]

[Placeholder]

9.3.3	Computer and Communication Systems Real-Time Availability and Systems Security

(1)	ERCOT shall report each month the number of times a SCED run was requested but failed to provide a valid result in less time than normal SCED interval.

[Placeholder]

[Placeholder]