## Slide 1: Standby Service Fees
July 7, 2020

## Slide 2: What is it?
Standby (aka Backup) Service charges are included in tariffs of many wires providers, both in and out of ERCOT.
Supports a customer’s load during scheduled or unscheduled outages of the customer’s onsite generation.
Typically apply to power supply but may be applied for wires service, specifically for higher levels of reliability.
Demand and energy cost components exist for this type of service.
Different than supplemental service rates which supply energy above the capabilities of the customer’s onsite generation.

## Slide 3: History in the ERCOT Region
Existed in the ERCOT region as a charge by the incumbent utilities prior to restructuring.
Standby service from incumbent TDUs was largely dropped with the adoption of SB7.
Entities who paid for standby service prior to deregulation could be required to pay a Competition Transition Charge for the service to recover stranded costs. Included in IOU tariffs.
Standby/backup service options still exist in tariffs of IOUs, Munis, and Cooperatives, although it is often for DG installations or for wires rollover service.

## Slide 4: Standby Fee Mechanisms
May require a reservation payment for a contracted amount of demand
Demand charge based on peak hourly or 15-minute demand
Ratchet mechanism may be replaced with a very high demand charge
Energy is assessed separately
Maintenance service may be a separate service and provided at a lower cost

## Slide 5: GSEC 945 Comments Parallel a Standby Rate
No reservation payment
Energy handled through the REP or NOIE
No maintenance service
Ratcheted demand charge
Complements IMM Recommendation 3 from 2019 SOM Report

## Slide 6: Questions?