| Key Topic Concept (KTC) Number | 12 | KTC Title | Co-Located AC-Connected Energy Storage Resources |
| --- | --- | --- | --- |
| Date Posted |  | April 3, 2020 |  |
| Executive Summary |  | This KTC states that existing rules and practices are sufficient for Co-Located AC-Connected Energy Storage Resources. |  |
| Recommendation Description |  | This KTC recommends that the existing market rules and practices are sufficient for Co-Located AC-Connected Energy Storage Resources for the following topics: - Registration - Participation Model (EMS and MMS) - Forecasting - Performance - Mitigation treatment in SCED - WSL Treatment - Data Requirements from QSEs Interconnection issues are addressed in KTC 13. |  |
| BESTF Discussion |  | On 01/17/2020 and 02/25/2020, ERCOT staff presented a presentation Co-Located AC-Connected Energy Storage Resources. On 03/13/20, the BESTF reached consensus on KTC 12. |  |
| TAC Action Requested |  |  |  |
| TAC Action Summary |  | On 4/1/20, TAC approved KTC 12. |  |

Proposed KTC Recommendation Language

# Key Topic/Concept recommendation Language for TAC Approval

None.

# Key Topic/Concept recommendation Language Previously APProved by tac

04/01/20 TAC Meeting (Consensus from 03/13/20 BESTF meeting):

For all 7 topics in this KTC, the existing rules and practices are sufficient.  For example, in cases where a PVGR and an Energy Storage Resource are Co-Located, they are seen and treated as separate Resources and all existing market rules and practices are applied to each Resource.

# Key Topic/Concept recommendation Language IN DISCUSSION AT BESTF

None.

# Future Decision Points and Issues for Developing Key topic/Concept recommendation Language

None.

| Applicable Protocol Section(s) |  |
| --- | --- |
| Impacted System(s) / Application(s) |  |