## Slide 1: Supply Analysis Working Group Report to WMS
June 3, 2020

## Slide 2: SAWG May Meeting – Final Summer SARA & Updated CDR
ERCOT reviewed at 5-28 SAWG and will present this to WMS following this update
Battery Capacity Contribution
  Stakeholders raised the question of when this would be added to the CDR and we plan to revisit a presentation we had in February on Storage Capacity Contributions
  Next Steps at June SAWG:
    Refresh the Storage Capacity Contribution presentation from ERCOT
    Long-term solution includes implementation of NPRR1002 BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions and related RRGRR023
    Discuss interim solution

## Slide 3: SAWG May Meeting – COVID-19 Impact Load Forecast Q&A
Questions & Answers posted to 5-28 SAWG page http://www.ercot.com/calendar/2020/5/28/195750-SAWG
Of Note:
  Generally no recent or historical inputs were changed, just the Moody’s forecast from April, which reflects the COVID-19 impacts
  The biggest change in the April Moody’s forecast was in non-farm employment. ERCOT changed to using non-farm employment as the growth driver (had been using population or housing as the growth driver) in the West and Far West, to better reflect the impact.
No plans to follow up on this at SAWG

## Slide 4: SAWG May Meeting – Interconnection process for Gibbons
Stakeholder requested discussion on Gibbons Creek inclusion in CDR
ERCOT described the requirements in Planning Guide Section 5.4.9 Proof of Site Control
  The specific information provided by an IE under 5.4.9 is protected
Next Steps:
  Will come back to June SAWG with options for addressing this:
    Addition to Section 1.3.1.1 (Items Considered Protected Information) to make the information needed in Planning Guide 5.4.9 exempt from protected information
    An NPRR with an ownership screening/requirement prior to inclusion in the CDR
    Other

## Slide 5: SAWG May Meeting – SARA Probabilistic Model, Final
Model updates since last version:
  New hourly wind profiles
    Aggregated profiles to account for all operational and planned resources in the Final Summer SARA report
    Accounted for solar SODGs in the profiles by scaling up based on fleet average capacity factors and total SODG nameplate MW
  Incorporated probabilistic modeling for certain capacity categories available during EEAs
    Switchable Generation Resource (SWGRs) units for which SPP is the current “Controlling Party,” but can be requested by ERCOT during an Emergency Condition
    Remaining DC tie capacity above the 850 MW expectation, which is based on the CDR methodology
  Updated operational thermal and hydro capacity to match the Final Summer SARA
  Incorporated probabilistic modeling of utility-scale solar output
  Included ERS procurement capacity for the June-September 2020 Standard Contract Term
  Incremental rooftop solar PV updated based on the “Moderate” penetration scenario reported in the May CDR

## Slide 6: SAWG May Meeting – SARA Probabilistic Model, Final
Findings and Conclusions:
  Probability of ERCOT needing to declare an EEA is 26% based on Final Summer SARA peak load forecast, which accounts for COVID-19 impacts; probability is 38% using the Preliminary Summer SARA forecast
  Relative to the traditional SARA report, probabilistic modeling demonstrates the impact of considering joint probabilities of risk variables and a full range of capacity reserve outcomes
  Wind output is the most important EEA risk determinant
  HE 5:00 is the biggest EEA risk hour and the EEA risk is roughly symmetrical for hours before and after HE 5:00 pm

## Slide 7: SAWG May Meeting – Follow ups
To be posted with notice to listserv:
  Probabilistic SARA Model files, posted to May SAWG meeting webpage
  Operational wind files from Wind & Solar profile update, posted to Resource Adequacy webpage
Requests for follow-up discussion at future SAWG:
  Biomass SODG capacity contribution
  Regions for Solar capacity contribution, like wind

## Slide 8: Next SAWG Meeting
June 22nd
  Storage Capacity Contribution refresh and discussion on interim solution
  Identify options for addressing transparency/resource ownership for resources included in CDR (Gibbons Creek)
  Review Methodology used to determine CONE: revisit revised “CONE Study Methodology Draft” & proposed NPRR for Section 4.4.11 (1)(c) “System-wide Offer Caps”