## Slide 1
Recommendations from the
2019 State of the Market Report by the Independent Market Monitor (IMM)
Carrie Bivens
ERCOT IMM Director
cbivens@potomaceconomics.com
Wholesale Market Subcommittee
ERCOT Public
July 8, 2020

## Slide 2: 2019 State of the Market Recommendations
Remove RUC opt-out
Capacity Commitment Timing – July and August
Hour Ending 12 through 20

## Slide 3: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Contingency constraints are only activated if the following conditions are met:
  Above Loading Threshold: loaded at 98% of Emergency Limit
  Shift Factors Available: there exists a Resource Shift Factor ≥ 2% (absolute value)
  Not Redundant: a similar constraint is not already activated
Source: January 2020 CMWG

## Slide 4: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
The current method of transmission cost allocation provides incentives for load to behave in ways that do not necessarily forestall the construction of new transmission equipment and that do not apply equally to all loads.

## Slide 5: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
Include shadow price of AS constraints in clearing prices
Daily Average of Responsive Reserves Provided by Load Resources

## Slide 6: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
Include shadow price of AS constraints in clearing prices
Modifications to RDPA
  Reliability MWs, not market MWs
  Adjust restoration time
  Remove ERS deployed MWs from ORDC reserve calculations
Source: 2019 Annual Report of Demand Response in the ERCOT Region (Mar. 2020)
ERS-30 deployment event on August 15, 2019

## Slide 7: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
Include shadow price of AS constraints in clearing prices
Modifications to RDPA
  Reliability MWs, not market MWs
  Adjust restoration time
  Remove ERS deployed MWs from ORDC reserve calculations
Local (zonal) RDPA
Chart: RUC Generators
| West | North | South | Houston
 | 54 | 25 | 20 | 1
Chart: RUC Commitment Reasons
| Capacity | Transmission constraint(s)
 | 14 | 86

## Slide 8: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
Include shadow price of AS constraints in clearing prices
Modifications to RDPA
  Reliability MWs, not market MWs
  Adjust restoration time
  Remove ERS deployed MWs from ORDC reserve calculations
Local (zonal) RDPA
Mitigated offer changes
  Commitment costs for RUC intervals
  Opportunity costs
  Ensure no fixed/non-marginal costs included in fuel adder
- Marginal costs include more than direct financial costs, including risk and opportunity costs
- Commitment costs (startup and min-energy) should be factored into the mitigated offer when ERCOT makes the commitment decision.

## Slide 9: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
Include shadow price of AS constraints in clearing prices
Modifications to RDPA
  Reliability MWs, not market MWs
  Adjust restoration time
  Remove ERS deployed MWs from ORDC reserve calculations
Local (zonal) RDPA
Mitigated offer changes
  Commitment costs for RUC intervals
  Opportunity costs
  Ensure no fixed/non-marginal costs included in fuel adder
Implement transmission demand curves
Chart: RUC Generators
Chart: RUC Commitment Reasons
Percentage Overload of Violated Constraints

## Slide 10: 2019 State of the Market Recommendations
Remove RUC opt-out
Eliminate 2% rule
Change transmission cost allocation
Include shadow price of AS constraints in clearing prices
Modifications to RDPA
  Reliability MWs, not market MWs
  Adjust restoration time
  Remove ERS deployed MWs from ORDC reserve calculations
Local (zonal) RDPA
Mitigated offer changes
  Commitment costs for RUC intervals
  Opportunity costs
  Ensure no fixed/non-marginal costs included in fuel adder
Implement transmission demand curves
Chart: RUC Generators
Chart: RUC Commitment Reasons
Full 2019 State of the Market Report can be found here