## Slide 1: NPRR 994 Will Discourage Investment
ERCOT Operations becoming dangerous because of poor transmission infrastructure
TSP interconnect practices unnecessarily restrictive
Limited or no effective way for TSPs or ERCOT to resolve extensive congestion issues – especially GTCs and RAS
Generation curtailments dramatically impact generation revenues
ERCOT market participants caused this problem and they can solve it
Walter Reid on behalf of the Advanced Power Alliance (APA)

## Slide 2: 215NOGRR Limit Use of Remedial Action Schemes
ERCOT has noted an increase in the number of RASs that are being proposed for new Generation Resources that are being planned in areas where the Resources would need to be curtailed on a near constant basis to maintain the reliability of the transmission grid in the immediate area. It is expected that the number of such RAS proposals will continue to significantly increase, based on the locations and unit sizes being considered in the interconnection process.
ERCOT is concerned that such a large increase in the number of RASs could significantly and negatively impact the reliability of the ERCOT System.

## Slide 3: Challenges Associated with Increasing Number of GTCs
Each additional GTC:
  Takes space on the wallboard and SCED/TCM displays
  Has to have GTL calculated daily, two days in advance, for consideration in the MMS applications
  Needs to be manually maintained in situational awareness tools
  Requires maintenance of real-time applications (e.g. VSAT cases) and static limit tables
  Needs study/posting updates as the topology changes
  Requires operator training for any changes
Must balance guiding principles against these practical challenges
  May result in less-efficient solutions
Chad Thompson
February 24, 2020
ERCOT GTC Workshop

## Slide 4: TSP interconnect Practices Unnecessarily Restrictive
Before 2010 TSPs addressed interconnect transmission issues
Since 2010 TSPs have only provide the interconnecting substation
No changes in PUCT interconnect rules for decades
ERCOT market participants, ERCOT, and TSPs changed procedures and Protocols resulting in minimalist interconnect processes for new generation
Questionable adherence to “Good Utility Practices”
Questionable provision of equal access
Protocols still allow for TSPs to consider solving interconnect transmission issues
  ERCOT shall perform an independent economic analysis of the transmission projects that are identified through this process that are expected to cost more than $25,000,000. This economic analysis is performed only for informational purposes; as such, no ERCOT endorsement will be provided. The results of the economic analysis shall be included in the interconnection study posting.

## Slide 5: GTCs Send Major Negative Signal to Developers
No way for developers to anticipate creation of new GTCs
The QSA comes late in the resource development process – cancelling the project is not practical
Exit strategy required but no requirement to actually exit
The number of GTCs is high and increasing
GTCs require ERCOT operator interaction to initiate and terminate GTLs
GTLs are determined offline for “assumed” system conditions

## Slide 6: Limited or no effective way for TSPs or ERCOT to resolve extensive congestion issues
Current C/B procedures consider only energy curtailment costs and some line maintenance costs
  “The commission concludes that indirect benefits and costs can also be considered in the cost-benefit study”
  Brattle ERCOT-Staff LTS Report
TSPs don’t feel empowered to solve transmission issues associated with interconnection – they need better authority:
  Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid and any projects needed to ensure that all Generation Resources at that substation can reliably and simultaneously generate at capacity under P0, P1, and P7 conditions of the NERC Reliability Standard addressing Transmission System Planning Performance Requirements assuming Generation Resources at other substations can be redispatched

## Slide 7: Generation Curtailments Dramatically Impact Generation Revenues
When generators are curtailed there is some loss of energy production and associated revenues
The large impact is that the generator’s offer price becomes the settlement price thus eliminating all profit from the energy that is produced
Curtailments occur when the resource is producing the most, thus profits from the best producing hours is lost
For generators in GTCs, if any one generator is curtailed, all generators in the GTC lose revenue from their production even if not curtailed

## Slide 8: Possible Solutions
Require TSPs to identify congestion for typical production expectations and then propose solutions
Reconsider Brattle C/B evaluation options
Consider basing benefit on the total output of the new generator, not just the curtailed energy
For GTCs add a reliability benefit credit
Allow for partial funding of transmission by market participants
Provide CRRs to participants that fund transmission
Consider at least n-1-1 in C/B to allow for maintenance effects

## Slide 9: CHANGE 994 CLARIFICATION
Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid and any projects needed to ensure that all Generation Resources at that substation can reliably and simultaneously generate at capacity under P0, P1, and P7 conditions of the NERC Reliability Standard addressing Transmission System Planning Performance Requirements assuming Generation Resources at other substations can be redispatched