| NPRR Number | 1020 | NPRR Title | Add Definition of Integrated Battery Storage Systems (IBSS) |
| --- | --- | --- | --- |
| Date Posted |  | April 28, 2020 |  |
| Requested Resolution |  | Urgent. This Nodal Protocol Revision Request (NPPR) adds a definition of Integrated Battery Storage System (IBSS) to establish clarity that these technologies are eligible for treatment as Wholesale Storage Load (WSL). The current lack of clarity is preventing developers from using this advanced, highly efficient technology to provide new capacity to the ERCOT System as early as 2021. The Protocols should be revised to be clear that this new battery technology can be interconnected and operate as a Resource. |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 2.2, Acronyms and Abbreviations |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This NPRR clarifies that emerging battery storage technologies can be interconnected and operated as a Resource. Specifically, the NPRR proposes to add a definition of IBSS and modifies the definition of WSL to include IBSS. This NPRR does not contemplate that the proposed definition of IBSS will be used in Protocol language independent of the WSL definition. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board): Grid modernization and complexity; Changing resource mix Market efficiencies or enhancements Administrative Regulatory requirements Other: Support deployment of battery storage capacity in ERCOT and reduce regulatory uncertainty for storage developers |  |
| Business Case |  | The purpose of this NPRR is to affirm that WSL treatment is available to emerging energy storage technologies that are characterized by the integration of essential battery components and critical systems within a single self-contained enclosure by the original equipment manufacturer. The energy conversion process (charging/discharging of the batteries) cannot function without these critical systems. These systems include hardware controls (circuit boards) and liquid-cooled thermal regulation that is directly installed by the manufacturer and requires no on-site assembly. These components cannot be separated from the rest of the battery storage system – within the self-contained unit, all components and systems are tightly integrated. IBSSs are an emerging technology characterized by a modular (prefabricated) and easy-install design. These are energy-dense, high-efficiency storage systems that provide increased storage functionality at reduced costs. Many newer utility-scale energy storage systems installed around the world employ this innovative storage technology. The Protocols should be revised to be clear that this new battery technology can be interconnected and operate as a Resource. |  |

| Sponsor |  |
| --- | --- |
| Name | Sarah Van Cleve |
| E-mail Address | svancleve@tesla.com |
| Company | Tesla |
| Phone Number |  |
| Cell Number | 609-638-6992 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-636-1852 |

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

- Energy Storage System (ESS)

- A facility, process, or device(s) that receives electric energy and stores it, in any form, for the purpose of later releasing electrical energy.

Integrated Battery Storage System (IBSS)

A battery Energy Storage System that is designed by the original equipment manufacturer as a single, self-contained enclosure, contains closely integrated critical system components without which the energy conversion process cannot occur and which cannot be separately powered, does not require onsite assembly, and does not require external systems support other than for purposes of facilitating grid interactivity and operator communications.

Load

The amount of energy in MWh delivered at any specified point or points on a system.

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes losses for the energy conversion process that are captured by the WSL EPS Meter.  WSL is limited to the following technologies: batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, IBSSs, and thermal energy storage associated with turbine inlet chilling.

[PIR003: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On June 11, 2013, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A061113-1, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

[PIR004: ERCOT Protocol Interpretation of Wholesale Storage Load (WSL):] On August 16, 2016, ERCOT issued a Protocol Interpretation on the definition of Wholesale Storage Load (WSL) – providing additional guidance on which facilities are eligible for Settlement treatment under WSL. See Market Notice M-A081616-01, Protocol Interpretation Request – Wholesale Storage Load, at http://www.ercot.com/mktrules/nprotocols/pir_process.html for full details of the Protocol Interpretation of WSL.

## 2.2	ACRONYMS AND ABBREVIATIONS

IBSS	Integrated Battery Storage System