APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, June 4, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Trading North America |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Aldridge, Ryan |  | AB Power Advisors |  |  |  |
| Alford, Anthony |  | CenterPoint Energy |  |  |  |
| Barnes, Bill |  | NRG |  |  |  |
| Bennett, Stacie |  | Lone Star Transmission |  |  |  |
| Benson, Mariah |  | PUCT |  |  |  |
| Bruce, Mark |  | Cratylus Advisors |  |  |  |
| Bruns, Scott |  | Direct Energy |  |  |  |
| Carpenter, Jeremy |  | Tenaska Power Services |  |  |  |
| Checkley, Jim |  | CTT |  |  |  |
| Coleman, Diana |  | CPS Energy |  |  |  |
| Cook, Tim |  | CTT |  |  |  |
| Davis, Micheal |  | CenterPoint Energy |  |  |  |
| Deike, Roland |  | CenterPoint Energy |  |  |  |
| DeWitt, Charles |  | Pedernales Electric Cooperative |  |  |  |
| Donohoo, Ken |  | EPE Consulting |  |  |  |
| Downey, Marty |  |  |  |  |  |
| Dreyfus, Mark |  | MD Energy Consulting |  |  |  |
| Dumas, John |  | LCRA |  |  |  |
| Egunjobi, Ransome |  | LCRA |  |  |  |
| Floyd, Rickey |  | Oncor |  |  |  |
| Gross, Blake |  | AEPSC |  |  |  |
| Guo, Chenyan |  | Lone Star Transmission |  |  |  |
| Hayden, Mario |  | Enel Green Power |  |  |  |
| Helton, Bob |  | ENGIE |  |  |  |
| Henry, Mark |  | Texas Reliability Entity |  |  |  |
| Henson, Martha |  | Oncor |  |  |  |
| Huynh, Thuy |  | Potomac Economics |  |  |  |
| Jablonski, Ward |  | CenterPoint Energy |  |  |  |
| Johnson, Anthony |  | CenterPoint Energy |  |  |  |
| Jolly, Emily |  | LCRA |  |  |  |
| Jones, Randy |  | Mountaineer Market Advisors |  |  |  |
| Joshi, Karan |  | Pattern Energy |  |  |  |
| Kandah, Amjed |  | Oncor |  |  |  |
| Kee, David |  | CPS Energy |  |  |  |
| Khan, Naved |  | LCRA |  |  |  |
| Khayat, Maribel |  | CenterPoint Energy |  |  |  |
| Mathew, Biju |  | LCRA |  |  |  |
| Mercado, David |  | CenterPoint Energy |  |  |  |
| Mulholland, Chad |  | NRG |  |  |  |
| Musher, Danny |  | Key Capture Energy |  |  |  |
| Nagarajan, Ramya |  | CTT |  |  |  |
| Pappu, Ajay |  | Invenergy |  |  |  |
| Penney, David |  | Texas Reliability Entity |  |  |  |
| Ranaweera, Aruna |  | RWE Renewables |  |  |  |
| Reid, Walter |  | Advanced Power Alliance |  |  |  |
| Rich, Katie |  | Golden Spread Electric Cooperative |  |  |  |
| Richmond, Michele |  | TCPA |  |  |  |
| Rochelle, Jennifer |  | Customized Energy Solutions |  |  |  |
| Sams, Bryan |  | Calpine Corporation |  |  |  |
| Schauer, Trent |  | AB Power Advisors |  |  |  |
| Schwarz, Brad |  | Sharyland |  |  |  |
| Siddiqi, Shams |  | Crescent Power Consulting |  |  |  |
| Smith, Caitlin |  | AB Power Advisors |  |  |  |
| Smith, Chris |  | Austin Energy |  |  |  |
| St. John, Dylan |  | LCRA |  |  |  |
| Stupar, Rob |  | Invenergy |  |  |  |
| Varnell, John |  | Tenaska Power Services |  |  |  |
| Velasquez, Ivan |  | Oncor |  |  |  |
| White, Lauri |  | AEP Texas |  |  |  |
| Whitworth, Doug |  | Texas Reliability Entity |  |  |  |
| Wittmeyer, Bob |  | Longhorn Power |  |  |  |
| Woods, Brad |  | Texas Reliability Entity |  |  |  |
| Yater, J-M |  | CenterPoint Energy |  |  |  |
| Younger, Joseph |  | Texas Reliability Entity |  |  |  |
| ERCOT Staff: |  |  |  |  |  |
| Albracht, Brittney |  |  |  |  |  |
| Bernecker, John |  |  |  |  |  |
| Billo, Jeff |  |  |  |  |  |
| Blevins, Bill |  |  |  |  |  |
| Boren, Ann |  |  |  |  |  |
| Bracy, Phil |  |  |  |  |  |
| Cheng, Yunzhi |  |  |  |  |  |
| Clifton, Suzy |  |  |  |  |  |
| Du, Pengwei |  |  |  |  |  |
| Garcia, Freddy |  |  |  |  |  |
| Gnanam, Prabhu |  |  |  |  |  |
| Flores, Isabel |  |  |  |  |  |
| Frosch, Colleen |  |  |  |  |  |
| Hale, Aubrey |  |  |  |  |  |
| Huang, Fred |  |  |  |  |  |
| Hull, Gibson |  |  |  |  |  |
| Jones, Dan |  |  |  |  |  |
| Kane, Erika |  |  |  |  |  |
| Lasher, Warren |  |  |  |  |  |
| Mago, Nitika |  |  |  |  |  |
| Mantena, Dan |  |  |  |  |  |
| Miller, Megan |  |  |  |  |  |
| Phillips, Cory |  |  |  |  |  |
| Ragsdale, Kenneth |  |  |  |  |  |
| Sanchez, Lili |  |  |  |  |  |
| Schmall, John |  |  |  |  |  |
| Sharma, Sandip |  |  |  |  |  |
| Shaw, Pamela |  |  |  |  |  |
| Stice, Clayton |  |  |  |  |  |
| Teixeira, Jay |  |  |  |  |  |
| Thompson, Chad |  |  |  |  |  |
| Thompson, Lori |  |  |  |  |  |
| Thuerwaechter, Kashia |  |  |  |  |  |
| Troublefield, Jordan |  |  |  |  |  |
| Woodfin, Dan |  |  |  |  |  |
| Xiao, Hong |  |  |  |  |  |
| Yan, Ping |  |  |  |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the June 4, 2020 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order of the agenda.

- Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch summarized discussion from the May 27, 2020 TAC Information Session, noted that the TAC Procedures, effective June 1, 2020 allow remote voting for TAC and TAC Subcommittees, and reviewed the proposed voting process to maximize efficiencies for items to be considered by ROS.  There were no questions or comments from Market Participants.

- Approval of Meeting Minutes (see Key Documents)

- February 6, 2020

- Market Participants reviewed the February 6, 2020 ROS Meeting Minutes.  Mr. Bunch noted this item was slated for inclusion in Combined Ballot A.  There were no questions or comments from Market Participants.

Texas RE Assessment of Reliability Performance (See Key Documents)

Mark Henry presented an assessment of 2019 reliability performance to the ROS.  Market Participants briefly discussed study assumptions and results.

- ERCOT Reports (see Key Documents)

Operations Report

- Nitika Mago reviewed the April 2020 Operations Report.  There were no questions or comments from Market Participants.

System Planning Report

Jeff Billo presented the April 2020 System Planning Report.  ERCOT Staff responded to questions and comments from Market Participants.

Distributed Generation (DG) and Institute of Electrical and Electronics Engineers (IEEE) 1547 -2018 Studies

Bill Blevins summarized the Dynamic Voltage Stability Assessment and Frequency Response Study, highlighted the benefits of DER ride-through, reviewed current Public Utility Commission of Texas (PUCT) rules for DER voltage and frequency, noted other Independent System Operators (ISOs) are doing similar studies and reporting similar benefits to adopting 1547-2018 IEEE Standard for Interconnection and Interoperability of Distributed Energy Resources with Associated Electric Power Systems Interfaces and regions, and stated that ERCOT recommends adopting 1547-2018 in 2021 or 2022.  Mr. Blevins responded to questions and comments from Market Participants.

Other Binding Document Revision Request (OBDRR) 021, Correction to Calculation in Procedure for Calculating Responsive Reserve (RRS) Limits for Individual Resources

- Ms. Mago summarized OBDRR021 and discussions at the Performance Disturbance Compliance Working Group (PDCWG) meetings.  There were no questions or comments from Market Participants.  Mr. Bunch noted OBDRR021 was slated for inclusion in Combined Ballot A.  There were no objections from Market Participants.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 994, Clarify Generator Interconnection Neutral Project Classification

Mr. Billo summarized NPRR994 and the 4/15/20 ERCOT comments and responded to questions and comments from Market Participants.  Some Market Participants expressed concern for the impacts to developers in implementing NPRR994, and recalled the history of NPRR913, Generator Interconnection Neutral Project Classification, which was rejected, and acknowledged the need for additional review of market issues at the Wholesale Market Working Group (WMS).

Ian Haley moved to endorse NPRR994 as amended by the 4/15/20 ERCOT comments.  Wes Woitt seconded the motion.  The motion carried via roll call vote with two objections from the Consumer (Sierra Club) and Independent Power Marketer (IPM) (Morgan Stanley) Market Segments, and three abstentions from the Independent Generator (RWE, Southern Power, Calpine) Market Segment.  (Please see ballot posted with Key Documents.)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

Mr. Bunch summarized NPRR979, the 5/22/20 Oncor comments and 6/2/20 EDF comments, and discussion at the June 3, 2020 WMS meeting.  Katie Rich reviewed the telemetry validation issues discussed at the June 1, 2020 Congestion Management Working Group (CMWG) meeting.  Market Participants requested further review of the issues by the Operations Working Group (OWG).

Review of ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 076, Improvements to Generation Resource Interconnection or Change Request (GINR) Process

Jay Teixeira summarized PGRR076 and the 5/26/20 ERCOT comments.  Danny Musher summarized the 5/28/20 KCE comments.  Market Participants and ERCOT Staff discussed the shortened timeline for reviewing reactive studies and potential cost impacts in consideration of the 5/28/20 KCE comments.  Market Participants requested the opportunity to review the revised Impact Analysis.

Clayton Greer moved to endorse the 5/11/20 ROS Report as revised by the 5/28/20 KCE comments, and that the revised Impact Analysis for PGRR076 return to ROS.  Resmi Surendran seconded the motion.  The motion carried via roll call vote with one objection from the Cooperative (STEC) Market Segment.  (Please see ballot posted with Key Documents.)

PGRR078, Market Data Transparency Update for Planning Postings

- Market Participants debated whether ERCOT is required to post screening studies.  ERCOT Staff encouraged Market Participants to consider that issue in a separate Revision Request.  Mr. Bunch noted PGRR078 was slated for inclusion in Combined Ballot A.  There were no objections from Market Participants.

PGRR080, Updated Responsibilities for Performing GMD Vulnerability Assessments

- Mr. Bunch noted PGRR080 was slated for inclusion in Combined Ballot A.  There were no objections from Market Participants.

Language Review

Nodal Operating Guide Revision Request (NOGRR) 207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications siting with 1001 here

- Dan Woodfin summarized NOGRR207.  Some Market Participants requested additional time to review NOGRR207.  Mr. Bunch noted NOGRR207 was slated for inclusion in Combined Ballot B.  There were no objections from Market Participants.

NOGRR212, Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

- Mr. Blevins summarized NOGRR212 and the 5/28/20 ERCOT comments and offered further clarifications.  Market Participants expressed support for the proposed clarifications.  Mr. Bunch noted NOGRR212 was slated for inclusion in Combined Ballot A.  There were no objections from Market Participants.

Resource Registration Glossary Revision Request (RRGRR) 026, Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

- Mr. Bunch noted RRGRR026 was slated for inclusion in Combined Ballot A.  There were no objections from Market Participants.

NOGRR214, Geomagnetic Disturbance (GMD) Measurement Data Reporting

- Mr. Bunch noted NOGRR214 was slated for inclusion in Combined Ballot B.  There were no objections from Market Participants.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

PGRR077, DC Tie Planning Assumptions

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on these items.

NOGRR195, Generator Voltage Control Tolerance Band

Market Participants debated further review of NOGRR195 and the 6/2/20 LCRA comments by OWG.  Freddy Garcia noted the extensive vetting of NOGRR195 in the stakeholder process.

Dennis Kunkel moved to recommend approval of NOGRR195 as amended by the 6/2/20 LCRA comments.  Bill Valagura seconded the motion.  The motion carried via roll call vote with one objection from the Independent Generator (Southern Power) Market Segment and six abstentions from the Consumer (2) (OPUC, Sierra Club), Independent Generator (1) (Luminant), and IPM (3) (EDF Trading North America, Shell Energy, Morgan Stanley) Market Segments.  (Please see ballot posted with Key Documents.)

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities, including Revision Requests and issues assigned to OWG.

NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

NOGRR208, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

RRGRR023, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

NOGRR209, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

RRGRR024, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

PGRR079, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

Mr. Bunch noted NPRR1002, NOGRR208, RRGRR023, NOGRR209, RGRR024, and PGRR079 were slated for inclusion in Combined Ballot C.  There were no objections from Market Participants.

NOGRR211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

Mr. Bunch noted the desire to table NOGRR211 for review of the issues by the Real-Time Co-Optimization Task Force (RTCTF) and that it was slated for inclusion in Combined Ballot D.  There were no objections from Market Participants.

Voltage Profile Working Group (VPWG)

Biju Mathew reviewed VPWG activities, including Revision Requests and issues assigned to VPWG.

NOGRR210, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

RRGRR025, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

Market Participants and ERCOT Staff discussed NOGRR210 and RRGRR025.  ERCOT Staff reviewed proposed clarifications to NOGRR210.  Market Participants requested further review of the issues.  Mr. Bunch noted NOGRR210 and RRGRR025 were slated for inclusion in Combined Ballot D.  There were no objections from Market Participants.

Dynamic Working Group (DWG) (see Key Documents)

Ransome Egunjobi reviewed DWG activities and responded to Market Participant questions and concerns regarding adopting PSS/e version 35 for the 2023 Flat Start Case build.

Combined Ballots

Combined Ballot A

Mr. Greer moved to approve Combined Ballot A as follows:

- To approve the February 6, 2020 ROS meeting minutes as submitted

- To endorse OBDRR021 as submitted

- To endorse and forward to TAC the 5/11/20 ROS Report and the Impact Analysis for PGRR078

- To endorse and forward to TAC the 5/11/20 ROS Report and the Impact Analysis for PGRR080

- To recommend approval of NOGRR212 as amended by the 5/28/20 ERCOT Comments as revised by ROS

- To recommend approval of RRGRR026 as submitted

Eithar Nashawati seconded the motion.  The motions carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Combined Ballot B

Mr. Greer moved to approve Combined Ballot B as follows:

- To table NOGRR207

- To table NOGRR214 and refer the issue to the Planning Geomagnetic Disturbance Task Force (PGDTF)

Shawnee Claiborn-Pinto seconded the motion.  The motions carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Combined Ballot C

Mr. Greer moved to approve Combined Ballot C as follows:

- To endorse NPRR1002 as amended by the 5/7/20 ERCOT comments

- To recommend approval of NOGRR208 as submitted

- To recommend approval of RRGRR023 as amended by the 5/27/20 ERCOT comments

- To recommend approval of NOGRR209 as submitted

- To recommend approval of RRGRR024 as submitted

- To recommend approval of PGRR079 as amended by the 4/20/20 PLWG comments

Mr. Kunkel seconded the motion.  The motions carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Combined Ballot D

Mr. Greer moved to approve Combined Ballot D as follows:

- To table NOGRR210

- To table RRGRR025

- To table NOGRR211

Mr. Kunkel seconded the motion.  The motions carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG ) (see Key Documents)

J-M Yatar reviewed NDSWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Mr. Bunch noted the SSWG report was posted to the meeting page.

Other Business

May 28 MIS Sandbox Release

Aubrey Hale encouraged Market Participants to explore the sandbox Market Information System (MIS) and provide comments on the MIS redesign to ERCOT in advance of the June 24, 2020 MIS and ERCOT.com User Workshop.

Review of Open Action Items

Market Participants reviewed the Open Action Items list.

No Report

- Black Start Working Group (BSWG)

- Operations Training Group (OTWG)

- PDCWG

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- Planning Working Group (PLWG)

- System Protection Working Group (SPWG)

Adjournment

Mr. Bunch adjourned the June 4, 2020 ROS meeting 2:10 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2020/6/4/189393-ROS

http://www.ercot.com/mktrules/issues/NPRR994#keydocs

http://www.ercot.com/mktrules/issues/PGRR076#keydocs

http://www.ercot.com/mktrules/issues/NOGRR195#keydocs