## Slide 1: PLWG report to ROS July 9, 2020
Report based on PLWG June 17th, 2020
WebEx only meeting

## Slide 2: BESS Assumptions for Planning Studies (BESTF KTC10)
  ERCOT presented how they plan to model Energy Storage Resources (ESR) specifically Battery Energy Storage Systems (BESS) in Planning Studies (both reliability and economic).
  Discussion around the appropriate Energy to Power ratio to assume and how the charging will be reflected in the load forecast.
  Comments are to be sent to John Bernecker at ERCOT.
  Presentation posted - ERCOT Calendar for PLWG June 17 Meeting: http://www.ercot.com/calendar/2020/6/17/191707-PLWG

## Slide 3: NPRR1026 and PGRR081 BESTF-7 Self-Limiting Facilities and Self-Limiting Resources
  NPRR1026 and PGRR081 were introduced at PLWG.
  Discussion around how best to ensure these types of resources stay within its maximum MW Injection or maximum MW Withdrawal limits.
  Also discussed how these types of resources will be evaluated in the Generation Resource Interconnection or Change Request process.
  Both revision requests will go through the BESTF and the other revision request processes so Stakeholders can submit their concerns and comments.

## Slide 4: Small Economic Driven Transmission Projects
  ERCOT introduced the concept for a new transmission project type that came from discussions with developers that would address congestion on short lines using ERCOT economic criteria.
  ERCOT is working on a formal presentation for a future PLWG meeting.