## Slide 1: DWG Report to ROS July, 2020
DWG Webex Meeting held on 6/25/2020
Using July SSWG seed case for 2020 DWG Flatstart case build
Use Siemens PSS/e v33 for 2020 Farstart case build
Proposed adopting PSS/e v35 for 2023 DWG Flatstart case (i.e. 2022 Flatstart case build to commence with PSS/e v35)
Presented Dynamic Load Model (CMLD) language change to DWG. Ongoing review, feedbacks and comments from TSPs. Working on PGRR for CMLD model adoption
Next DWG meeting on August 11th, 2020

## Slide 2: Benefits of moving to PSS/e v35
v35 supports enhanced performance with 64-bit and can handle larger contingency cases
64-bit also supports Python 3 tool
Less future major version transition for inverter-based GOs and other UDMs
Improved node-breaker model
No new updates for v33 and limited technical support

## Slide 3: Benefits of moving to PSS/e v35
Enhanced Report Tables with Export Capabilities to csv or Excel
Improved reports such as Violation tables for Contingency Analysis
Progressive stalling features in v35 CMLD
v35 supports with load type and composite load modularization
Enhanced Composite Load Model (CMLD), DER_A + CMLD (CMLDBLDGU2)
Increased dimensions to support high penetration of renewables
Robust power flow solution bringing better case convergence (Automatic switch between power flow solution methods)

## Slide 4: QUESTIONS???