## Slide 1
NOGRR 215
Reliability and Operations Subcommittee
July 9, 2020

## Slide 2: Business Case
Significant increase in interest regarding RASs for new generators being developed in areas where interconnection studies for those new generators have demonstrated that the local transmission system cannot handle delivery of the capacity from the new and existing generation.
ERCOT is expecting many more requests of this type, barring some change.

## Slide 3: Business Case
There are many reasons that an increase in number of RASs will negatively impact system reliability and increase risk to ERCOT System.
  Increased risk on ability to recognize an Outage’s impact on RAS.
  Increasing difficulty with recognizing impact of combinations of Outages on multiple RAS.
  Increased risk associated with RAS-RAS interactions in RAS-concentrated areas.
  Needed generation not committed in MMS due to treatment of RASs and related contingencies.

## Slide 4: Business Case
  Increased compliance burden on RAS Entities and ERCOT.
  Other risks are described in the NOGRR Business Case section.
  Post-contingency, pre-RAS system conditions are meeting the criteria for potential cascading Outages (need RAS + GTC to ensure reliability, which is 2x risk compared to no RAS)
    Under normal conditions and during Outages
    RAS misoperation could lead to cascading Outages

## Slide 5: Language Overview
Reliability RAS
  Limit RASs to those needed to avoid actual or anticipated transmission security criteria in Operating Guide 2.2.2.
  RAS may not be used for constraints that can be resolved through market tools.
Exit Strategy
  Exit Strategy no longer required as part of RAS proposal.
  Provide strategy if one has been identified, for example through planned transmission project.
ERCOT RAS review
  Align with current practice of reviewing new, modified, retirement RAS proposals.
  Issue Market Notice for proposals and approvals.

## Slide 6: Language Overview
Retirement
  Retirement may be proposed by RAS Entity and evaluated through normal processes.
  ERCOT can determine a RAS is no longer needed through an ERCOT-initiated review (ex: 5 yr. review) or through transmission planning process.

## Slide 7: Discussion
Questions?