## Slide 1
Reporting on Statistics for
EPS Meter Activity
Jul 23, 2020

## Slide 2: Notices issued January through March 2020
 | January | February | March
Total Notices Issued | 330 | 280 | 182
Total 6 Hours issued | 53 | 22 | 15
Total 12 Hours issued | 110 | 108 | 48
Total 5 days issued | 167 | 150 | 119
Total Notices Issued for IP | 39 | 56 | 9
Total Notices Issued for Phone Line | 291 | 224 | 173
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR JANUARY | % OF TOTAL NOTICES ISSUED FOR FEBRUARY | % OF TOTAL NOTICES ISSUED FOR MARCH *
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP B | 0% | 100% | 6.06% | 0.36% | 0.00%
TDSP C | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP D | 42% | 58% | 0.91% | 0.00% | 0.00%
TDSP J | 100% | 0% | 0.00% | 1.43% | 0.00%
TDSP O | 0% | 100% | 0.00% | 0.36% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.71% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 13.57% | 0.00%
TDSP W | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP F | 0% | 100% | 1.52% | 1.79% | 0.55%
TDSP S | 100% | 0% | 0.00% | 0.00% | 0.55%
TDSP I | 49% | 51% | 2.42% | 2.86% | 1.10%
TDSP L | 100% | 0% | 0.00% | 3.21% | 1.10%
TDSP K | 38% | 62% | 0.91% | 2.86% | 3.85%
TDSP M | 88% | 13% | 1.82% | 1.43% | 5.49%
TDSP N | 55% | 45% | 8.79% | 9.64% | 7.69%
TDSP H | 96% | 4% | 4.55% | 5.36% | 8.24%
TDSP E | 100% | 0% | 20.91% | 8.57% | 9.89%
TDSP R | 63% | 37% | 13.03% | 7.50% | 12.09%
TDSP Q | 17% | 83% | 13.03% | 18.57% | 14.84%
TDSP P | 61% | 39% | 26.06% | 21.79% | 34.62%

## Slide 3: Notices issued April through June 2020
 | April | May | June
Total Notices Issued | 168 | 151 | 456
Total 6 Hours issued | 22 | 27 | 96
Total 12 Hours issued | 46 | 78 | 235
Total 5 days issued | 100 | 46 | 125
Total Notices Issued for IP | 15 | 20 | 29
Total Notices Issued for Phone Line | 153 | 131 | 427
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR APRIL | % OF TOTAL NOTICES ISSUED FOR MAY | % OF TOTAL NOTICES ISSUED FOR JUNE *
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP B | 0% | 100% | 1.19% | 0.00% | 0.00%
TDSP C | 0% | 100% | 0.00% | 0.66% | 0.00%
TDSP F | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP J | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP K | 38% | 62% | 0.00% | 3.97% | 0.00%
TDSP L | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.66% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP D | 42% | 58% | 0.60% | 2.65% | 0.22%
TDSP M | 88% | 13% | 1.19% | 1.99% | 0.22%
TDSP W | 100% | 0% | 1.79% | 0.00% | 0.22%
TDSP O | 0% | 100% | 0.00% | 0.00% | 0.44%
TDSP I | 49% | 51% | 0.60% | 0.66% | 1.75%
TDSP R | 63% | 37% | 3.57% | 8.61% | 3.73%
TDSP Q | 17% | 83% | 9.52% | 7.28% | 5.48%
TDSP N | 55% | 45% | 2.38% | 10.60% | 8.33%
TDSP H | 96% | 4% | 7.14% | 13.25% | 13.82%
TDSP P | 61% | 39% | 43.45% | 21.19% | 15.57%
TDSP E | 100% | 0% | 28.57% | 28.48% | 50.22%

## Slide 4: 2020 Notices – Total and Overdue
Overdue timeframes:
6-hour = Open over 12 hours;
12-hour = Open over 48 hours;
5-day = Open over 10 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 53 | 22 | 41.51%
 | 12-hour | 110 | 60 | 54.55%
 | 5-day | 167 | 18 | 10.78%
 | Total | 330 | 100 | 30.30%
February | 6-hour | 22 | 11 | 50.00%
 | 12-hour | 108 | 9 | 8.33%
 | 5-day | 150 | 14 | 9.33%
 | Total | 280 | 34 | 12.14%
March | 6-hour | 15 | 8 | 53.33%
 | 12-hour | 48 | 14 | 29.17%
 | 5-day | 119 | 19 | 15.97%
 | Total | 182 | 41 | 22.53%
April | 6-hour | 22 | 7 | 31.82%
 | 12-hour | 46 | 17 | 36.96%
 | 5-day | 100 | 27 | 27.00%
 | Total | 168 | 51 | 30.36%
May | 6-hour | 27 | 10 | 37.04%
 | 12-hour | 78 | 30 | 38.46%
 | 5-day | 46 | 4 | 8.70%
 | Total | 151 | 44 | 29.14%
June | 6-hour | 96 | 25 | 26.04%
 | 12-hour | 235 | 79 | 33.62%
 | 5-day | 125 | 4 | 3.20%
 | Total | 456 | 108 | 23.68%
2020 Totals | 6-hour | 235 | 83 | 35.32%
 | 12-hour | 625 | 209 | 33.44%
 | 5-day | 707 | 86 | 12.16%
 | Total | 1567 | 378 | 24.12%

## Slide 5: 2019 and 2020 Monthly Averages – Issued and Overdue
Chart: 
| 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | 2019 Monthly Average | 2020 Monthly Average
Issued | 73 | 119 | 126 | 317 | 39.1667 | 104.1667 | 117.8333 | 261.1667
Overdue | 53 | 40 | 12 | 105 | 13.8333 | 34.8333 | 14.3333 | 63

## Slide 6: Notices issued June 2020
*Indicates sorted by this column in lowest to highest order
TDSP | % OF TOTAL NOTICES ISSUED FOR JUNE* | # OF NOTICES ISSUED FOR JUNE | # OF NOTICES CANCELED WITHIN NOTICE TIMEFRAME | # OF NOTICES ISSUED 2 OR 3 TIMES | # OF NOTICES ISSUED 4 OR MORE TIMES
TDSP S | 0.00% | 0 | 0 | 0 | 0
TDSP L | 0.00% | 0 | 0 | 0 | 0
TDSP K | 0.00% | 0 | 0 | 0 | 0
TDSP A | 0.00% | 0 | 0 | 0 | 0
TDSP V | 0.00% | 0 | 0 | 0 | 0
TDSP U | 0.00% | 0 | 0 | 0 | 0
TDSP T | 0.00% | 0 | 0 | 0 | 0
TDSP C | 0.00% | 0 | 0 | 0 | 0
TDSP J | 0.00% | 0 | 0 | 0 | 0
TDSP F | 0.00% | 0 | 0 | 0 | 0
TDSP B | 0.00% | 0 | 0 | 0 | 0
TDSP M | 0.22% | 1 | 1 | 0 | 0
TDSP W | 0.22% | 1 | 1 | 0 | 0
TDSP D | 0.22% | 1 | 1 | 0 | 0
TDSP O | 0.44% | 2 | 2 | 0 | 0
TDSP I | 1.75% | 8 | 4 | 0 | 1
TDSP R | 3.73% | 17 | 16 | 1 | 0
TDSP Q | 5.48% | 25 | 23 | 2 | 0
TDSP N | 8.33% | 38 | 35 | 3 | 0
TDSP H | 13.82% | 63 | 14 | 6 | 5
TDSP P | 15.57% | 71 | 23 | 5 | 6
TDSP E | 50.22% | 229 | 124 | 36 | 3
Total |  | 456 | 244 | 53 | 15

## Slide 7: Temporary Exemptions Received 2015 through 2020
Count of Average Exemption Duration from problem identified through resolution (months) (Does not include exemptions for delayed cutovers) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2015-2018 Average |  |  |  |  | 2019 |  |  |  |  | 2020 |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6* | 6-9 | 9-12 | >12
TDSP S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 1.25 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 1.75 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 15.5 | 1.75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 2 | 0 | 0.25 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 1.75 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP M | 1.75 | 0.25 | 0 | 0 | 1.5 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 10 | 5.75 | 0 | 0 | 1 | 10 | 9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP L | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP T | 2 | 0 | 0 | 0 | 0.25 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP B | 1.5 | 1.75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
TDSP R | 11.5 | 1.5 | 0 | 0 | 0 | 17 | 1 | 1 | 0 | 0 | 3 | 0 | 0 | 0 | 0
TDSP E | 11.25 | 7.75 | 2 | 0 | 0.25 | 16 | 11 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0
TDSP P | 12.25 | 2.75 | 0.25 | 1.25 | 1 | 3 | 0 | 1 | 0 | 0 | 5 | 0 | 0 | 0 | 0
TDSP O | 5 | 0 | 0 | 0.5 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
TDSP N | 5.5 | 6.25 | 1.5 | 1.75 | 13.5 | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
TDSP I | 4.75 | 0 | 0.75 | 0.25 | 6.25 | 1 | 0 | 0 | 0 | 1 | 7 | 1 | 0 | 0 | 0
TDSP H | 2 | 0.75 | 2.5 | 2 | 2.25 | 5 | 1 | 1 | 0 | 0 | 15 | 1 | 0 | 0 | 0
Totals | 106.5 | 28.5 | 7.25 | 5.75 | 26.5 | 68 | 32 | 4 | 0 | 1 | 39 | 4 | 0 | 0 | 0
*Indicates sorted by this column in lowest to highest order
Table indicates when a temporary exemption was received and the length of time it was open. Duration was as of 7/10/2020 therefore counts can move to the right in future tables.

## Slide 8: Temporary Exemption Currently Open as of 7/10/2020
Duration count of currently open Temporary Exemptions (months) |  |  |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+*
TDSP O | 0 | 0 | 0 | 0 | 0 | 0
TDSP N | 0 | 1 | 0 | 0 | 0 | 0
TDSP I | 0 | 1 | 0 | 0 | 0 | 0
TDSP L | 0 | 0 | 0 | 0 | 0 | 0
TDSP M | 0 | 0 | 0 | 0 | 0 | 2
TDSP V | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 0 | 0 | 0 | 0 | 0 | 0
TDSP E | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 0 | 0 | 0 | 0 | 0 | 0
TDSP H | 11 | 1 | 1 | 0 | 0 | 0
TDSP P | 3 | 0 | 0 | 0 | 0 | 0
TDSP G | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 0 | 0 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0 | 0 | 0 | 0 | 0 | 0
Current Totals | 14 | 3 | 1 | 0 | 0 | 2
*Indicates sorted by this column in lowest to highest order
Current Totals versus Previous Totals |  |  |  |  |  | 
 | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+
Current 7/10/20 | 14 | 3 | 1 | 0 | 0 | 2
Previous 2/4/20 | 9 | 2 | 2 | 0 | 1 | 5

## Slide 9: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2018 Average |  | 2019 |  | 2020 | 
TDSP | 2015-2018 Average | 2019 | 2020 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP S | 1 | 2 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP B | 1 | 0 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP G | 16 | 8 | N/A | 63.2% | 36.8% | 83.3% | 16.7% | N/A | N/A
TDSP C | 4 | 3 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | 2 | 4 | 6 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP L | 2 | 1 | 1 | 97.6% | 2.4% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 11 | 1 | 1 | 78.9% | 21.1% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 21 | 6 | 9 | 76.9% | 23.1% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP P | 16 | 5 | 5 | 62.8% | 37.2% | 99.2% | 0.8% | 100.0% | 0.0%
TDSP N | 3 | 3 | 2 | 97.7% | 2.3% | 97.7% | 2.3% | 100.0% | 0.0%
TDSP I | 10 | 4 | 3 | 90.2% | 9.8% | 97.2% | 2.8% | 100.0% | 0.0%
TDSP O | 4 | 6 | 4 | 94.1% | 5.9% | 91.7% | 8.3% | 100.0% | 0.0%
TDSP V | 4 | 5 | 3 | 90.1% | 9.9% | 90.7% | 9.3% | 100.0% | 0.0%
TDSP H | 30 | 13 | 5 | 13.5% | 86.5% | 85.7% | 14.3% | 100.0% | 0.0%
TDSP K | 28 | 12 | 7 | 25.4% | 74.6% | 76.5% | 23.5% | 100.0% | 0.0%
TDSP F | 17 | 47 | 9 | 51.9% | 48.1% | 50.0% | 50.0% | 100.0% | 0.0%
Average | 12 | 9 | 7 | 72.4% | 27.6% | 86.5% | 13.5% | 86.2% | 13.8%
TDSP T | 13 | 12 | 9 | 64.6% | 35.4% | 84.6% | 15.4% | 83.3% | 16.7%
TDSP R | 8 | 12 | 11 | 94.3% | 5.7% | 85.2% | 14.8% | 78.3% | 21.7%
TDSP D | 30 | 28 | 10 | 30.3% | 69.7% | 26.7% | 73.3% | 75.0% | 25.0%
TDSP M | 10 | 7 | 11 | 80.8% | 19.2% | 97.1% | 2.9% | 69.4% | 30.6%
TDSP E | 25 | 19 | 16 | 26.2% | 73.8% | 37.4% | 62.6% | 31.4% | 68.6%
TDSP U | 13 | 7 | 20 | 54.2% | 45.8% | 100.0% | 0.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 10: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  | Percentage of document resubmittals within a 14 day timeline |  |  |  |  | 
 |  |  |  | 2015-2018 Average |  | 2019 |  | 2020 | 
TDSP | 2015-2018 Average | 2019 | 2020 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP G | 1 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP J | 5 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP B | 16 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP U | 4 | 3 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP K | 2 | 0 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP A | 1 | 2 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP L | 16 | 6 | N/A | 90.9% | 9.1% | 100.0% | 0.0% | N/A | N/A
TDSP O | 7 | 2 | N/A | 83.3% | 16.7% | 100.0% | 0.0% | N/A | N/A
TDSP D | 47 | 7 | N/A | 37.9% | 62.1% | 100.0% | 0.0% | N/A | N/A
TDSP H | 43 | 1 | N/A | 27.3% | 72.7% | 100.0% | 0.0% | N/A | N/A
TDSP F | 86 | 1 | N/A | 0.0% | 100.0% | 100.0% | 0.0% | N/A | N/A
TDSP S | 18 | 0 | N/A | 0.0% | 100.0% | 100.0% | 0.0% | N/A | N/A
TDSP Q | 24 | 15 | N/A | 73.7% | 26.3% | 75.0% | 25.0% | N/A | N/A
TDSP C | 9 | N/A | 1 | 87.5% | 12.5% | N/A | N/A | 100.0% | 0.0%
TDSP R | 24 | 16 | 4 | 69.8% | 30.2% | 80.0% | 20.0% | 100.0% | 0.0%
TDSP M | 3 | 47 | 3 | 100.0% | 0.0% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP V | 12 | 3 | 16 | 78.3% | 21.7% | 100.0% | 0.0% | 66.7% | 33.3%
Average | 22 | 20 | 16 | 63.4% | 36.6% | 81.7% | 18.3% | 64.1% | 35.9%
TDSP E | 41 | 48 | 14 | 25.9% | 74.1% | 15.9% | 84.1% | 60.0% | 40.0%
TDSP N | 28 | 6 | 32 | 69.0% | 31.0% | 83.3% | 16.7% | 50.0% | 50.0%
TDSP P | 24 | 12 | 25 | 56.5% | 43.5% | 80.0% | 20.0% | 50.0% | 50.0%
TDSP I | 58 | 178 | 16 | 31.8% | 68.2% | 20.0% | 80.0% | 50.0% | 50.0%
TDSP T | 23 | 17 | 35 | 63.6% | 36.4% | 66.7% | 33.3% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 11: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2018 Average |  | 2019 |  | 2020 | 
TDSP | 2015-2018 Average | 2019 | 2020 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP U | N/A | N/A | N/A | N/A% | N/A% | N/A% | N/A% | N/A% | N/A%
TDSP S | 6 | N/A | N/A | 100.0% | 0.0% | N/A% | N/A% | N/A% | N/A%
TDSP A | 27 | N/A | N/A | 80.0% | 20.0% | N/A% | N/A% | N/A% | N/A%
TDSP J | 105 | N/A | N/A | 0.0% | 100.0% | N/A% | N/A% | N/A% | N/A%
TDSP T | 21 | 46 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A% | N/A%
TDSP G | 17 | 9 | N/A | 92.9% | 7.1% | 100.0% | 0.0% | N/A% | N/A%
TDSP F | 42 | 1 | N/A | 66.7% | 33.3% | 100.0% | 0.0% | N/A% | N/A%
TDSP B | 14 | N/A | 9 | 100.0% | 0.0% | N/A% | N/A% | 100.0% | 0.0%
TDSP C | 14 | 13 | 0 | 90.0% | 10.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP L | 17 | 4 | 2 | 89.7% | 10.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 29 | 12 | 8 | 86.7% | 13.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP O | 19 | 24 | 18 | 93.0% | 7.0% | 92.9% | 7.1% | 100.0% | 0.0%
TDSP P | 44 | 37 | 19 | 78.4% | 21.6% | 79.1% | 20.9% | 100.0% | 0.0%
TDSP D | 32 | 48 | 25 | 80.5% | 19.5% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP I | 118 | 92 | 21 | 50.0% | 50.0% | 60.0% | 40.0% | 100.0% | 0.0%
TDSP V | 35 | 39 | 8 | 70.7% | 29.3% | 57.1% | 42.9% | 100.0% | 0.0%
TDSP N | 48 | 138 | 14 | 71.0% | 29.0% | 33.3% | 66.7% | 100.0% | 0.0%
TDSP E | 38 | 30 | 19 | 86.4% | 13.6% | 94.9% | 5.1% | 96.6% | 3.4%
Average | 43 | 36 | 20 | 76.7% | 23.3% | 84.8% | 15.2% | 91.9% | 8.1%
TDSP M | 34 | 17 | 38 | 83.3% | 16.7% | 94.1% | 5.9% | 85.7% | 14.3%
TDSP R | 66 | 54 | 13 | 80.4% | 19.6% | 71.0% | 29.0% | 85.7% | 14.3%
TDSP K | 115 | 12 | 47 | 53.8% | 46.2% | 100.0% | 0.0% | 60.0% | 40.0%
TDSP H | 69 | 38 | 53 | 57.1% | 42.9% | 92.9% | 7.1% | 50.0% | 50.0%
*Indicates sorted by this column in lowest to highest order

## Slide 12: Site Certifications – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2018 Average |  | 2019 |  | 2020 | 
TDSP | 2015-2018 Average | 2019 | 2020 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP U | N/A | N/A | N/A | N/A% | N/A% | N/A% | N/A% | N/A% | N/A%
TDSP S | N/A | N/A | N/A | N/A% | N/A% | N/A% | N/A% | N/A% | N/A%
TDSP A | 12 | N/A | N/A | 100.0% | 0.0% | N/A% | N/A% | N/A% | N/A%
TDSP J | 40 | N/A | N/A | 100.0% | 0.0% | N/A% | N/A% | N/A% | N/A%
TDSP F | 86 | N/A | N/A | 50.0% | 50.0% | N/A% | N/A% | N/A% | N/A%
TDSP G | 14 | 51 | N/A | 90.0% | 10.0% | 100.0% | 0.0% | N/A% | N/A%
TDSP P | 38 | 14 | N/A | 86.5% | 13.5% | 100.0% | 0.0% | N/A% | N/A%
TDSP T | 2 | 25 | N/A | 100.0% | 0.0% | 88.9% | 11.1% | N/A% | N/A%
TDSP H | 66 | 61 | N/A | 61.5% | 38.5% | 60.7% | 39.3% | N/A% | N/A%
TDSP C | 10 | 39 | N/A | 100.0% | 0.0% | 50.0% | 50.0% | N/A% | N/A%
TDSP B | 30 | N/A | 1 | 88.9% | 11.1% | N/A% | N/A% | 100.0% | 0.0%
TDSP O | 17 | 1 | 1 | 92.6% | 7.4% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 14 | 15 | 1 | 92.0% | 8.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP L | 17 | 4 | 10 | 88.5% | 11.5% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP K | 25 | 0 | 2 | 83.3% | 16.7% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP D | 29 | 17 | 0 | 80.8% | 19.2% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP N | 31 | 9 | 1 | 88.9% | 11.1% | 90.0% | 10.0% | 100.0% | 0.0%
TDSP R | 27 | 53 | 8 | 88.6% | 11.4% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP I | 118 | 141 | 0 | 58.8% | 41.2% | 40.0% | 60.0% | 100.0% | 0.0%
Average | 34 | 34 | 11 | 84.9% | 15.1% | 83.9% | 16.1% | 90.5% | 9.5%
TDSP E | 54 | 42 | 24 | 74.9% | 25.1% | 75.8% | 24.2% | 85.7% | 14.3%
TDSP V | 38 | 19 | 44 | 81.5% | 18.5% | 95.5% | 4.5% | 50.0% | 50.0%
TDSP M | 21 | 56 | 42 | 90.9% | 9.1% | 75.0% | 25.0% | 50.0% | 50.0%
*Indicates sorted by this column in lowest to highest order

## Slide 13: Count of Follow Up Requests for Documentation
Site Certification Follow-up Count Averages |  |  | 
TDSP | 2015-2018 Average | 2019 | 2020*
TDSP U | 0 | 0 | 0
TDSP S | 0 | 0 | 0
TDSP J | 0 | 0 | 0
TDSP A | 0.11 | 0 | 0
TDSP O | 0.15 | 0 | 0
TDSP D | 0.26 | 0 | 0
TDSP B | 0.38 | 0 | 0
TDSP C | 0 | 0.09 | 0
TDSP G | 0.08 | 0.25 | 0
TDSP K | 0.36 | 0.5 | 0
TDSP L | 0.02 | 0.67 | 0
TDSP F | 1.06 | 1.33 | 0
TDSP N | 0.18 | 0.15 | 0.07
TDSP P | 0.15 | 0 | 0.1
TDSP Q | 0.04 | 0.04 | 0.17
TDSP M | 0.06 | 0 | 0.18
Average | 0.21 | 0.22 | 0.34
TDSP V | 0.18 | 0.26 | 0.36
TDSP E | 0.23 | 0.33 | 0.41
TDSP T | 0 | 0 | 0.5
TDSP R | 0.04 | 0.24 | 1.05
TDSP H | 0.1 | 0.79 | 1.27
TDSP I | 1.16 | 0.25 | 3.29
*Indicates sorted by this column in lowest to highest order
Annual Test/Reprogram Follow-up Count Averages |  |  | 
TDSP | 2015-2018 Average | 2019 | 2020*
TDSP U | 0 | 0 | 0
TDSP G | 0 | 0 | 0
TDSP K | 0 | 0 | 0
TDSP S | 0 | 0 | 0
TDSP A | 0 | 0 | 0
TDSP J | 0 | 0 | 0
TDSP C | 0.08 | 0 | 0
TDSP N | 0.06 | 0.01 | 0
TDSP L | 0.04 | 0.04 | 0
TDSP D | 0.22 | 0.06 | 0
TDSP V | 0.05 | 0.08 | 0
TDSP F | 1.17 | 0.1 | 0
TDSP B | 0 | 0.17 | 0
TDSP O | 0.01 | 0.25 | 0
TDSP H | 0.11 | 0.5 | 0
TDSP P | 0.01 | 0 | 0.01
TDSP M | 0.01 | 0 | 0.03
TDSP Q | 0.12 | 0 | 0.05
Average | 0.1 | 0.08 | 0.05
TDSP R | 0.02 | 0.15 | 0.1
TDSP T | 0.03 | 0.18 | 0.1
TDSP E | 0.09 | 0.09 | 0.19
TDSP I | 0.23 | 0.19 | 0.57