## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2020

## Slide 2: Non-IRR GREDP < 85% – June 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 305 | 5 | 8 | 0.37 | 62.50

## Slide 3: IRR Summary – June 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.22 | 70.35 | 87.58
GREDP Median (%) | 98.21 | 82.31 | 88.45
Average MW Error | 3.95 | 4.29 | 4.77
Median MW Error | 3.85 | 3.97 | 4.79
Total Intervals Scored | 29,617 | 12,584 | 11,562
100+ Intervals Scored | 44 | 200 | 17
Total Intervals Scored Average | 120.89 | 237.43 | 680.12

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,939 | 2,941 | 5.48 | 99.93
Unit 3 | 2,545 | 2,640 | 5.42 | 96.40
Unit 5 | 1,763 | 1,812 | 5.90 | 97.30
Unit 7 | 1,343 | 1,388 | 1.93 | 96.76
Unit 8 | 917 | 925 | 4.01 | 99.14
Unit 10 | 684 | 694 | 6.56 | 98.56
Unit 14 | 474 | 484 | 6.49 | 97.93
Unit 15 | 379 | 383 | 4.34 | 98.96
Unit 16 | 377 | 381 | 2.33 | 98.95
Unit 17 | 346 | 352 | 0.93 | 98.30
Unit 19 | 316 | 316 | 4.33 | 100.00
Unit 20 | 302 | 303 | 3.67 | 99.67
Unit 22 | 288 | 293 | 6.33 | 98.29
Unit 23 | 239 | 250 | 6.82 | 95.60
Unit 24 | 240 | 241 | 3.50 | 99.59
Unit 26 | 219 | 223 | 3.26 | 98.21
Unit 27 | 206 | 215 | 5.17 | 95.81

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 28 | 211 | 211 | 4.30 | 100.00
Unit 29 | 209 | 209 | 3.66 | 100.00
Unit 30 | 198 | 202 | 4.51 | 98.02
Unit 31 | 191 | 191 | 5.26 | 100.00
Unit 33 | 154 | 159 | 3.96 | 96.86
Unit 34 | 151 | 153 | 1.29 | 98.69
Unit 37 | 143 | 143 | 2.60 | 100.00
Unit 38 | 141 | 141 | 3.11 | 100.00
Unit 39 | 129 | 132 | 3.46 | 97.73
Unit 43 | 106 | 111 | 2.83 | 95.50

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – June 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,783 | 3,213 | 6.60 | 86.62
Unit 4 | 1,804 | 2,225 | 5.79 | 81.07
Unit 6 | 1,575 | 1,705 | 5.86 | 92.38
Unit 9 | 745 | 882 | 6.54 | 84.47
Unit 11 | 600 | 655 | 7.92 | 91.60
Unit 12 | 554 | 596 | 2.35 | 92.95
Unit 13 | 444 | 502 | 2.63 | 88.45
Unit 18 | 263 | 326 | 9.21 | 80.67
Unit 21 | 282 | 299 | 4.79 | 94.31
Unit 25 | 214 | 227 | 5.04 | 94.27
Unit 32 | 137 | 176 | 5.41 | 77.84
Unit 35 | 141 | 149 | 3.18 | 94.63
Unit 36 | 111 | 147 | 2.78 | 75.51
Unit 40 | 107 | 130 | 3.74 | 82.31
Unit 41 | 104 | 112 | 2.99 | 92.86
Unit 42 | 98 | 111 | 3.32 | 88.29
Unit 44 | 97 | 107 | 2.95 | 90.65