## Slide 1
Meter Working Group
July 23, 2020

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief introduction of those present and those participating via WebEx

## Slide 4: SMOG updates to supplement NPRR 1020
NPRR 1020 allows for a Resource to provide an auxiliary loads calculation to the TDSP when the WSL cannot be separately metered from the aux Load
TDSP incorporates the Resource provided load information into an EPS Meter
SMOG updates needed to support implementation
MWG effort needed to provide the details on the updates
Possible path forward for updates
  Identify areas that may require updates
  Discuss concepts on what the updates should encompass
  Discuss draft language options
ERCOT create and bring draft language to the MWG for review
Official submittal of the language for market consideration

## Slide 5: Line Loss Compensation from February meeting
  During the February meeting the group reached consensus for a generic solution that could be technically supported
  A request for distance that would not require compensation was to be made based on technical needs such as the first transmission structure outside the substation
    2 TDSPs provided data regarding the first poll out distance from the meter location
      7 sites were provide. The max distance was 200 feet, the minimum was 103 feet with an average of 133.86 feet.
        143, 143, 200, 103, 116, 116 & 116
        Average - 133.8571429
        Max - 200
        Min - 103

## Slide 6: Line Loss Compensation Discussion
What path forward should be taken by the Meter Working Group?

## Slide 7: Update on VT Throw Over Initiative
    Method 1: Number of EPS meter points using the configuration 1 set of VTs feeding both the EPS-PRI and EPS-BU from one bus and then transferring to the 2nd set of VTs if the first bus de-energizes or vice-versa using transfer relay or switch = 101
    Method 2: Number of EPS meter points using the configuration 1 set of VTs feeding EPS-PRI & 1 set of VTs feeding EPS-BU wherein if one of the buses de-energizes, either the EPS-PRI or EPS-BU will be lost = 19
    Observation: more sites/meter points use Method 1 than Method 2

## Slide 8: Throw Over Scheme Discussion
Possible permutations for Throw Over schemes are numerous dependent on substation design
There are two basic design schemes currently in use for VT throw overs:
  Method 1: Both primary and backup meter are always powered from the same VTs
  Method 2: Primary and backup meter are normally powered from alternate VTs
Abnormal grid configurations are more likely to result in metering errors when method 1 is utilized
Should the meter working group pursue language minimize the chance of metering errors?
NUMBER OF TDSPs UTILIZING THROW-OVER SCHEME | 11
NUMBER OF SITES WITH THROW-OVER SCHEMES | 44
NUMBER OF EPS METER POINTS | 120
% IN COMPARISON TO TOTAL SITES | Less than 10% (9.3%)
VOLTAGE LEVEL INSTALLED | 69 kV, 138 kV, 345 kV
SUBSTATION BUS SCHEMES | Breaker-and-a-Half; Double-Breaker

## Slide 9: Instrument Transformer Nameplate Requirements
Review draft language (key document 6)
  Updated from February meeting to completely remove 7.5.6

## Slide 10: Information on NPRR 1003
NPRR 1003: Elimination of References to Resource Asset Registration Form
  Design proposal form updated in description section

## Slide 11: Reports on EPS Activities
See key document, 8. Report on EPS meter activities Jul2020

## Slide 12: NPRR949 Implementation
  As a reminder, NPRR949 was approved 8/13/2019. Protocol 10.12.1 will be updated effective 1/1/2023. See updated language below.
[NPRR949: Replace Section 10.12.1 above with the following on January 1, 2023:] 10.12.1 ERCOT Acquisition of ERCOT-Polled Settlement (EPS) Meter Data (1) ERCOT shall acquire ERCOT-Polled Settlement (EPS) Meter data via the following communication links: (a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or (b) Other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).
10.12.1 ERCOT Acquisition of Meter Data
(1) ERCOT shall acquire meter data via the following communication links:
(a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and
(b) Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

## Slide 13: Introduction on TDSP meter(s) for SOES receiving nodal pricing
Introduction of discussion on using TDSP meter(s) for SOES receiving nodal pricing

## Slide 14: New or Other Business Items
  Request for any new or other business items

## Slide 15: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    http://www.ercot.com/calendar/2020/7/23/209174-MWG