## Slide 1
Eagle Pass DC Tie (DC_S) Removal
Donald House
Supervisor, CRR
TAC
July 29, 2020

## Slide 2: Eagle Pass DC Tie (DC_S) outage
The Eagle Pass DC Tie (DC_S Settlement Point) began a forced outage on March 23, 2020
ERCOT was notified by AEP that it would be permanently removed from service due to the unavailability of necessary replacement parts
  This was communicated in a Market Notice on May 1, 2020
  ERCOT stopped approving e-Tags for the Eagle Pass DC Tie
  CRRs exist with DC_S as a sink or source Settlement Point through 2022
DC_S can’t be removed like a retiring Resource Node Settlement Point, because DC Ties are defined as a type of Load Zone
Board approval is required to delete a Load Zone, and the Load Zone must remain for 48 months after the approval

## Slide 3: Associated Load Zone protocol language
3.4.1 Load Zone Types
(1) The Load Zone types are:
(a) The Competitive Load Zones;
(b) The Non-Opt-In Entity (NOIE) Load Zones created pursuant to Section 3.4.3, NOIE Load Zones; and
(c) The Direct Current Tie (DC Tie) Load Zones as defined in Section 3.4.4, DC Tie Load Zones.
3.4.2 Load Zone Modifications
(1) Load Zones may be added, deleted, or changed, only when approved by the ERCOT Board, with the exception of paragraph (1)(c) of Section 3.4.3, NOIE Load Zones. Approved additions, deletions, or changes go into effect 48 months after the end of the month in which the addition, deletion, or change was approved…

## Slide 4: ERCOT Action Items
The earliest Board meeting at which ERCOT could obtain approval to delete DC_S is on August 11, 2020
  This would be on the current 48-month timeline
Because a DC Tie Load Zone is comprised of only the DC Tie itself, it appears to be unnecessary to impose a 48-month waiting period before deleting this type of Load Zone
  May be preferable to delete DC Tie Load Zones along the same timelines applied to the removal of Resource Nodes, which do not require Board approval
  ERCOT is considering sponsoring an NPRR to remove the Board approval requirement to delete a DC Tie Load Zone and to align the deletion of DC Tie Load Zones with the timeline for removing Resource Nodes
    Timeframe of removal would depend on the expiration dates of existing CRRs
    The timing of Resource Node removal is currently under discussion in pending NPRR1017 (Management of CRRs and Resource Node Removal)