## Slide 1
ORDC Review Follow-Up: Error with Implementation of OBDRR002
David Maggio
Director, Market Design & Analytics
TAC
7/29/2020

## Slide 2: Overview
ERCOT previously informed stakeholders of an identified software error with the implementation of OBDRR002
An existing reasonability check on telemetry effectively prevented part of the intended change from OBDRR002 from being implemented. The reasonability check caused the ORDC calculation to not properly account for the capacity from ONRUC Resources between zero and the Base Point in the RTOLCAP
ERCOT implemented a fix to the software on May 6, 2020
Market notice M-A051120-01 describing the error was sent on May 11, 2020

## Slide 3: Detailed Review Complete
After discovering the error, ERCOT staff performed a detailed review of the ORDC calculations to determine whether there were any additional issues with the implementation of the ORDC
Two separate ERCOT staff independently calculated the ORDC parameters from Resource-level telemetry for every SCED interval since ORDC go-live in 2014, including reasonability checks on telemetered values and the various ORDC revisions
No additional errors were discovered during these independent recalculations