## Slide 1
Item 5: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
July 29, 2020

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model [ERCOT]*
NPRR1000, Elimination of Dynamically Scheduled Resources [DME]*
NPRR1003, Elimination of References to Resource Asset Registration Form [ERCOT]*
NPRR1015, Clarification of DAM implementation of NPRR863 Phase 2 – URGENT [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions [ERCOT]
  IA: Between $100k and $200k Priority 2020; Rank 3060
NPRR1004, Load Distribution Factor Process Update [ERCOT]
  IA: Between $45k and $65k Priority 2021; Rank 3210
NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) [ERCOT]
  IA: Between $400k and $550k Priority 2020; Rank 3070

## Slide 4: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR984, Change ERS Standard Contract Terms [ERCOT]
  IA: Less than $10k Priority n/a; Rank n/a
NPRR1030, Modify Allocator for CRR Auction Revenue Distribution – URGENT [ERCOT]
  IA: Between $20k and $40k Priority 2020; Rank 2515
Additional Revision Requests Recommended for Approval by PRS:
NPRR1020, Allow Some Integrated Energy Storage Designs to Calculate Internal Loads – URGENT [Tesla]
  IA: Between $175k and $225k Priority TBD; Rank TBD

## Slide 5: Summary of PRS Update (continued)
Annual Review of Other Binding Documents (OBDs) (Vote)
Pursuant to paragraph (3) of Section 1.1, Summary of the ERCOT Protocols Document, PRS reviewed and unanimously approved the current list of OBDs.

## Slide 6: Appendix

## Slide 7: NPRR984, Change ERS Standard Contract Terms [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR changes the number of Emergency Response Service (ERS) Standard Contract Terms from three to four Standard Contract Terms per program year.
PRS Decision: On 6/11/20, PRS unanimously voted via roll call to recommend approval of NPRR984 as amended by the 2/13/20 ERCOT comments. On 7/16/20, PRS voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report and the Impact Analysis for NPRR984. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment and two abstentions from the Independent Generator (Luminant) and IPM (Merrill Lynch) Market Segments.

## Slide 8: NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model [ERCOT]
Proposed Effective Date: September 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR aligns the Hub Bus names within Protocols with the substation names within the ERCOT model.
PRS Decision: On 6/11/20, PRS unanimously voted via roll call to recommend approval of NPRR996 as submitted. On 7/16/20, PRS unanimously voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report and the Impact Analysis for NPRR996.

## Slide 9: NPRR1000, Elimination of Dynamically Scheduled Resources [DME]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP), Market Management Systems (MMS), Energy Management System (EMS), CRM & Registration System (REG), Data Access & Transparency, Market Settlements (S&B), BI & Data Analytics, and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes the term Dynamically Scheduled Resource (DSR) from the Protocols.
PRS Decision: On 5/15/20, PRS unanimously voted via email vote to recommend approval of NPRR1000 as submitted. On 7/16/20, PRS unanimously voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report and Impact Analysis for NPRR1000.

## Slide 10: NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3060
ERCOT Impact Analysis: Between $100k and $200k; no impacts to ERCOT staffing; impacts to Resource Integration and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR, along with its related Revision Requests, establishes Energy Storage Resource (ESR) "single model" registration and charging restrictions in Emergency Conditions.
PRS Decision: On 6/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1002 as amended by the 5/7/20 ERCOT comments. On 7/16/20, PRS unanimously voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report as amended by the 7/9/20 ERCOT comments as revised by PRS and Impact Analysis for NPRR1002 with a recommended priority of 2020 and rank of 3060.

## Slide 11: NPRR1003, Elimination of References to Resource Asset Registration Form [ERCOT]
Proposed Effective Date: September 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR replaces all remaining references to the Resource Asset Registration Form (“RARF”) with more general language in anticipation of the elimination of the RARF.
PRS Decision: On 6/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1003 as submitted. On 7/16/20, PRS unanimously voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report as amended by the 7/13/20 ERCOT comments and the Impact Analysis for NPRR1003.

## Slide 12: NPRR1004, Load Distribution Factor Process Update [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3210
ERCOT Impact Analysis: Between $45k and $65k; no impacts to ERCOT staffing; impacts to MMS, Integration, DAIP, and External Public; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR creates a new process for determining the Load distribution factors used in the Congestion Revenue Rights (CRR) Auctions and Day-Ahead Market (DAM) clearing.
PRS Decision: On 6/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1004 as submitted. On 7/16/20, PRS unanimously voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report and the Impact Analysis for NPRR1004 with a recommended priority of 2021 and rank of 3210.

## Slide 13: NPRR1015, Clarification of DAM implementation of NPRR863 Phase 2 – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation of NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR863.)
Revision Description: This NPRR clarifies the submission and reporting changes necessary in the market system to complete NPRR863 implementation of changes to Responsive Reserve (RRS) and addition of ERCOT Contingency Reserve Service (ECRS). Primarily this is to address the RRS “sub-types” of Primary Frequency Response, Fast Frequency Response (FFR), and Load Resources controlled by high-set under-frequency relays; and the ECRS “sub-types” of SCED-dispatchable and non-SCED-dispatchable with regard to Ancillary Service Offers, self-arrangement, and trades, as well as related reports.
PRS Decision: On 7/16/20, PRS unanimously voted via roll call to grant NPRR1015 Urgent status, to recommend approval of NPRR1015 as amended by the 7/2/20 ERCOT comments, and to forward NPRR1015 and the Impact Analysis to TAC.

## Slide 14: NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3070
ERCOT Impact Analysis: Between $400k and $550k; no impacts to ERCOT staffing; impacts to Outage Scheduler (OS), EMS, BI & Data Analytics, DAIP, MMS, CRM & Registration System (REG), Network Model Management System (NMMS), and Integration; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR clarifies various important reliability requirements for Distribution Generation Resources (DGRs) that are seeking qualification to provide Ancillary Service(s) and/or participate in Security-Constrained Economic Dispatch (SCED).
PRS Decision: On 6/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1016 as amended by the 5/28/20 ERCOT comments. On 7/16/20, PRS unanimously voted via roll call to endorse and forward to TAC the 6/11/20 PRS Report as amended by the 7/14/20 ERCOT comments as revised by PRS and Impact Analysis for NPRR1016 with a recommended priority of 2020 and rank of 3070.

## Slide 15: NPRR1020, Allow Some Integrated Energy Storage Designs to Calculate Internal Loads – URGENT [Tesla]
Proposed Effective Date: To be determined
ERCOT Impact Analysis: Between $175k and $225k; no impacts to ERCOT staffing; impacts to EPS Meter Data Management (EPS) and S&B; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies that emerging storage technologies can be interconnected and operated as a Resource and avail of Wholesale Storage Load (WSL) rules. Specifically, the NPRR proposes to allow ESRs with integrated Loads that cannot be metered as designed, to alternatively calculate these Loads using internal sensors. This process will require an annual attestation from the Resource Entity.
PRS Decision: On 7/16/20, PRS unanimously voted via roll call to grant NPRR1020 Urgent status, to recommend approval of NPRR1020 as amended by the 7/15/20 Luminant comments as revised by PRS, and to forward NPRR1020 to TAC.

## Slide 16: NPRR1030, Modify Allocator for CRR Auction Revenue Distribution – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2515
ERCOT Impact Analysis: Between $20k and $40k; no impacts to ERCOT staffing; impacts to Market Settlements (S&B); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR proposes to change the CRR Auction Revenue Distribution (CARD) allocation methodology from a peak 15-minute Settlement Interval to Load Ratio Share (LRS) based on Adjusted Metered Load (AML) totals for the entirety of each month, with parallel changes also proposed for the CRR Balancing Account (CRRBA) and certain Block Load Transfers (BLTs) for consistency and to simplify implementation.
PRS Decision: On 7/16/20, PRS voted via roll call to grant NPRR1030 Urgent status, to recommend approval of NPRR1030 as submitted, and to forward NPRR1030 and the Impact Analysis to TAC with a recommended priority of 2020 and rank of 2515. There were four opposing votes from the Cooperative (2) (Golden Spread, STEC), Independent Generator (Luminant), and Municipal (Austin Energy) Market Segments, and seven abstentions from the Consumer (Nucor), Cooperative (4) (Brazos, Pedernales, LCRA, Bandera), and Independent Generator (2) (Enel Green Power, Broad Reach Power) Market Segments.

## Slide 17: 2020 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/29 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR873 SCR797 NPRR877 Ph2 NPRR968 NPRR943 EMIL Web Interface NPRR863 Ph1 NPRR960 NOGRR187 OBDRR011 | SCR802 NPRR928 NPRR929 NPRR978(a) NPRR988 NPRR953 | NPRR856 NPRR884 OBDRR006 SCR803 NPRR887 NPRR907 NPRR985 RMGRR163 NPRR837 NPRR930(a) NPRR933 RRGRR021 | NPRR935(a) NPRR951 NPRR977 SCR804 SCR781(a) RRGRR016 RRGRR019 | NPRR902 NPRR998 MIS Go-Live MMS/OS Refresh NPRR863 Ph2 | NPRR978 SCR806 NPRR857 NPRR885 NPRR904 NPRR905 NPRR917 NPRR936 NPRR941 NPRR963 NPRR971 NPRR986 NPRR998 OBDRR009 PGRR070(b) SCR781(b) SCR799
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
P
R1
R2
R3
R4
R5
R6
3/1
NPRR863 Ph1 – FFR
NPRR863 Ph2 – ECRS
NPRR930(a) – O&M portion
NPRR935(a) – Sections 4.2.2 (1) (6), 4.2.5
NPRR935(b) – Sections 2.1, 2.2, 4.2.3
NPRR978(a) – Initial report decommissions
PGRR070(b) – Remaining PGRR language
SCR781(a) – View / Edit capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
ü
ü
ü
November
Off-Cycle
1/1
2021 Go-Lives
NS
NS
NS
NS
P
NS
NS
NS
NS
P
P
P
NS
E
E
NS
September
Off-Cycle (At Risk)
E
E
E
P
1/19
E
ü
ü
TBD Items | 2017 | 2018 | 2019 / 2020
 | NPRR702, NPRR829 | NPRR825(b), NPRR867, NPRR841 | NPRRs: 826, 879, 885, 918, 930, 935(b), 939, 962, 965, 974, PGRR066, SCR800, SCR805
ü
CMM Release 2a
1/30
8/1
October
Q3 RIOO
RARF Go-Live - View/Update
ü
ü
ü
ü
ü
ü
ü
ü
ü
P
5/1
ü
7/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
2022 Go-Lives