## Slide 1
ROS Report – July 2020
Kevin Bunch
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
ROS Goals
NOGRR195 - Generator Voltage Control Tolerance Band
NOGRR208 - Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions
NOGRR209 - Related to NPRR1003, Elimination of References to Resource Asset Registration Form

## Slide 3: Voting Items
NOGRR212 - Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)
PGRR076 - Improvements to GINR Process
PGRR079 - Related to NPRR1003, Elimination of References to Resource Asset Registration Form

## Slide 4: Voting Items
RRGRR023 - Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions
RRGRR024 - Related to NPRR1003, Elimination of References to Resource Asset Registration Form
RRGRR026 - Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

## Slide 5: Discussion Items
West Texas Export Stability Assessment
  Forecast for 2021 renewable generation exceeds 25 GWs in West Texas
  CREZ lines were designed to accommodate 14 GWs
  Potential new projects could be identified in the Regional Transmission Plan
West to Central Texas GTC
  GTC based on generation additions in Divide-McCamey-San Angelo area
  Stability concerns noted under various transmission outages

## Slide 6: Future Meetings
ROS
  Next Regularly Scheduled Meeting – August 6th