|  |  |  |  |
| --- | --- | --- | --- |
| SCR Number | [811](http://www.ercot.com/mktrules/issues/SCR811) | SCR Title | Addition of Intra-Hour PhotoVoltaic Power Forecast to GTBD Calculation |
| Impact Analysis Date | July 29, 2020 |
| Estimated Cost/Budgetary Impact | Between $60k and $90k |
| Estimated Time Requirements | The timeline for implementing this System Change Request (SCR) is dependent upon ERCOT Board prioritization and approval. Please see the Project Priority List ([PPL](http://www.ercot.com/services/projects)) for additional information.Estimated project duration: 5 to 7 months |
| ERCOT Staffing Impacts (across all areas) | Implementation Labor: 65% ERCOT; 35% VendorOngoing Requirements: No impacts to ERCOT staffing. |
| ERCOT Computer System Impacts | The following ERCOT systems would be impacted:* Market Management Systems (MMS) 76%
* Energy Management System (EMS) 24%
 |
| ERCOT Business Function Impacts | No impacts to ERCOT business functions. |
| Grid Operations & Practices Impacts | ERCOT will update grid operations and practices to implement this SCR.  |

|  |
| --- |
| Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation |
| None offered. |

|  |
| --- |
| Comments |
| None. |