## Slide 1
South Zone LMP on 5/11
Jian Chen
Market Analysis and Validation
CMWG
Aug. 3rd, 2020

## Slide 2: OD 5/11 LZ_SOUTH LMP
Chart: SCED LMP at LZ_South

## Slide 3: Constraint Shadow Price and Violated MW
Chart: SCED Constraint Violated MW vs Shadow Price

## Slide 4: Constraint XNED258: NEDIN_138H
Loss of one 345/138kV transformer at North Edinburg would cause overload on the other 345/138kV transformer at North Edinburg, with flow direction from 345kV to 138kV side.

## Slide 5: Factors impacting the constraint
Local loads
Local generations
DC-tie

## Slide 6: Local loads
Chart: Valley load vs Constraint Shadow Price

## Slide 7: Local Generations
Chart: HDL of Helping Resource vs Shadow Price

## Slide 8: Local Generations (Cont.)
Chart: Sum of -HDL*SF from Avaialble Helping Resources

## Slide 9: DC-tie
Chart: Railroad Tie Import vs Constraint Shadow Price